## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.4524 | 13.1176 | 42.3333 | 7.8831 | 2744.4181 | 2502.8342 | 241.5838 | 241.5838 | 0 | 2786.7014 | 2502.82 | 283.8814 | 283.8814 | 0
SO | 6.498 | 12.883 | 42.408 | 8.684 | 2762.573 | 2505.618 | 256.955 | 256.955 | 0 | 2787.1376 | 2505.614 | 281.5236 | 281.5236 | 0
RO | 7.077 | 15.658 | 43.68 | 5.511 | 2965.921 | 2665.546 | 300.375 | 300.375 | 0 | 2817.7894 | 2665.546 | 152.2434 | 152.2434 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.4486 | 12.8715 | 42.3068 | 7.8704 | 2730.3312 | 2492.5926 | 237.7385 | 237.7385 | 0 | 2845.517 | 2492.584 | 352.933 | 352.933 | 0
SO | 6.513 | 12.798 | 42.498 | 8.002 | 2748.533 | 2499.591 | 248.942 | 248.942 | 0 | 2843.9204 | 2499.627 | 344.2934 | 344.2934 | 0
RO | 6.767 | 13.933 | 42.688 | 4.074 | 2865.308 | 2544.812 | 320.496 | 320.496 | 0 | 2844.6968 | 2544.812 | 299.8848 | 299.8848 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.4872 | 12.8438 | 44.0861 | 8.2774 | 2748.4352 | 2512.403 | 236.032 | 236.032 | 0 | 2762.6222 | 2512.394 | 250.2282 | 250.2282 | 0
SO | 6.559 | 12.87 | 44.398 | 8.595 | 2768.304 | 2526.478 | 241.826 | 241.826 | 0 | 2762.332 | 2526.445 | 235.887 | 235.887 | 0
RO | 7.077 | 15.658 | 43.68 | 5.511 | 2965.921 | 2665.546 | 300.375 | 300.375 | 0 | 2801.8106 | 2665.546 | 136.2646 | 136.2646 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.4908 | 12.9528 | 43.1283 | 7.9433 | 2761.1887 | 2507.3379 | 253.8507 | 253.8507 | 0 | 2701.7366 | 2507.322 | 194.4146 | 194.4146 | 0
SO | 6.588 | 12.752 | 44.691 | 8.587 | 2782.799 | 2527.375 | 255.424 | 255.424 | 0 | 2704.0834 | 2527.387 | 176.6964 | 176.6964 | 0
RO | 7.077 | 15.658 | 43.68 | 5.511 | 2965.921 | 2665.546 | 300.375 | 300.375 | 0 | 2751.0972 | 2665.546 | 85.5512 | 85.5512 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.544 | 13.0784 | 43.8576 | 7.4055 | 2751.4278 | 2519.781 | 231.6467 | 231.6467 | 0 | 2750.6094 | 2519.768 | 230.8414 | 230.8414 | 0
SO | 6.598 | 12.856 | 44.91 | 8.055 | 2771.008 | 2530.217 | 240.79 | 240.79 | 0 | 2752.1964 | 2530.211 | 221.9854 | 221.9854 | 0
RO | 7.077 | 15.658 | 43.68 | 5.511 | 2965.921 | 2665.546 | 300.375 | 300.375 | 0 | 2800.6596 | 2665.546 | 135.1136 | 135.1136 | 0