## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.5494 | 19.6069 | 0 | 0 | 1646.1917 | 1530.8384 | 115.3534 | 115.3534 | 0 | 1770.852 | 1530.84 | 240.012 | 240.012 | 0
SO | 7.474 | 19.936 | 0 | 0 | 1670.485 | 1533.09 | 137.395 | 137.395 | 0 | 1771.008 | 1533.085 | 237.923 | 237.923 | 0
RO | 8.474 | 22.036 | 0 | 0 | 2899.042 | 2704.409 | 194.633 | 194.633 | 0 | 1764.514 | 1611.981 | 152.533 | 152.533 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.691 | 19.8222 | 0 | 0 | 1662.8518 | 1540.6362 | 122.2156 | 122.2156 | 0 | 1688.2464 | 1540.637 | 147.6094 | 147.6094 | 0
SO | 7.474 | 20.156 | 0 | 0 | 1690.613 | 1536.79 | 153.823 | 153.823 | 0 | 1689.9484 | 1536.782 | 153.1664 | 153.1664 | 0
RO | 10.182 | 24.798 | 0 | 0 | 3125.046 | 3008.87 | 116.176 | 116.176 | 0 | 1766.4306 | 1732.876 | 33.5546 | 33.5546 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.5498 | 19.368 | 0 | 0 | 1645.1377 | 1526.8436 | 118.2942 | 118.2942 | 0 | 1768.6082 | 1526.844 | 241.7642 | 241.7642 | 0
SO | 7.54 | 19.484 | 0 | 0 | 1671.738 | 1528.374 | 143.364 | 143.364 | 0 | 1767.7282 | 1528.368 | 239.3602 | 239.3602 | 0
RO | 10.182 | 24.798 | 0 | 0 | 3125.046 | 3008.87 | 116.176 | 116.176 | 0 | 1797.4164 | 1732.876 | 64.5404 | 64.5404 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 8.0424 | 20.2277 | 0 | 0 | 1693.6874 | 1562.7734 | 130.9141 | 130.9141 | 0 | 1601.874 | 1562.775 | 39.099 | 39.099 | 0
SO | 8.124 | 20.178 | 0 | 0 | 1713.937 | 1565.507 | 148.43 | 148.43 | 0 | 1603.7448 | 1565.497 | 38.2478 | 38.2478 | 0
RO | 10.182 | 24.798 | 0 | 0 | 3125.046 | 3008.87 | 116.176 | 116.176 | 0 | 1734.55 | 1732.876 | 1.674 | 1.674 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.7938 | 20.3114 | 0 | 0 | 1678.7597 | 1553.339 | 125.4209 | 125.4209 | 0 | 1645.605 | 1553.338 | 92.267 | 92.267 | 0
SO | 7.746 | 20.343 | 0 | 0 | 1701.989 | 1551.776 | 150.214 | 150.214 | 0 | 1645.1572 | 1551.786 | 93.3712 | 93.3712 | 0
RO | 10.182 | 24.798 | 0 | 0 | 3125.046 | 3008.87 | 116.176 | 116.176 | 0 | 1755.0572 | 1732.876 | 22.1812 | 22.1812 | 0