## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 44.2768 | 16.1641 | 108.5326 | 0 | 14511.2635 | 7439.0676 | 7072.1958 | 7072.1958 | 0 | 16526.7552 | 7439.064 | 9087.6912 | 9087.6912 | 0
SO | 45.498 | 16.655 | 107.786 | 0 | 14665.055 | 7593.828 | 7071.227 | 7071.227 | 0 | 16520.9122 | 7593.856 | 8927.0562 | 8927.0562 | 0
RO | 53.37 | 24.512 | 120.398 | 0 | 16950.65 | 8903.615 | 8047.035 | 8047.035 | 0 | 16619.2562 | 8903.615 | 7715.6412 | 7715.6412 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 45.3681 | 18.1592 | 100.9022 | 0 | 14753.4459 | 7585.2284 | 7168.2176 | 7168.2176 | 0 | 15471.348 | 7585.219 | 7886.129 | 7886.129 | 0
SO | 45.888 | 17.583 | 103.733 | 0 | 14923.843 | 7644.391 | 7279.452 | 7279.452 | 0 | 15475.711 | 7644.437 | 7831.274 | 7831.274 | 0
RO | 57.999 | 45.445 | 58.168 | 0 | 19152.842 | 9780.898 | 9371.944 | 9371.944 | 0 | 15954.9794 | 9780.898 | 6174.0814 | 6174.0814 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 42.5153 | 16.4571 | 97.2544 | 0 | 14560.5336 | 7161.709 | 7398.8246 | 7398.8246 | 0 | 16445.7428 | 7161.704 | 9284.0388 | 9284.0388 | 0
SO | 43.153 | 15.683 | 103.283 | 0 | 14704.262 | 7250.951 | 7453.311 | 7453.311 | 0 | 16420.2856 | 7250.927 | 9169.3586 | 9169.3586 | 0
RO | 57.999 | 45.445 | 58.168 | 0 | 19152.842 | 9780.898 | 9371.944 | 9371.944 | 0 | 16397.1916 | 9780.898 | 6616.2936 | 6616.2936 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 45.5175 | 19.7427 | 97.0547 | 0 | 15223.1566 | 7634.8004 | 7588.3563 | 7588.3563 | 0 | 13633.1776 | 7634.79 | 5998.3876 | 5998.3876 | 0
SO | 46.498 | 19.27 | 99.985 | 0 | 15385.172 | 7752.143 | 7633.029 | 7633.029 | 0 | 13639.2322 | 7752.092 | 5887.1402 | 5887.1402 | 0
RO | 57.999 | 45.445 | 58.168 | 0 | 19152.842 | 9780.898 | 9371.944 | 9371.944 | 0 | 14253.0074 | 9780.898 | 4472.1094 | 4472.1094 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 45.8683 | 20.8276 | 94.0179 | 0 | 15328.2483 | 7694.5297 | 7633.7187 | 7633.7187 | 0 | 13296.3022 | 7694.512 | 5601.7902 | 5601.7902 | 0
SO | 46.636 | 20.362 | 93.217 | 0 | 15472.532 | 7759.415 | 7713.117 | 7713.117 | 0 | 13305.3338 | 7759.441 | 5545.8928 | 5545.8928 | 0
RO | 57.999 | 45.445 | 58.168 | 0 | 19152.842 | 9780.898 | 9371.944 | 9371.944 | 0 | 14031.3126 | 9780.898 | 4250.4146 | 4250.4146 | 0