## Config
Parameter | Value
Scenario | FOB
Locations | California, Arizona, Alaska, Minnesota, Florida
CVaR lambda | 0.9
CVaR alpha | 0.9
Folds | 5
Weather years | 1998-2022
Total sensitivity runs | 15
Methods | LP_Avg, LP_Worst, SO_CVaR
Rows per fold sheet | 45

## VoLL_Scenarios
VoLL Level | HVAC VoLL ($/kWh) | Critical VoLL ($/kWh)
Low | 1 | 30
Med | 3 | 100
High | 10 | 300

## Summary
Location | VoLL Level | Method | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours | Folds Averaged | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta
Alaska | High | LP_Avg | 122.805 | 104.247 | 244.624 | 0 | 25747.486 | 20956.571 | 4790.915 | 4790.915 | 0 | 27001.32 | 20956.564 | 6044.756 | 6044.756 | 0 | 308.68 | 0 | 32.76 | 0 | 33.84 | 0 | 5
Alaska | High | LP_Worst | 163.742 | 131.869 | 416.656 | 0 | 32726.186 | 28055.608 | 4670.579 | 4670.579 | 0 | 30071.549 | 28055.581 | 2015.968 | 2015.968 | 0 | 102.88 | 0 | 9.88 | 0 | 13.52 | 0 | 5
Alaska | High | SO_CVaR | 147.341 | 132.012 | 305.998 | 0 | 32093.214 | 25330.929 | 6762.284 | 2600.714 | 0 | 28488.39 | 25330.978 | 3157.413 | 3157.413 | 0 | 162.24 | 0 | 14.08 | 0 | 24.4 | 0 | 5 | 2600.714 | 7224.681 | 6703.967
Alaska | Low | LP_Avg | 17.672 | 13.025 | 60.814 | 0 | 9362.71 | 3878.299 | 5484.411 | 5462.903 | 21.508 | 9462.218 | 3878.3 | 5583.918 | 5506.808 | 77.11 | 2496.32 | 7.08 | 588.24 | 2.48 | 47.24 | 2.12 | 5
Alaska | Low | LP_Worst | 20.326 | 11.471 | 74.936 | 0 | 11571.824 | 4231.644 | 7340.18 | 7340.18 | 0 | 9489.194 | 4231.618 | 5257.576 | 5201.447 | 56.13 | 2392 | 4.96 | 553.16 | 1.88 | 59.24 | 1.96 | 5
Alaska | Low | SO_CVaR | 20.129 | 11.016 | 81.805 | 0 | 10957.282 | 4242.836 | 6714.446 | 5155.961 | 73.312 | 9469.293 | 4242.845 | 5226.448 | 5156.912 | 69.535 | 2419.68 | 6.2 | 518.12 | 2.48 | 74.12 | 2 | 5 | 5229.274 | 6879.465 | 6413.815
Alaska | Med | LP_Avg | 49.915 | 29.359 | 134.657 | 0 | 17261.773 | 8797.563 | 8464.211 | 8464.211 | 0 | 17485.09 | 8797.569 | 8687.521 | 8687.521 | 0 | 1460.16 | 0 | 281.64 | 0 | 45.56 | 0 | 5
Alaska | Med | LP_Worst | 68.877 | 54.771 | 118.746 | 0 | 22313.304 | 11855.586 | 10457.719 | 10457.719 | 0 | 18070.056 | 11855.591 | 6214.465 | 6214.465 | 0 | 1056.32 | 0 | 183.4 | 0 | 43.4 | 0 | 5
Alaska | Med | SO_CVaR | 56.965 | 33.722 | 127.778 | 0 | 20897.794 | 9730.93 | 11166.864 | 7806.148 | 0 | 17570.591 | 9730.947 | 7839.645 | 7839.645 | 0 | 1341.12 | 0 | 238.76 | 0 | 45.32 | 0 | 5 | 7806.148 | 11540.277 | 10332.231
Arizona | High | LP_Avg | 6.829 | 18.666 | 45.609 | 3.609 | 2947.333 | 2753.14 | 194.193 | 194.193 | 0 | 3021.117 | 2753.149 | 267.969 | 267.969 | 0 | 22.48 | 0 | 13.4 | 0 | 4.56 | 0 | 5
Arizona | High | LP_Worst | 9.332 | 18.605 | 43.384 | 3.338 | 3277.035 | 3021.979 | 255.056 | 255.056 | 0 | 3175.044 | 3021.978 | 153.066 | 153.066 | 0 | 12.32 | 0 | 8.2 | 0 | 2.88 | 0 | 5
Arizona | High | SO_CVaR | 7.638 | 19.674 | 53.442 | 3.831 | 3269.64 | 2946.174 | 323.466 | 126.622 | 0 | 3078.208 | 2946.189 | 132.018 | 132.018 | 0 | 10.04 | 0 | 5.84 | 0 | 2.88 | 0 | 5 | 126.622 | 345.337 | 289.963
Arizona | Low | LP_Avg | 4.885 | 12.96 | 26.971 | 7.217 | 2448.872 | 2194.841 | 254.031 | 254.031 | 0 | 2462.623 | 2194.837 | 267.786 | 267.786 | 0 | 280.64 | 0 | 128.96 | 0 | 11.4 | 0 | 5
Arizona | Low | LP_Worst | 5.194 | 15.051 | 28.051 | 5.499 | 2583.303 | 2306.672 | 276.631 | 276.631 | 0 | 2480.386 | 2306.608 | 173.778 | 173.778 | 0 | 176.84 | 0 | 88.16 | 0 | 9.6 | 0 | 5
Arizona | Low | SO_CVaR | 5.091 | 13.38 | 32.108 | 8.918 | 2557.573 | 2286.292 | 271.281 | 186.107 | 0 | 2476.279 | 2286.291 | 189.988 | 189.988 | 0 | 190.92 | 0 | 100.28 | 0 | 9 | 0 | 5 | 186.107 | 280.745 | 262.499
Arizona | Med | LP_Avg | 5.811 | 16.168 | 35.912 | 6.528 | 2706.804 | 2487.972 | 218.832 | 218.832 | 0 | 2726.572 | 2487.978 | 238.594 | 238.594 | 0 | 77.2 | 0 | 39.56 | 0 | 7.36 | 0 | 5
Arizona | Med | LP_Worst | 6.123 | 16.76 | 38.725 | 7.652 | 2908.346 | 2576.512 | 331.835 | 331.835 | 0 | 2743.922 | 2576.476 | 167.445 | 167.445 | 0 | 52.96 | 0 | 27.64 | 0 | 6.64 | 0 | 5
Arizona | Med | SO_CVaR | 6.016 | 17.294 | 36.743 | 5.967 | 2873.88 | 2557.228 | 316.652 | 177.079 | 0 | 2737.834 | 2557.191 | 180.644 | 180.644 | 0 | 57.32 | 0 | 29.64 | 0 | 6.88 | 0 | 5 | 177.079 | 332.159 | 310.542
California | High | LP_Avg | 6.675 | 5.491 | 61.958 | 0.634 | 2489.058 | 2327.06 | 161.998 | 161.998 | 0 | 2730.285 | 2327.065 | 403.22 | 250.404 | 152.816 | 33.68 | 1.76 | 21.12 | 1 | 4.24 | 0.88 | 5
California | High | LP_Worst | 9.889 | 5.103 | 63.596 | 0.746 | 2828.236 | 2697.431 | 130.806 | 130.806 | 0 | 2821.383 | 2697.45 | 123.933 | 60.094 | 63.839 | 7.56 | 0.88 | 5.12 | 0.56 | 2.08 | 0.64 | 5
California | High | SO_CVaR | 8.169 | 7.132 | 60.771 | 0 | 2839.442 | 2549.781 | 289.661 | 101.129 | 9.444 | 2679.361 | 2549.773 | 129.588 | 108.713 | 20.875 | 20.96 | 0.24 | 9.36 | 0.12 | 6.08 | 0.12 | 5 | 110.573 | 309.559 | 284.883
California | Low | LP_Avg | 3.987 | 7.331 | 18.853 | 0 | 1998.605 | 1758.487 | 240.118 | 235.012 | 5.106 | 2035.066 | 1758.484 | 276.581 | 245.626 | 30.956 | 531.88 | 2.88 | 155.72 | 1.24 | 47.92 | 1.44 | 5
California | Low | LP_Worst | 4.384 | 9.393 | 17.936 | 0 | 2183.619 | 1877.25 | 306.368 | 306.368 | 0 | 2069.89 | 1877.223 | 192.668 | 183.194 | 9.473 | 395.88 | 0.96 | 117.16 | 0.4 | 42.12 | 0.56 | 5
California | Low | SO_CVaR | 4.282 | 9.406 | 15.925 | 0 | 2163.674 | 1850.82 | 312.854 | 200.146 | 9.983 | 2060.631 | 1850.829 | 209.802 | 199.361 | 10.441 | 434.04 | 1.08 | 126.4 | 0.4 | 42.84 | 0.6 | 5 | 210.129 | 324.267 | 312.146
California | Med | LP_Avg | 5.575 | 6.096 | 38.114 | 0.137 | 2251.688 | 2040.27 | 211.418 | 211.418 | 0 | 2348.557 | 2040.276 | 308.281 | 235.925 | 72.356 | 101.76 | 2.04 | 62.96 | 0.92 | 6.56 | 1.16 | 5
California | Med | LP_Worst | 6.804 | 6.058 | 52.343 | 0 | 2530.655 | 2286.947 | 243.708 | 243.708 | 0 | 2401.835 | 2286.963 | 114.871 | 89.346 | 25.525 | 63.6 | 0.8 | 23.36 | 0.4 | 14.16 | 0.48 | 5
California | Med | SO_CVaR | 6.637 | 7.587 | 38.779 | 0 | 2504.416 | 2224.848 | 279.568 | 130.049 | 8.963 | 2376.924 | 2224.843 | 152.081 | 136.522 | 15.559 | 94.68 | 0.56 | 34.44 | 0.32 | 18.64 | 0.32 | 5 | 139.012 | 295.185 | 252.475
Florida | High | LP_Avg | 5.38 | 5.631 | 0 | 55.392 | 2197.669 | 2128.443 | 69.226 | 69.226 | 0 | 2318.514 | 2128.447 | 190.068 | 180.045 | 10.023 | 34.8 | 0.2 | 15.56 | 0.2 | 7.48 | 0.16 | 5
Florida | High | LP_Worst | 5.713 | 6.6 | 0 | 57.108 | 2424.909 | 2217.27 | 207.639 | 207.639 | 0 | 2320.127 | 2217.306 | 102.821 | 96.383 | 6.439 | 22.08 | 0.24 | 8.04 | 0.2 | 6.6 | 0.2 | 5
Florida | High | SO_CVaR | 6.058 | 9.131 | 0 | 47.814 | 2427.514 | 2285.173 | 142.342 | 39.755 | 0.891 | 2360.885 | 2285.206 | 75.68 | 75.114 | 0.566 | 15.36 | 0.04 | 6.6 | 0.04 | 3.84 | 0.04 | 5 | 40.646 | 153.641 | 137.295
Florida | Low | LP_Avg | 4.432 | 4.498 | 0 | 41.026 | 1991.148 | 1867.006 | 124.142 | 120.303 | 3.839 | 2042.352 | 1867.006 | 175.346 | 159.441 | 15.905 | 247.32 | 2.16 | 139.36 | 1.28 | 12.84 | 1.28 | 5
Florida | Low | LP_Worst | 5.113 | 5.759 | 0 | 45.737 | 2135.896 | 2030.002 | 105.894 | 105.894 | 0 | 2111.525 | 2029.984 | 81.541 | 80.051 | 1.49 | 126.24 | 0.28 | 72.08 | 0.2 | 9.44 | 0.2 | 5
Florida | Low | SO_CVaR | 5.112 | 5.129 | 0 | 47.057 | 2132.734 | 2015.486 | 117.247 | 46.245 | 5.192 | 2087.273 | 2015.468 | 71.805 | 67.543 | 4.261 | 112.88 | 0.76 | 65 | 0.6 | 9.96 | 0.52 | 5 | 51.437 | 124.56 | 120.178
Florida | Med | LP_Avg | 4.982 | 4.923 | 0 | 50.728 | 2106.021 | 2020.003 | 86.018 | 86.018 | 0 | 2187.788 | 2020.018 | 167.77 | 141.645 | 26.125 | 84.16 | 1.4 | 47.56 | 0.92 | 9.52 | 0.84 | 5
Florida | Med | LP_Worst | 5.404 | 8.173 | 0 | 44.568 | 2265.575 | 2148.1 | 117.475 | 117.475 | 0 | 2206.783 | 2148.159 | 58.624 | 58.267 | 0.357 | 33.52 | 0.04 | 18.84 | 0.04 | 5.72 | 0.04 | 5
Florida | Med | SO_CVaR | 5.459 | 6.707 | 0 | 50.385 | 2269.364 | 2141.511 | 127.853 | 41.527 | 1.295 | 2193.312 | 2141.545 | 51.767 | 51.494 | 0.273 | 32.12 | 0.04 | 16.44 | 0.04 | 5.96 | 0.04 | 5 | 42.822 | 137.301 | 126.716
Minnesota | High | LP_Avg | 29.511 | 13.145 | 249.095 | 0 | 7477.516 | 6667.218 | 810.298 | 810.298 | 0 | 7800.731 | 6667.234 | 1133.497 | 1133.497 | 0 | 48.08 | 0 | 26.92 | 0 | 5.32 | 0 | 5
Minnesota | High | LP_Worst | 39.615 | 14.428 | 244.27 | 0 | 9548.454 | 7850.738 | 1697.716 | 1697.716 | 0 | 8315.328 | 7850.786 | 464.542 | 464.542 | 0 | 19.04 | 0 | 10.88 | 0 | 3.12 | 0 | 5
Minnesota | High | SO_CVaR | 36.855 | 13.898 | 256.829 | 0 | 9300.109 | 7604.956 | 1695.153 | 502.742 | 0 | 8114.577 | 7604.977 | 509.6 | 509.6 | 0 | 22.28 | 0 | 12.48 | 0 | 3.6 | 0 | 5 | 502.742 | 1827.643 | 1634.306
Minnesota | Low | LP_Avg | 14.364 | 5.549 | 129.551 | 0 | 5068.048 | 3722.364 | 1345.684 | 1345.403 | 0.281 | 5098.222 | 3722.37 | 1375.851 | 1375.783 | 0.068 | 634.08 | 0.08 | 307.2 | 0.08 | 18.56 | 0.08 | 5
Minnesota | Low | LP_Worst | 14.382 | 5.822 | 138.231 | 0 | 5585.709 | 3800.162 | 1785.547 | 1785.547 | 0 | 5113.521 | 3800.141 | 1313.38 | 1312.775 | 0.605 | 602 | 0.2 | 292 | 0.2 | 18.04 | 0.12 | 5
Minnesota | Low | SO_CVaR | 15.255 | 5.694 | 151.32 | 0 | 5487.623 | 3994.544 | 1493.079 | 1126.648 | 0 | 5126.19 | 3994.587 | 1131.603 | 1131.603 | 0 | 524.88 | 0 | 252.6 | 0 | 17.12 | 0 | 5 | 1126.648 | 1533.794 | 1454.011
Minnesota | Med | LP_Avg | 22.716 | 9.199 | 194.352 | 0 | 6370.727 | 5316.961 | 1053.766 | 1053.766 | 0 | 6446.36 | 5316.963 | 1129.397 | 1129.397 | 0 | 165 | 0 | 88.92 | 0 | 10.2 | 0 | 5
Minnesota | Med | LP_Worst | 25.543 | 10.185 | 211.679 | 0 | 7468.591 | 5812.523 | 1656.068 | 1656.068 | 0 | 6550.83 | 5812.494 | 738.336 | 738.336 | 0 | 107.96 | 0 | 59.96 | 0 | 7.6 | 0 | 5
Minnesota | Med | SO_CVaR | 23.954 | 9.692 | 206.195 | 0 | 7246.4 | 5568.296 | 1678.104 | 900.863 | 0 | 6473.474 | 5568.273 | 905.201 | 905.201 | 0 | 130.68 | 0 | 71.04 | 0 | 8.24 | 0 | 5 | 900.863 | 1764.464 | 1595.512

## Fold_1
Location | VoLL Level | Method | Fold | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta | Worst Training Year | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours
Alaska | High | LP_Avg | 1 | 115.5649 | 99.1426 | 234.0482 | 0 | 24459.0671 | 19841.5402 | 4617.5269 | 4617.5269 | 0 |  |  |  |  | 32739.8484 | 19841.53 | 12898.3184 | 12898.3184 | 0 | 670.2 | 0 | 54.2 | 0 | 52 | 0
Alaska | High | LP_Worst | 1 | 165.875 | 113.764 | 66.81 | 0 | 31717.788 | 24978.054 | 6739.735 | 6739.735 | 0 |  |  |  | 2005 | 32459.3208 | 24977.99 | 7481.3308 | 7481.3308 | 0 | 398.4 | 0 | 38.2 | 0 | 33.8 | 0
Alaska | High | SO_CVaR | 1 | 128.957 | 109.17 | 164.29 | 0 | 29783.996 | 21256.21 | 8527.785 | 4102.194 | 0 | 4102.194 | 9019.518 | 7122.969 |  | 32140.1902 | 21256.248 | 10883.9422 | 10883.9422 | 0 | 571.2 | 0 | 48 | 0 | 45 | 0
Alaska | Low | LP_Avg | 1 | 17.5103 | 12.6022 | 64.8645 | 0 | 9162.6037 | 3873.6288 | 5288.9751 | 5276.9672 | 12.0078 |  |  |  |  | 10294.2442 | 3873.629 | 6420.6152 | 6192.5816 | 228.0334 | 2687.2 | 19.8 | 606.6 | 6 | 36.8 | 5
Alaska | Low | LP_Worst | 1 | 23.264 | 13.324 | 98.794 | 0 | 10694.662 | 4822.585 | 5872.077 | 5872.077 | 0 |  |  |  | 2012 | 10447.9038 | 4822.546 | 5625.3578 | 5532.579 | 92.7786 | 2591.2 | 8 | 498.4 | 2.4 | 91.2 | 3.2
Alaska | Low | SO_CVaR | 1 | 20.068 | 11.767 | 78.577 | 0 | 10527.443 | 4240.499 | 6286.945 | 4985.471 | 35.375 | 5020.847 | 6427.622 | 6343.551 |  | 10305.6632 | 4240.531 | 6065.1322 | 5899.769 | 165.3632 | 2664 | 14.2 | 538.8 | 5.4 | 61 | 3.2
Alaska | Med | LP_Avg | 1 | 48.965 | 30.0051 | 137.7109 | 0 | 16586.844 | 8735.4152 | 7851.4288 | 7851.4288 | 0 |  |  |  |  | 20165.0352 | 8735.424 | 11429.6112 | 11429.6112 | 0 | 1897.8 | 0 | 339 | 0 | 62.8 | 0
Alaska | Med | LP_Worst | 1 | 55.371 | 49.489 | 151.651 | 0 | 19423.89 | 10334.301 | 9089.589 | 9089.589 | 0 |  |  |  | 2006 | 20366.8766 | 10334.243 | 10032.6336 | 10032.6336 | 0 | 1682.8 | 0 | 258.2 | 0 | 75.2 | 0
Alaska | Med | SO_CVaR | 1 | 49.119 | 32.555 | 145.47 | 0 | 19244.766 | 8909.873 | 10334.893 | 7878.496 | 0 | 7878.496 | 10607.826 | 10592.014 |  | 20191.13 | 8909.94 | 11281.19 | 11281.19 | 0 | 1913 | 0 | 305.4 | 0 | 76.6 | 0
Arizona | High | LP_Avg | 1 | 6.7973 | 19.0585 | 44.4475 | 3.3136 | 2936.2675 | 2753.7022 | 182.5654 | 182.5654 | 0 |  |  |  |  | 3049.2418 | 2753.708 | 295.5338 | 295.5338 | 0 | 22.6 | 0 | 12.4 | 0 | 5.2 | 0
Arizona | High | LP_Worst | 1 | 9.777 | 18.112 | 41.345 | 3.41 | 3285.484 | 3039.721 | 245.763 | 245.763 | 0 |  |  |  | 2019 | 3198.7762 | 3039.72 | 159.0562 | 159.0562 | 0 | 12 | 0 | 8 | 0 | 2.4 | 0
Arizona | High | SO_CVaR | 1 | 7.595 | 20.435 | 51.922 | 3.41 | 3285.825 | 2956.07 | 329.755 | 114.247 | 0 | 114.247 | 353.7 | 288.765 |  | 3097.6936 | 2956.061 | 141.6326 | 141.6326 | 0 | 12 | 0 | 7.6 | 0 | 2.6 | 0
Arizona | Low | LP_Avg | 1 | 4.8713 | 13.1297 | 25.5661 | 7.074 | 2443.7213 | 2188.2488 | 255.4726 | 255.4726 | 0 |  |  |  |  | 2481.5518 | 2188.245 | 293.3068 | 293.3068 | 0 | 291.4 | 0 | 141.2 | 0 | 12.8 | 0
Arizona | Low | LP_Worst | 1 | 5.236 | 15.37 | 27.995 | 5.556 | 2602.556 | 2323.886 | 278.67 | 278.67 | 0 |  |  |  | 2007 | 2495.0122 | 2323.816 | 171.1962 | 171.1962 | 0 | 163.4 | 0 | 87.4 | 0 | 10.4 | 0
Arizona | Low | SO_CVaR | 1 | 5.143 | 13.287 | 33.401 | 9.629 | 2571.306 | 2303.762 | 267.545 | 169.1 | 0 | 169.1 | 278.483 | 256.171 |  | 2487.2464 | 2303.765 | 183.4814 | 183.4814 | 0 | 174 | 0 | 96 | 0 | 9.8 | 0
Arizona | Med | LP_Avg | 1 | 5.795 | 16.3323 | 34.7546 | 6.4722 | 2702.5054 | 2483.3127 | 219.1927 | 219.1927 | 0 |  |  |  |  | 2745.8288 | 2483.319 | 262.5098 | 262.5098 | 0 | 84.2 | 0 | 42.2 | 0 | 9.8 | 0
Arizona | Med | LP_Worst | 1 | 6.158 | 17.154 | 38.034 | 7.722 | 2919.376 | 2591.126 | 328.25 | 328.25 | 0 |  |  |  | 2007 | 2763.7812 | 2591.081 | 172.7002 | 172.7002 | 0 | 53.2 | 0 | 25.4 | 0 | 9 | 0
Arizona | Med | SO_CVaR | 1 | 6.076 | 17.755 | 35.63 | 5.516 | 2882.572 | 2570.222 | 312.35 | 161.718 | 0 | 161.718 | 329.086 | 306.749 |  | 2756.3382 | 2570.188 | 186.1502 | 186.1502 | 0 | 57.6 | 0 | 27.2 | 0 | 9 | 0
California | High | LP_Avg | 1 | 6.4151 | 5.4608 | 60.7615 | 0.742 | 2440.419 | 2287.5951 | 152.8239 | 152.8239 | 0 |  |  |  |  | 3033.765 | 2287.602 | 746.163 | 468.4044 | 277.7586 | 68.8 | 3.6 | 41.8 | 2 | 5.8 | 1.8
California | High | LP_Worst | 1 | 8.781 | 4.411 | 79.638 | 0.363 | 2773.746 | 2659.95 | 113.795 | 113.795 | 0 |  |  |  | 2009 | 2937.959 | 2659.918 | 278.041 | 95.1368 | 182.9044 | 17 | 2.2 | 12.2 | 1.4 | 2.6 | 1.6
California | High | SO_CVaR | 1 | 7.787 | 7.906 | 56.158 | 0 | 2775.259 | 2500.787 | 274.472 | 101.954 | 5.21 | 107.164 | 293.062 | 232.546 |  | 2758.981 | 2500.78 | 258.201 | 258.201 | 0 | 53.6 | 0 | 21.2 | 0 | 14.2 | 0
California | Low | LP_Avg | 1 | 3.8715 | 7.1863 | 18.3763 | 0 | 1973.0163 | 1735.9362 | 237.0802 | 234.8402 | 2.2399 |  |  |  |  | 2134.8332 | 1735.932 | 398.9012 | 336.271 | 62.6304 | 747.4 | 5.6 | 194.8 | 2.4 | 59.4 | 3.4
California | Low | LP_Worst | 1 | 4.393 | 10.611 | 9.601 | 0 | 2165.141 | 1862.711 | 302.43 | 302.43 | 0 |  |  |  | 2008 | 2150.8936 | 1862.694 | 288.1996 | 277.1882 | 11.0116 | 618.8 | 0.8 | 144.2 | 0.2 | 53.8 | 0.8
California | Low | SO_CVaR | 1 | 4.375 | 10.512 | 11.071 | 0 | 2159.675 | 1867.834 | 291.841 | 190.11 | 4.244 | 194.354 | 302.673 | 298.406 |  | 2146.2624 | 1867.82 | 278.4424 | 267.1552 | 11.2872 | 593.8 | 0.8 | 151.8 | 0.2 | 54 | 0.8
California | Med | LP_Avg | 1 | 5.4516 | 5.8997 | 37.501 | 0.17165 | 2219.3936 | 2014.0943 | 205.2994 | 205.2994 | 0 |  |  |  |  | 2505.8586 | 2014.097 | 491.7616 | 345.6238 | 146.1374 | 152.6 | 4.2 | 91.6 | 2 | 7 | 2.8
California | Med | LP_Worst | 1 | 6.512 | 7.212 | 45.996 | 0 | 2483.897 | 2250.069 | 233.828 | 233.828 | 0 |  |  |  | 2008 | 2443.78 | 2250.045 | 193.735 | 179.5002 | 14.2348 | 129.4 | 0.4 | 42.2 | 0.2 | 24 | 0.4
California | Med | SO_CVaR | 1 | 6.44 | 8.513 | 33.967 | 0 | 2476.678 | 2201.604 | 275.074 | 131.703 | 4.858 | 136.561 | 290.464 | 272.32 |  | 2443.618 | 2201.655 | 241.963 | 233.707 | 8.256 | 167.6 | 0.4 | 58.8 | 0.2 | 27.6 | 0.4
Florida | High | LP_Avg | 1 | 5.4212 | 5.5794 | 0 | 56.3897 | 2205.1213 | 2138.6739 | 66.4474 | 66.4474 | 0 |  |  |  |  | 2220.8728 | 2138.678 | 82.1948 | 82.1948 | 0 | 16 | 0 | 7 | 0 | 4.8 | 0
Florida | High | LP_Worst | 1 | 5.852 | 5.442 | 0 | 57.965 | 2427.205 | 2195.041 | 232.164 | 232.164 | 0 |  |  |  | 2022 | 2257.9894 | 2195.094 | 62.8954 | 60.9328 | 1.9626 | 14.2 | 0.2 | 6.2 | 0.2 | 4.2 | 0.2
Florida | High | SO_CVaR | 1 | 6.133 | 9.926 | 0 | 46.151 | 2450.579 | 2312.05 | 138.529 | 34.642 | 0 | 34.642 | 150.072 | 147.887 |  | 2331.2698 | 2312.092 | 19.1778 | 19.1778 | 0 | 3.4 | 0 | 3.2 | 0 | 1 | 0
Florida | Low | LP_Avg | 1 | 4.528 | 4.652 | 0 | 41.8323 | 2007.9446 | 1890.1737 | 117.7708 | 114.4817 | 3.2891 |  |  |  |  | 1963.4918 | 1890.166 | 73.3258 | 71.5002 | 1.8256 | 121.4 | 0.4 | 75.2 | 0.4 | 8 | 0.4
Florida | Low | LP_Worst | 1 | 5.275 | 5.745 | 0 | 48.218 | 2148.338 | 2066.839 | 81.499 | 81.499 | 0 |  |  |  | 2022 | 2082.2546 | 2066.809 | 15.4456 | 15.4456 | 0 | 29.4 | 0 | 19 | 0 | 4.4 | 0
Florida | Low | SO_CVaR | 1 | 5.211 | 5.238 | 0 | 48.435 | 2144.685 | 2041.49 | 103.194 | 39.639 | 4.297 | 43.936 | 109.779 | 105.749 |  | 2061.7882 | 2041.451 | 20.3372 | 19.841 | 0.4962 | 39.4 | 0.2 | 25.2 | 0.2 | 5 | 0.2
Florida | Med | LP_Avg | 1 | 5.0679 | 5.0151 | 0 | 50.9547 | 2117.8459 | 2035.1657 | 82.6803 | 82.6803 | 0 |  |  |  |  | 2095.8072 | 2035.182 | 60.6252 | 57.8792 | 2.746 | 37.6 | 0.2 | 23 | 0.2 | 5.4 | 0.2
Florida | Med | LP_Worst | 1 | 5.346 | 8.914 | 0 | 41.529 | 2267.891 | 2147.108 | 120.783 | 120.783 | 0 |  |  |  | 2010 | 2174.608 | 2147.18 | 27.428 | 27.428 | 0 | 13.6 | 0 | 9.8 | 0 | 3.2 | 0
Florida | Med | SO_CVaR | 1 | 5.442 | 6.939 | 0 | 50.183 | 2286.435 | 2146.951 | 139.484 | 45.404 | 0 | 45.404 | 149.938 | 145.295 |  | 2167.9702 | 2146.997 | 20.9732 | 20.9732 | 0 | 11.8 | 0 | 8.2 | 0 | 2.6 | 0
Minnesota | High | LP_Avg | 1 | 30.4834 | 12.8244 | 253.2679 | 0 | 7715.9965 | 6798.7548 | 917.2419 | 917.2419 | 0 |  |  |  |  | 6956.6742 | 6798.776 | 157.8982 | 157.8982 | 0 | 8.4 | 0 | 6.4 | 0 | 1.2 | 0
Minnesota | High | LP_Worst | 1 | 41.77 | 14.853 | 238.558 | 0 | 9652.4 | 8073.909 | 1578.491 | 1578.491 | 0 |  |  |  | 2007 | 8080.6062 | 8073.951 | 6.6552 | 6.6552 | 0 | 1 | 0 | 0.8 | 0 | 0.6 | 0
Minnesota | High | SO_CVaR | 1 | 37.893 | 14.853 | 242.345 | 0 | 9362.625 | 7653.305 | 1709.32 | 587.165 | 0 | 587.165 | 1834.004 | 1649.477 |  | 7674.1936 | 7653.325 | 20.8686 | 20.8686 | 0 | 2.4 | 0 | 2 | 0 | 0.8 | 0
Minnesota | Low | LP_Avg | 1 | 14.5923 | 5.5844 | 132.9233 | 0 | 5148.1022 | 3775.4896 | 1372.6127 | 1372.2608 | 0.35185 |  |  |  |  | 4791.7166 | 3775.499 | 1016.2176 | 1016.2176 | 0 | 476.4 | 0 | 242.4 | 0 | 15.2 | 0
Minnesota | Low | LP_Worst | 1 | 13.963 | 6.083 | 129.397 | 0 | 5623.483 | 3695.422 | 1928.061 | 1928.061 | 0 |  |  |  | 2010 | 4782.0362 | 3695.39 | 1086.6462 | 1086.6462 | 0 | 492.8 | 0 | 248.2 | 0 | 14.2 | 0
Minnesota | Low | SO_CVaR | 1 | 15.425 | 5.576 | 155.071 | 0 | 5518.519 | 4037.782 | 1480.737 | 1155.051 | 0 | 1155.051 | 1516.924 | 1416.782 |  | 4866.6276 | 4037.836 | 828.7916 | 828.7916 | 0 | 400.6 | 0 | 194 | 0 | 14.2 | 0
Minnesota | Med | LP_Avg | 1 | 22.9986 | 9.0093 | 197.025 | 0 | 6495.7985 | 5362.4588 | 1133.3397 | 1133.3397 | 0 |  |  |  |  | 5983.0662 | 5362.459 | 620.6072 | 620.6072 | 0 | 94.2 | 0 | 58.8 | 0 | 5 | 0
Minnesota | Med | LP_Worst | 1 | 26.357 | 10.383 | 209.798 | 0 | 7515.467 | 5900.385 | 1615.082 | 1615.082 | 0 |  |  |  | 2010 | 6187.238 | 5900.339 | 286.899 | 286.899 | 0 | 44.2 | 0 | 28.2 | 0 | 3.2 | 0
Minnesota | Med | SO_CVaR | 1 | 24.138 | 9.795 | 206.606 | 0 | 7344.296 | 5596.703 | 1747.593 | 983.003 | 0 | 983.003 | 1832.547 | 1709.886 |  | 6047.8438 | 5596.669 | 451.1748 | 451.1748 | 0 | 66.8 | 0 | 41.8 | 0 | 4.4 | 0

## Fold_2
Location | VoLL Level | Method | Fold | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta | Worst Training Year | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours
Alaska | High | LP_Avg | 2 | 117.6167 | 101.2992 | 261.0165 | 0 | 25270.947 | 20364.8371 | 4906.1099 | 4906.1099 | 0 |  |  |  |  | 28408.5308 | 20364.835 | 8043.6958 | 8043.6958 | 0 | 387.6 | 0 | 61.6 | 0 | 34 | 0
Alaska | High | LP_Worst | 2 | 163.209 | 136.395 | 504.118 | 0 | 32978.286 | 28824.996 | 4153.29 | 4153.29 | 0 |  |  |  | 1999 | 30277.4102 | 28824.979 | 1452.4312 | 1452.4312 | 0 | 77 | 0 | 7.8 | 0 | 13.8 | 0
Alaska | High | SO_CVaR | 2 | 151.937 | 137.723 | 341.425 | 0 | 32636.47 | 26349.609 | 6286.86 | 1884.858 | 0 | 1884.858 | 6775.972 | 6599.217 |  | 28937.3726 | 26349.66 | 2587.7126 | 2587.7126 | 0 | 136 | 0 | 13.4 | 0 | 29.6 | 0
Alaska | Low | LP_Avg | 2 | 17.9287 | 12.6538 | 60.1128 | 0 | 9334.877 | 3888.4106 | 5446.4665 | 5423.4523 | 23.0142 |  |  |  |  | 9585.038 | 3888.41 | 5696.628 | 5600.7078 | 95.9204 | 2468.6 | 9.2 | 595.6 | 3 | 30.8 | 1.8
Alaska | Low | LP_Worst | 2 | 19.591 | 11.008 | 68.971 | 0 | 11791.115 | 4083.909 | 7707.206 | 7707.206 | 0 |  |  |  | 1999 | 9598.2118 | 4083.886 | 5514.3258 | 5413.194 | 101.132 | 2463.6 | 9.4 | 565.4 | 3.4 | 51 | 1.8
Alaska | Low | SO_CVaR | 2 | 20.329 | 10.768 | 84.821 | 0 | 11086.588 | 4279.042 | 6807.546 | 5094.877 | 68.264 | 5163.141 | 6990.257 | 6461.003 |  | 9610.381 | 4279.054 | 5331.327 | 5233.1448 | 98.1824 | 2438.8 | 9.4 | 520.8 | 3.4 | 86.8 | 2
Alaska | Med | LP_Avg | 2 | 50.5818 | 29.9228 | 132.9872 | 0 | 17090.541 | 8884.0424 | 8206.4986 | 8206.4986 | 0 |  |  |  |  | 18111.4332 | 8884.05 | 9227.3832 | 9227.3832 | 0 | 1542.8 | 0 | 286.6 | 0 | 41.6 | 0
Alaska | Med | LP_Worst | 2 | 72.254 | 56.092 | 110.52 | 0 | 23035.658 | 12235.907 | 10799.752 | 10799.752 | 0 |  |  |  | 1999 | 18786.8842 | 12235.928 | 6550.9562 | 6550.9562 | 0 | 1111.6 | 0 | 191.8 | 0 | 32.6 | 0
Alaska | Med | SO_CVaR | 2 | 58.825 | 34.047 | 124.565 | 0 | 21277.709 | 9934.794 | 11342.915 | 7453.142 | 0 | 7453.142 | 11775.112 | 10272.194 |  | 18243.9404 | 9934.832 | 8309.1084 | 8309.1084 | 0 | 1408.6 | 0 | 246.4 | 0 | 39.4 | 0
Arizona | High | LP_Avg | 2 | 6.7911 | 18.4819 | 44.4086 | 3.8843 | 2926.6302 | 2734.698 | 191.9326 | 191.9326 | 0 |  |  |  |  | 3107.3196 | 2734.708 | 372.6116 | 372.6116 | 0 | 27.8 | 0 | 18.8 | 0 | 3.6 | 0
Arizona | High | LP_Worst | 2 | 9.777 | 18.112 | 41.345 | 3.41 | 3285.484 | 3039.721 | 245.763 | 245.763 | 0 |  |  |  | 2019 | 3266.5664 | 3039.72 | 226.8464 | 226.8464 | 0 | 19.6 | 0 | 13.4 | 0 | 3.2 | 0
Arizona | High | SO_CVaR | 2 | 7.655 | 18.375 | 56.509 | 3.41 | 3268.386 | 2917.863 | 350.523 | 138.864 | 0 | 138.864 | 374.041 | 298.67 |  | 3111.5822 | 2917.904 | 193.6782 | 193.6782 | 0 | 15.2 | 0 | 9.2 | 0 | 3 | 0
Arizona | Low | LP_Avg | 2 | 4.8398 | 12.9414 | 26.4582 | 7.1148 | 2437.0683 | 2184.3292 | 252.739 | 252.739 | 0 |  |  |  |  | 2517.9988 | 2184.323 | 333.6758 | 333.6758 | 0 | 329.4 | 0 | 154 | 0 | 9.6 | 0
Arizona | Low | LP_Worst | 2 | 5.026 | 13.773 | 28.273 | 5.27 | 2506.291 | 2237.816 | 268.475 | 268.475 | 0 |  |  |  | 2011 | 2511.971 | 2237.776 | 274.195 | 274.195 | 0 | 277.6 | 0 | 133.6 | 0 | 9.6 | 0
Arizona | Low | SO_CVaR | 2 | 4.859 | 13.763 | 26.496 | 6.076 | 2500.514 | 2210.791 | 289.723 | 236.868 | 0 | 236.868 | 295.596 | 293.662 |  | 2515.5654 | 2210.76 | 304.8054 | 304.8054 | 0 | 299.8 | 0 | 140.4 | 0 | 8.8 | 0
Arizona | Med | LP_Avg | 2 | 5.782 | 16.1628 | 35.1884 | 6.3504 | 2690.4185 | 2477.609 | 212.8095 | 212.8095 | 0 |  |  |  |  | 2793.0552 | 2477.615 | 315.4402 | 315.4402 | 0 | 94 | 0 | 50 | 0 | 6.4 | 0
Arizona | Med | LP_Worst | 2 | 5.983 | 15.184 | 41.487 | 7.374 | 2864.228 | 2518.055 | 346.173 | 346.173 | 0 |  |  |  | 2019 | 2791.2634 | 2518.058 | 273.2054 | 273.2054 | 0 | 88 | 0 | 48.8 | 0 | 6.2 | 0
Arizona | Med | SO_CVaR | 2 | 5.869 | 16.532 | 36.388 | 4.753 | 2838.132 | 2499.018 | 339.114 | 210.111 | 0 | 210.111 | 353.448 | 339.856 |  | 2789.6452 | 2498.958 | 290.6872 | 290.6872 | 0 | 92.8 | 0 | 50.2 | 0 | 6.6 | 0
California | High | LP_Avg | 2 | 6.6514 | 5.7545 | 61.8843 | 0.6953 | 2489.3974 | 2334.3791 | 155.0182 | 155.0182 | 0 |  |  |  |  | 2535.6924 | 2334.381 | 201.3114 | 201.3114 | 0 | 22.6 | 0 | 13.4 | 0 | 3.8 | 0
California | High | LP_Worst | 2 | 10.166 | 5.276 | 59.586 | 0.842 | 2841.859 | 2706.801 | 135.059 | 135.059 | 0 |  |  |  | 1998 | 2760.6054 | 2706.833 | 53.7724 | 53.7724 | 0 | 3.8 | 0 | 3 | 0 | 1 | 0
California | High | SO_CVaR | 2 | 8.26 | 7.293 | 60.962 | 0 | 2861.235 | 2567.981 | 293.254 | 98.117 | 9.638 | 107.755 | 313.864 | 297.942 |  | 2649.2192 | 2567.953 | 81.2662 | 81.2662 | 0 | 12.8 | 0 | 7.4 | 0 | 4.8 | 0
California | Low | LP_Avg | 2 | 4.0209 | 7.7595 | 17.5675 | 0 | 2004.3928 | 1769.2979 | 235.095 | 229.757 | 5.338 |  |  |  |  | 2018.4468 | 1769.293 | 249.1538 | 249.1114 | 0.0426 | 558.4 | 0.2 | 160.8 | 0.2 | 48.8 | 0.2
California | Low | LP_Worst | 2 | 4.382 | 9.089 | 20.02 | 0 | 2188.238 | 1880.885 | 307.353 | 307.353 | 0 |  |  |  | 1998 | 2058.1288 | 1880.855 | 177.2738 | 177.2738 | 0 | 382.8 | 0 | 119.2 | 0 | 38.2 | 0
California | Low | SO_CVaR | 2 | 4.171 | 9.37 | 16.64 | 0 | 2171.369 | 1841.873 | 329.496 | 202.863 | 13.533 | 216.396 | 342.062 | 336.031 |  | 2052.286 | 1841.898 | 210.388 | 210.388 | 0 | 458.4 | 0 | 136.4 | 0 | 38.8 | 0
California | Med | LP_Avg | 2 | 5.5916 | 6.3966 | 36.8625 | 0.12965 | 2253.7312 | 2044.3905 | 209.3407 | 209.3407 | 0 |  |  |  |  | 2285.4752 | 2044.391 | 241.0842 | 241.0842 | 0 | 104.4 | 0 | 65.4 | 0 | 6.6 | 0
California | Med | LP_Worst | 2 | 6.877 | 5.77 | 53.93 | 0 | 2542.345 | 2296.167 | 246.178 | 246.178 | 0 |  |  |  | 1998 | 2366.8772 | 2296.193 | 70.6842 | 70.6842 | 0 | 45.2 | 0 | 19.8 | 0 | 13.2 | 0
California | Med | SO_CVaR | 2 | 6.778 | 7.559 | 40.73 | 0 | 2523.381 | 2254.675 | 268.706 | 116.841 | 10.518 | 127.359 | 284.411 | 245.472 |  | 2359.651 | 2254.729 | 104.922 | 104.922 | 0 | 71 | 0 | 32.2 | 0 | 17.4 | 0
Florida | High | LP_Avg | 2 | 5.5197 | 5.7019 | 0 | 55.7595 | 2221.242 | 2150.086 | 71.1561 | 71.1561 | 0 |  |  |  |  | 2177.425 | 2150.085 | 27.34 | 27.34 | 0 | 9.2 | 0 | 5.2 | 0 | 2.8 | 0
Florida | High | LP_Worst | 2 | 5.852 | 5.442 | 0 | 57.965 | 2427.205 | 2195.041 | 232.164 | 232.164 | 0 |  |  |  | 2022 | 2218.6154 | 2195.094 | 23.5214 | 23.5214 | 0 | 8.4 | 0 | 3.4 | 0 | 3 | 0
Florida | High | SO_CVaR | 2 | 6.133 | 9.926 | 0 | 46.151 | 2451.006 | 2312.05 | 138.956 | 38.916 | 0 | 38.916 | 150.072 | 147.887 |  | 2314.1864 | 2312.092 | 2.0944 | 2.0944 | 0 | 0.8 | 0 | 0.6 | 0 | 0.4 | 0
Florida | Low | LP_Avg | 2 | 4.5082 | 4.5102 | 0 | 42.2799 | 2009.0041 | 1885.7554 | 123.2485 | 119.1224 | 4.1261 |  |  |  |  | 1950.8808 | 1885.755 | 65.1258 | 59.3304 | 5.7954 | 104 | 1.2 | 60.8 | 1 | 6.8 | 0.8
Florida | Low | LP_Worst | 2 | 5.275 | 5.745 | 0 | 48.218 | 2148.338 | 2066.839 | 81.499 | 81.499 | 0 |  |  |  | 2022 | 2075.4494 | 2066.809 | 8.6404 | 8.6404 | 0 | 19 | 0 | 14 | 0 | 3 | 0
Florida | Low | SO_CVaR | 2 | 5.211 | 5.238 | 0 | 48.435 | 2144.892 | 2041.49 | 103.402 | 41.652 | 4.356 | 46.008 | 109.779 | 105.749 |  | 2053.5006 | 2041.451 | 12.0496 | 11.7886 | 0.261 | 26 | 0.2 | 16.8 | 0.2 | 4 | 0.2
Florida | Med | LP_Avg | 2 | 5.0701 | 4.9646 | 0 | 51.4415 | 2125.5397 | 2037.1242 | 88.4156 | 88.4156 | 0 |  |  |  |  | 2075.1434 | 2037.137 | 38.0064 | 31.9104 | 6.0958 | 24.6 | 1 | 14.4 | 0.8 | 4.6 | 0.6
Florida | Med | LP_Worst | 2 | 5.346 | 8.914 | 0 | 41.529 | 2267.891 | 2147.108 | 120.783 | 120.783 | 0 |  |  |  | 2010 | 2160.261 | 2147.18 | 13.081 | 13.081 | 0 | 9 | 0 | 7.2 | 0 | 2 | 0
Florida | Med | SO_CVaR | 2 | 5.442 | 6.939 | 0 | 50.183 | 2286.78 | 2146.951 | 139.829 | 48.848 | 0 | 48.848 | 149.938 | 145.295 |  | 2154.1972 | 2146.997 | 7.2002 | 7.2002 | 0 | 5.4 | 0 | 4.2 | 0 | 1.6 | 0
Minnesota | High | LP_Avg | 2 | 29.4254 | 13.4263 | 251.9532 | 0 | 7401.3763 | 6689.5835 | 711.7929 | 711.7929 | 0 |  |  |  |  | 8022.222 | 6689.6 | 1332.622 | 1332.622 | 0 | 49.8 | 0 | 26.6 | 0 | 6.2 | 0
Minnesota | High | LP_Worst | 2 | 30.994 | 12.728 | 267.116 | 0 | 9132.672 | 6958.056 | 2174.616 | 2174.616 | 0 |  |  |  | 2022 | 8043.5998 | 6958.125 | 1085.4748 | 1085.4748 | 0 | 36.6 | 0 | 19.8 | 0 | 5 | 0
Minnesota | High | SO_CVaR | 2 | 35.117 | 11.702 | 301.174 | 0 | 9130.308 | 7651.634 | 1478.673 | 431.572 | 0 | 431.572 | 1595.018 | 1504.914 |  | 8373.5768 | 7651.663 | 721.9138 | 721.9138 | 0 | 27.2 | 0 | 13.6 | 0 | 5 | 0
Minnesota | Low | LP_Avg | 2 | 14.4 | 5.5353 | 129.1128 | 0 | 5070.8216 | 3722.7218 | 1348.0999 | 1347.748 | 0.35185 |  |  |  |  | 5070.4964 | 3722.726 | 1347.7704 | 1347.7112 | 0.0592 | 653.8 | 0.2 | 303.8 | 0.2 | 23 | 0.2
Minnesota | Low | LP_Worst | 2 | 13.963 | 6.083 | 129.397 | 0 | 5623.483 | 3695.422 | 1928.061 | 1928.061 | 0 |  |  |  | 2010 | 5071.2426 | 3695.39 | 1375.8526 | 1375.8526 | 0 | 645.6 | 0 | 305 | 0 | 22 | 0
Minnesota | Low | SO_CVaR | 2 | 15.376 | 5.576 | 154.664 | 0 | 5512.716 | 4029.045 | 1483.671 | 1104.607 | 0 | 1104.607 | 1525.789 | 1426.975 |  | 5096.7338 | 4029.106 | 1067.6278 | 1067.6278 | 0 | 523.2 | 0 | 233.6 | 0 | 22.8 | 0
Minnesota | Med | LP_Avg | 2 | 22.8904 | 9.3858 | 194.3005 | 0 | 6360.1402 | 5344.0107 | 1016.1294 | 1016.1294 | 0 |  |  |  |  | 6495.2884 | 5344.009 | 1151.2794 | 1151.2794 | 0 | 168.4 | 0 | 84.2 | 0 | 15.2 | 0
Minnesota | Med | LP_Worst | 2 | 26.357 | 10.383 | 209.798 | 0 | 7515.467 | 5900.385 | 1615.082 | 1615.082 | 0 |  |  |  | 2010 | 6634.5472 | 5900.339 | 734.2082 | 734.2082 | 0 | 105.2 | 0 | 55.6 | 0 | 9 | 0
Minnesota | Med | SO_CVaR | 2 | 24.288 | 9.681 | 210.664 | 0 | 7172.372 | 5640.127 | 1532.245 | 827.539 | 0 | 827.539 | 1610.546 | 1307.998 |  | 6546.4354 | 5640.097 | 906.3384 | 906.3384 | 0 | 131 | 0 | 65.6 | 0 | 10 | 0

## Fold_3
Location | VoLL Level | Method | Fold | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta | Worst Training Year | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours
Alaska | High | LP_Avg | 3 | 123.5217 | 101.6086 | 235.9978 | 0 | 25836.8324 | 20872.9694 | 4963.8631 | 4963.8631 | 0 |  |  |  |  | 25843.0076 | 20872.96 | 4970.0476 | 4970.0476 | 0 | 243.8 | 0 | 25.2 | 0 | 27.4 | 0
Alaska | High | LP_Worst | 3 | 163.209 | 136.395 | 504.118 | 0 | 32978.286 | 28824.996 | 4153.29 | 4153.29 | 0 |  |  |  | 1999 | 29305.1716 | 28824.979 | 480.1926 | 480.1926 | 0 | 22 | 0 | 2.6 | 0 | 4.6 | 0
Alaska | High | SO_CVaR | 3 | 151.937 | 137.723 | 341.425 | 0 | 32672.215 | 26349.609 | 6322.606 | 2242.313 | 0 | 2242.313 | 6775.972 | 6599.217 |  | 27507.5616 | 26349.66 | 1157.9016 | 1157.9016 | 0 | 51.2 | 0 | 5.8 | 0 | 10.6 | 0
Alaska | Low | LP_Avg | 3 | 17.3404 | 13.0514 | 59.1671 | 0 | 9142.0034 | 3828.5199 | 5313.4837 | 5288.0031 | 25.4806 |  |  |  |  | 10308.7716 | 3828.525 | 6480.2466 | 6442.0712 | 38.1756 | 2663.4 | 3.2 | 631 | 1.4 | 30.2 | 2
Alaska | Low | LP_Worst | 3 | 19.591 | 11.008 | 68.971 | 0 | 11791.115 | 4083.909 | 7707.206 | 7707.206 | 0 |  |  |  | 1999 | 10289.2606 | 4083.886 | 6205.3746 | 6159.8268 | 45.548 | 2512 | 3.8 | 589.8 | 1.4 | 28.8 | 2.4
Alaska | Low | SO_CVaR | 3 | 19.591 | 11.008 | 75.986 | 0 | 10947.28 | 4136.557 | 6810.723 | 5029.902 | 86.95 | 5116.852 | 6998.931 | 6342.516 |  | 10286.6416 | 4136.534 | 6150.1076 | 6104.56 | 45.548 | 2421.6 | 3.8 | 576.2 | 1.4 | 34.6 | 2.4
Alaska | Med | LP_Avg | 3 | 48.2006 | 25.7773 | 135.9876 | 0 | 16943.857 | 8470.7181 | 8473.139 | 8473.139 | 0 |  |  |  |  | 18951.754 | 8470.721 | 10481.033 | 10481.033 | 0 | 1568.4 | 0 | 340 | 0 | 53.6 | 0
Alaska | Med | LP_Worst | 3 | 72.254 | 56.092 | 110.52 | 0 | 23035.658 | 12235.907 | 10799.752 | 10799.752 | 0 |  |  |  | 1999 | 18910.8744 | 12235.928 | 6674.9464 | 6674.9464 | 0 | 1018.8 | 0 | 200.8 | 0 | 50 | 0
Alaska | Med | SO_CVaR | 3 | 58.992 | 33.604 | 123.606 | 0 | 21263.95 | 9929.879 | 11334.072 | 7323.868 | 0 | 7323.868 | 11779.65 | 10269.199 |  | 18805.263 | 9929.874 | 8875.389 | 8875.389 | 0 | 1354.6 | 0 | 270.2 | 0 | 46 | 0
Arizona | High | LP_Avg | 3 | 6.845 | 18.6932 | 44.9919 | 3.6578 | 2956.2649 | 2751.7825 | 204.4826 | 204.4826 | 0 |  |  |  |  | 2960.019 | 2751.796 | 208.223 | 208.223 | 0 | 20.4 | 0 | 13.6 | 0 | 4.4 | 0
Arizona | High | LP_Worst | 3 | 9.777 | 18.112 | 41.345 | 3.41 | 3285.484 | 3039.721 | 245.763 | 245.763 | 0 |  |  |  | 2019 | 3142.756 | 3039.72 | 103.036 | 103.036 | 0 | 11.2 | 0 | 7.6 | 0 | 3 | 0
Arizona | High | SO_CVaR | 3 | 7.733 | 20.364 | 52.114 | 3.41 | 3287.668 | 2970.78 | 316.888 | 127.788 | 0 | 127.788 | 337.899 | 278.648 |  | 3033.1926 | 2970.744 | 62.4486 | 62.4486 | 0 | 4.8 | 0 | 3 | 0 | 2.8 | 0
Arizona | Low | LP_Avg | 3 | 4.8909 | 12.8653 | 27.2549 | 7.5989 | 2451.1714 | 2196.9229 | 254.2484 | 254.2484 | 0 |  |  |  |  | 2444.4202 | 2196.924 | 247.4962 | 247.4962 | 0 | 263.6 | 0 | 116.6 | 0 | 10.8 | 0
Arizona | Low | LP_Worst | 3 | 5.236 | 15.37 | 27.995 | 5.556 | 2602.556 | 2323.886 | 278.67 | 278.67 | 0 |  |  |  | 2007 | 2472.9522 | 2323.816 | 149.1362 | 149.1362 | 0 | 145.4 | 0 | 76 | 0 | 8.6 | 0
Arizona | Low | SO_CVaR | 3 | 5.143 | 13.287 | 33.401 | 9.629 | 2571.822 | 2303.762 | 268.06 | 174.259 | 0 | 174.259 | 278.483 | 256.171 |  | 2466.6094 | 2303.765 | 162.8444 | 162.8444 | 0 | 163.2 | 0 | 92.4 | 0 | 8.6 | 0
Arizona | Med | LP_Avg | 3 | 5.7932 | 16.0956 | 36.1632 | 6.8448 | 2709.4381 | 2487.3385 | 222.0996 | 222.0996 | 0 |  |  |  |  | 2707.3284 | 2487.348 | 219.9804 | 219.9804 | 0 | 71.8 | 0 | 37 | 0 | 6.2 | 0
Arizona | Med | LP_Worst | 3 | 6.158 | 17.154 | 38.034 | 7.722 | 2919.376 | 2591.126 | 328.25 | 328.25 | 0 |  |  |  | 2007 | 2731.4222 | 2591.081 | 140.3412 | 140.3412 | 0 | 42.8 | 0 | 22.8 | 0 | 6.8 | 0
Arizona | Med | SO_CVaR | 3 | 6.076 | 17.755 | 35.63 | 5.516 | 2883.416 | 2570.222 | 313.194 | 170.162 | 0 | 170.162 | 329.086 | 306.749 |  | 2722.5642 | 2570.188 | 152.3762 | 152.3762 | 0 | 47.6 | 0 | 24.2 | 0 | 6.6 | 0
California | High | LP_Avg | 3 | 6.4898 | 5.517 | 60.2313 | 0.73115 | 2450.5201 | 2294.3537 | 156.1664 | 156.1664 | 0 |  |  |  |  | 3016.376 | 2294.363 | 722.013 | 439.0286 | 282.9846 | 48.6 | 3 | 34 | 1.6 | 4.8 | 1.4
California | High | LP_Worst | 3 | 10.166 | 5.276 | 59.586 | 0.842 | 2841.859 | 2706.801 | 135.059 | 135.059 | 0 |  |  |  | 1998 | 2845.0136 | 2706.833 | 138.1806 | 101.2484 | 36.9324 | 8.6 | 0.6 | 6 | 0.4 | 2.8 | 0.6
California | High | SO_CVaR | 3 | 8.26 | 7.293 | 60.962 | 0 | 2859.371 | 2567.981 | 291.39 | 79.478 | 9.638 | 89.116 | 313.864 | 297.942 |  | 2723.7844 | 2567.953 | 155.8314 | 155.8314 | 0 | 29.2 | 0 | 14.2 | 0 | 8.4 | 0
California | Low | LP_Avg | 3 | 3.9387 | 7.1487 | 18.5897 | 0 | 1976.7414 | 1743.8641 | 232.8773 | 227.079 | 5.7983 |  |  |  |  | 2129.149 | 1743.867 | 385.282 | 324.8784 | 60.4036 | 640.4 | 5.4 | 197 | 1.8 | 54.2 | 2
California | Low | LP_Worst | 3 | 4.382 | 9.089 | 20.02 | 0 | 2188.238 | 1880.885 | 307.353 | 307.353 | 0 |  |  |  | 1998 | 2139.3532 | 1880.855 | 258.4982 | 230.0636 | 28.4346 | 457 | 2.6 | 147.6 | 1 | 48.2 | 1.4
California | Low | SO_CVaR | 3 | 4.475 | 8.475 | 18.72 | 0 | 2141.23 | 1858.114 | 283.116 | 168.804 | 7.376 | 176.18 | 294.998 | 256.777 |  | 2133.647 | 1858.165 | 275.482 | 243.0708 | 32.4112 | 482.4 | 3 | 152.8 | 1 | 47.6 | 1.6
California | Med | LP_Avg | 3 | 5.4396 | 6.1037 | 37.07 | 0.17165 | 2222.885 | 2017.3284 | 205.5568 | 205.5568 | 0 |  |  |  |  | 2519.5872 | 2017.339 | 502.2482 | 359.9218 | 142.3264 | 135 | 4 | 84.4 | 1.4 | 7.4 | 1.8
California | Med | LP_Worst | 3 | 6.877 | 5.77 | 53.93 | 0 | 2542.345 | 2296.167 | 246.178 | 246.178 | 0 |  |  |  | 1998 | 2487.591 | 2296.193 | 191.398 | 133.1954 | 58.2026 | 86.8 | 1.8 | 33.6 | 0.8 | 14.6 | 1
California | Med | SO_CVaR | 3 | 6.294 | 6.955 | 37.417 | 0 | 2473.207 | 2150.54 | 322.667 | 145.765 | 13.889 | 159.653 | 340.78 | 261.546 |  | 2440.603 | 2150.487 | 290.116 | 243.0644 | 47.0516 | 154 | 1.4 | 52.4 | 0.6 | 22.4 | 0.8
Florida | High | LP_Avg | 3 | 5.4207 | 5.4229 | 0 | 55.7709 | 2194.5424 | 2127.9343 | 66.6082 | 66.6082 | 0 |  |  |  |  | 2346.6606 | 2127.94 | 218.7206 | 216.4772 | 2.2434 | 43.2 | 0.2 | 13.8 | 0.2 | 9 | 0.2
Florida | High | LP_Worst | 3 | 5.852 | 5.442 | 0 | 57.965 | 2427.205 | 2195.041 | 232.164 | 232.164 | 0 |  |  |  | 2022 | 2368.2394 | 2195.094 | 173.1454 | 171.1828 | 1.9626 | 37.2 | 0.2 | 10.4 | 0.2 | 8.8 | 0.2
Florida | High | SO_CVaR | 3 | 6.169 | 5.383 | 0 | 57.937 | 2405.729 | 2229.334 | 176.395 | 56.502 | 4.454 | 60.956 | 189.222 | 158.309 |  | 2397.6278 | 2229.322 | 168.3058 | 165.4758 | 2.83 | 36 | 0.2 | 9 | 0.2 | 8.8 | 0.2
Florida | Low | LP_Avg | 3 | 4.4453 | 4.5249 | 0 | 41.3423 | 1993.6744 | 1872.0045 | 121.6697 | 117.9523 | 3.7174 |  |  |  |  | 1990.7166 | 1872.004 | 118.7126 | 115.051 | 3.6616 | 186.4 | 0.8 | 101.8 | 0.8 | 12.8 | 0.6
Florida | Low | LP_Worst | 3 | 5.275 | 5.745 | 0 | 48.218 | 2148.338 | 2066.839 | 81.499 | 81.499 | 0 |  |  |  | 2022 | 2095.8428 | 2066.809 | 29.0338 | 29.0338 | 0 | 55.8 | 0 | 25.6 | 0 | 8.6 | 0
Florida | Low | SO_CVaR | 3 | 5.227 | 4.599 | 0 | 50.259 | 2143.761 | 2032.332 | 111.429 | 36.452 | 10.102 | 46.554 | 118.638 | 108.856 |  | 2074.028 | 2032.323 | 41.705 | 38.9946 | 2.7102 | 78.2 | 0.6 | 31.8 | 0.6 | 10.4 | 0.6
Florida | Med | LP_Avg | 3 | 4.9764 | 4.7931 | 0 | 51.7138 | 2104.6647 | 2021.7016 | 82.9632 | 82.9632 | 0 |  |  |  |  | 2152.5818 | 2021.712 | 130.8698 | 124.689 | 6.1808 | 75 | 0.6 | 32.2 | 0.6 | 10.4 | 0.6
Florida | Med | LP_Worst | 3 | 5.638 | 5.211 | 0 | 56.724 | 2256.311 | 2152.067 | 104.244 | 104.244 | 0 |  |  |  | 2019 | 2215.2018 | 2152.075 | 63.1268 | 61.3408 | 1.786 | 41.8 | 0.2 | 11.6 | 0.2 | 9.2 | 0.2
Florida | Med | SO_CVaR | 3 | 5.637 | 5.297 | 0 | 55.004 | 2251.693 | 2142.4 | 109.292 | 35.862 | 6.476 | 42.338 | 116.732 | 116.732 |  | 2206.2946 | 2142.371 | 63.9236 | 62.559 | 1.3648 | 42.6 | 0.2 | 12.8 | 0.2 | 9.2 | 0.2
Minnesota | High | LP_Avg | 3 | 29.1702 | 12.6295 | 244.3707 | 0 | 7436.8986 | 6572.3712 | 864.5275 | 864.5275 | 0 |  |  |  |  | 7925.2716 | 6572.384 | 1352.8876 | 1352.8876 | 0 | 56.8 | 0 | 32.6 | 0 | 5.2 | 0
Minnesota | High | LP_Worst | 3 | 41.77 | 14.853 | 238.558 | 0 | 9652.4 | 8073.909 | 1578.491 | 1578.491 | 0 |  |  |  | 2007 | 8566.3342 | 8073.951 | 492.3832 | 492.3832 | 0 | 21.8 | 0 | 10 | 0 | 3.8 | 0
Minnesota | High | SO_CVaR | 3 | 33.388 | 13.229 | 256.766 | 0 | 9326.192 | 7177.065 | 2149.127 | 666.786 | 0 | 666.786 | 2313.832 | 2011.153 |  | 7960.4332 | 7177.072 | 783.3612 | 783.3612 | 0 | 33.2 | 0 | 16.2 | 0 | 4.2 | 0
Minnesota | Low | LP_Avg | 3 | 14.2944 | 5.5869 | 129.176 | 0 | 5036.9228 | 3712.9547 | 1323.9681 | 1323.6475 | 0.3206 |  |  |  |  | 5205.6954 | 3712.962 | 1492.7334 | 1492.7334 | 0 | 662.4 | 0 | 320.4 | 0 | 17.2 | 0
Minnesota | Low | LP_Worst | 3 | 16.058 | 4.778 | 173.565 | 0 | 5434.615 | 4219.124 | 1215.491 | 1215.491 | 0 |  |  |  | 2014 | 5288.3846 | 4219.143 | 1069.2416 | 1066.2182 | 3.0234 | 517.6 | 1 | 244.4 | 1 | 16.4 | 0.6
Minnesota | Low | SO_CVaR | 3 | 15.614 | 5.666 | 155.813 | 0 | 5412.989 | 4068.723 | 1344.267 | 1036.647 | 0 | 1036.647 | 1378.447 | 1374.593 |  | 5237.644 | 4068.77 | 1168.874 | 1168.874 | 0 | 519.6 | 0 | 257.6 | 0 | 16.4 | 0
Minnesota | Med | LP_Avg | 3 | 22.5898 | 9.1744 | 191.2392 | 0 | 6330.1161 | 5278.0612 | 1052.0548 | 1052.0548 | 0 |  |  |  |  | 6616.8856 | 5278.067 | 1338.8186 | 1338.8186 | 0 | 186.2 | 0 | 102.2 | 0 | 8.8 | 0
Minnesota | Med | LP_Worst | 3 | 22.285 | 9.394 | 219.204 | 0 | 7281.087 | 5461.075 | 1820.012 | 1820.012 | 0 |  |  |  | 2007 | 6616.098 | 5461.115 | 1154.983 | 1154.983 | 0 | 161 | 0 | 89.8 | 0 | 7.2 | 0
Minnesota | Med | SO_CVaR | 3 | 23.067 | 9.394 | 200.493 | 0 | 7053.504 | 5411.246 | 1642.257 | 995.385 | 0 | 995.385 | 1714.132 | 1539.902 |  | 6606.9308 | 5411.261 | 1195.6698 | 1195.6698 | 0 | 163.8 | 0 | 91.6 | 0 | 7.8 | 0

## Fold_4
Location | VoLL Level | Method | Fold | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta | Worst Training Year | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours
Alaska | High | LP_Avg | 4 | 128.0227 | 106.5088 | 230.896 | 0 | 26231.556 | 21545.1767 | 4686.3792 | 4686.3792 | 0 |  |  |  |  | 24522.9668 | 21545.174 | 2977.7928 | 2977.7928 | 0 | 176.8 | 0 | 15.8 | 0 | 37.2 | 0
Alaska | High | LP_Worst | 4 | 163.209 | 136.395 | 504.118 | 0 | 32978.286 | 28824.996 | 4153.29 | 4153.29 | 0 |  |  |  | 1999 | 29292.4408 | 28824.979 | 467.4618 | 467.4618 | 0 | 13.4 | 0 | 0.4 | 0 | 13.4 | 0
Alaska | High | SO_CVaR | 4 | 151.937 | 137.723 | 341.425 | 0 | 32681.367 | 26349.609 | 6331.758 | 2333.834 | 0 | 2333.834 | 6775.972 | 6599.217 |  | 27141.482 | 26349.66 | 791.822 | 791.822 | 0 | 38.6 | 0 | 1.6 | 0 | 31.8 | 0
Alaska | Low | LP_Avg | 4 | 17.9908 | 12.9253 | 61.1959 | 0 | 9538.0789 | 3914.2168 | 5623.8623 | 5599.5162 | 24.3461 |  |  |  |  | 8730.4346 | 3914.213 | 4816.2216 | 4795.0092 | 21.2124 | 2496.4 | 2.6 | 575 | 1.6 | 88.6 | 1.4
Alaska | Low | LP_Worst | 4 | 19.591 | 11.008 | 68.971 | 0 | 11791.115 | 4083.909 | 7707.206 | 7707.206 | 0 |  |  |  | 1999 | 8745.6452 | 4083.886 | 4661.7592 | 4629.2652 | 32.494 | 2380.6 | 3.2 | 585.4 | 1.8 | 80.4 | 2
Alaska | Low | SO_CVaR | 4 | 20.329 | 10.768 | 84.821 | 0 | 11107.66 | 4279.042 | 6828.618 | 5288.482 | 85.382 | 5373.864 | 6990.257 | 6461.003 |  | 8767.4902 | 4279.054 | 4488.4362 | 4458.7258 | 29.7106 | 2552.2 | 3.2 | 482.6 | 1.8 | 128.2 | 2
Alaska | Med | LP_Avg | 4 | 51.0244 | 30.3712 | 131.5282 | 0 | 17623.5357 | 8941.6686 | 8681.8672 | 8681.8672 | 0 |  |  |  |  | 15922.1802 | 8941.676 | 6980.5042 | 6980.5042 | 0 | 1367.8 | 0 | 250.2 | 0 | 38.6 | 0
Alaska | Med | LP_Worst | 4 | 72.254 | 56.092 | 110.52 | 0 | 23035.658 | 12235.907 | 10799.752 | 10799.752 | 0 |  |  |  | 1999 | 16892.8052 | 12235.928 | 4656.8772 | 4656.8772 | 0 | 915.2 | 0 | 161.2 | 0 | 34 | 0
Alaska | Med | SO_CVaR | 4 | 58.919 | 34.17 | 123.026 | 0 | 21330.63 | 9938.966 | 11391.664 | 7981.439 | 0 | 7981.439 | 11770.577 | 10265.592 |  | 16130.7286 | 9938.918 | 6191.8106 | 6191.8106 | 0 | 1227.8 | 0 | 216 | 0 | 36.4 | 0
Arizona | High | LP_Avg | 4 | 6.9257 | 18.7513 | 47.1008 | 3.5145 | 2981.9578 | 2778.1365 | 203.8213 | 203.8213 | 0 |  |  |  |  | 2896.8 | 2778.138 | 118.662 | 118.662 | 0 | 10.6 | 0 | 5.8 | 0 | 3.8 | 0
Arizona | High | LP_Worst | 4 | 9.777 | 18.112 | 41.345 | 3.41 | 3285.484 | 3039.721 | 245.763 | 245.763 | 0 |  |  |  | 2019 | 3141.7762 | 3039.72 | 102.0562 | 102.0562 | 0 | 7.4 | 0 | 5.4 | 0 | 2 | 0
Arizona | High | SO_CVaR | 4 | 7.755 | 20.346 | 52.164 | 3.41 | 3287.761 | 2972.922 | 314.838 | 127.91 | 0 | 127.91 | 335.608 | 277.281 |  | 3031.3158 | 2972.973 | 58.3428 | 58.3428 | 0 | 2.2 | 0 | 1.6 | 0 | 1.2 | 0
Arizona | Low | LP_Avg | 4 | 4.9364 | 13.1223 | 27.6831 | 7.2051 | 2463.3726 | 2212.3756 | 250.9971 | 250.9971 | 0 |  |  |  |  | 2409.0462 | 2212.366 | 196.6802 | 196.6802 | 0 | 207.8 | 0 | 95.4 | 0 | 11 | 0
Arizona | Low | LP_Worst | 4 | 5.236 | 15.37 | 27.995 | 5.556 | 2602.556 | 2323.886 | 278.67 | 278.67 | 0 |  |  |  | 2007 | 2444.8368 | 2323.816 | 121.0208 | 121.0208 | 0 | 127.4 | 0 | 63.6 | 0 | 7.8 | 0
Arizona | Low | SO_CVaR | 4 | 5.155 | 13.281 | 33.622 | 9.629 | 2572.581 | 2306.573 | 266.008 | 179.844 | 0 | 179.844 | 275.582 | 253.245 |  | 2437.2306 | 2306.582 | 130.6486 | 130.6486 | 0 | 135.6 | 0 | 76.6 | 0 | 7.6 | 0
Arizona | Med | LP_Avg | 4 | 5.8476 | 16.3434 | 35.7514 | 6.2644 | 2724.7267 | 2495.7459 | 228.9809 | 228.9809 | 0 |  |  |  |  | 2650.185 | 2495.755 | 154.43 | 154.43 | 0 | 52.6 | 0 | 28.4 | 0 | 6.2 | 0
Arizona | Med | LP_Worst | 4 | 6.158 | 17.154 | 38.034 | 7.722 | 2919.376 | 2591.126 | 328.25 | 328.25 | 0 |  |  |  | 2007 | 2683.9978 | 2591.081 | 92.9168 | 92.9168 | 0 | 30.8 | 0 | 17 | 0 | 4.8 | 0
Arizona | Med | SO_CVaR | 4 | 6.076 | 17.755 | 35.63 | 5.516 | 2884.618 | 2570.222 | 314.395 | 182.177 | 0 | 182.177 | 329.086 | 306.749 |  | 2674.5014 | 2570.188 | 104.3134 | 104.3134 | 0 | 33.8 | 0 | 17.6 | 0 | 5.6 | 0
California | High | LP_Avg | 4 | 6.9316 | 5.4671 | 63.5995 | 0.27395 | 2552.0449 | 2365.4539 | 186.591 | 186.591 | 0 |  |  |  |  | 2425.0726 | 2365.455 | 59.6176 | 24.8924 | 34.7252 | 12.2 | 0.4 | 6.6 | 0.4 | 3.2 | 0.4
California | High | LP_Worst | 4 | 10.166 | 5.276 | 59.586 | 0.842 | 2841.859 | 2706.801 | 135.059 | 135.059 | 0 |  |  |  | 1998 | 2722.3058 | 2706.833 | 15.4728 | 10.5034 | 4.9694 | 5 | 0.4 | 2.2 | 0.4 | 3 | 0.4
California | High | SO_CVaR | 4 | 8.26 | 7.293 | 60.962 | 0 | 2863.252 | 2567.981 | 295.271 | 118.291 | 9.638 | 127.929 | 313.864 | 297.942 |  | 2568.5144 | 2567.953 | 0.5614 | 0.5614 | 0 | 0.4 | 0 | 0.4 | 0 | 0.4 | 0
California | Low | LP_Avg | 4 | 4.0664 | 7.377 | 19.9719 | 0 | 2028.5158 | 1777.8472 | 250.6687 | 244.2858 | 6.3829 |  |  |  |  | 1919.5102 | 1777.843 | 141.6672 | 135.1576 | 6.5096 | 318.8 | 0.4 | 106 | 0.4 | 37.8 | 0.4
California | Low | LP_Worst | 4 | 4.382 | 9.089 | 20.02 | 0 | 2188.238 | 1880.885 | 307.353 | 307.353 | 0 |  |  |  | 1998 | 1977.2896 | 1880.855 | 96.4346 | 96.4346 | 0 | 229 | 0 | 78.6 | 0 | 33 | 0
California | Low | SO_CVaR | 4 | 4.22 | 9.304 | 16.552 | 0 | 2173.664 | 1844.408 | 329.256 | 223.33 | 13.357 | 236.688 | 339.541 | 333.485 |  | 1961.196 | 1844.364 | 116.832 | 116.832 | 0 | 280.2 | 0 | 85.4 | 0 | 36.4 | 0
California | Med | LP_Avg | 4 | 5.7338 | 6.147 | 39.3555 | 0.0436 | 2295.6665 | 2069.2776 | 226.3891 | 226.3891 | 0 |  |  |  |  | 2161.813 | 2069.285 | 92.528 | 80.7064 | 11.8216 | 48 | 0.2 | 30.6 | 0.2 | 5.2 | 0.2
California | Med | LP_Worst | 4 | 6.877 | 5.77 | 53.93 | 0 | 2542.345 | 2296.167 | 246.178 | 246.178 | 0 |  |  |  | 1998 | 2315.7066 | 2296.193 | 19.5136 | 12.6302 | 6.8834 | 16 | 0.2 | 8 | 0.2 | 4.8 | 0.2
California | Med | SO_CVaR | 4 | 6.837 | 7.453 | 40.89 | 0 | 2525.308 | 2258.711 | 266.597 | 134.158 | 10.586 | 144.744 | 280.136 | 241.518 |  | 2284.3676 | 2258.671 | 25.6966 | 25.6966 | 0 | 21.6 | 0 | 10.4 | 0 | 4.6 | 0
Florida | High | LP_Avg | 4 | 5.3699 | 5.698 | 0 | 54.7795 | 2201.3911 | 2125.2266 | 76.1646 | 76.1646 | 0 |  |  |  |  | 2257.579 | 2125.229 | 132.35 | 87.7878 | 44.5622 | 28.2 | 0.6 | 12.2 | 0.6 | 7 | 0.4
Florida | High | LP_Worst | 4 | 5.852 | 5.442 | 0 | 57.965 | 2427.205 | 2195.041 | 232.164 | 232.164 | 0 |  |  |  | 2022 | 2256.1626 | 2195.094 | 61.0686 | 32.8008 | 28.2678 | 16.4 | 0.8 | 5.2 | 0.6 | 5.6 | 0.6
Florida | High | SO_CVaR | 4 | 6.133 | 9.926 | 0 | 46.151 | 2450.941 | 2312.05 | 138.891 | 38.261 | 0 | 38.261 | 150.072 | 147.887 |  | 2316.799 | 2312.092 | 4.707 | 4.707 | 0 | 1.6 | 0 | 1.2 | 0 | 0.8 | 0
Florida | Low | LP_Avg | 4 | 4.3835 | 4.2096 | 0 | 41.2403 | 1981.7684 | 1851.8979 | 129.8704 | 125.371 | 4.4994 |  |  |  |  | 2074.3352 | 1851.9 | 222.4352 | 164.0458 | 58.3892 | 269 | 6.6 | 154.8 | 3.2 | 12.4 | 3.2
Florida | Low | LP_Worst | 4 | 5.275 | 5.745 | 0 | 48.218 | 2148.338 | 2066.839 | 81.499 | 81.499 | 0 |  |  |  | 2022 | 2095.2836 | 2066.809 | 28.4746 | 23.5368 | 4.9378 | 56.8 | 0.6 | 34.4 | 0.6 | 7.8 | 0.4
Florida | Low | SO_CVaR | 4 | 5.211 | 5.236 | 0 | 48.435 | 2144.094 | 2041.35 | 102.744 | 37.124 | 0.965 | 38.089 | 109.928 | 105.862 |  | 2085.392 | 2041.374 | 44.018 | 30.1012 | 13.917 | 65.6 | 2 | 38.6 | 1.6 | 9.4 | 1
Florida | Med | LP_Avg | 4 | 4.9512 | 4.8065 | 0 | 50.6165 | 2102.5042 | 2011.0594 | 91.4449 | 91.4449 | 0 |  |  |  |  | 2227.292 | 2011.081 | 216.211 | 117.7168 | 98.4942 | 81.2 | 4.2 | 48.2 | 2.4 | 10.8 | 2
Florida | Med | LP_Worst | 4 | 5.346 | 8.914 | 0 | 41.529 | 2267.891 | 2147.108 | 120.783 | 120.783 | 0 |  |  |  | 2010 | 2189.3208 | 2147.18 | 42.1408 | 42.1408 | 0 | 24.6 | 0 | 19.8 | 0 | 2.8 | 0
Florida | Med | SO_CVaR | 4 | 5.442 | 6.939 | 0 | 50.183 | 2286.359 | 2146.951 | 139.408 | 44.638 | 0 | 44.638 | 149.938 | 145.295 |  | 2171.0262 | 2146.997 | 24.0292 | 24.0292 | 0 | 21 | 0 | 11.8 | 0 | 4.2 | 0
Minnesota | High | LP_Avg | 4 | 29.0559 | 13.4532 | 243.2375 | 0 | 7336.6861 | 6582.4289 | 754.2573 | 754.2573 | 0 |  |  |  |  | 8337.7766 | 6582.442 | 1755.3346 | 1755.3346 | 0 | 73.6 | 0 | 45.4 | 0 | 6.4 | 0
Minnesota | High | LP_Worst | 4 | 41.77 | 14.853 | 238.558 | 0 | 9652.4 | 8073.909 | 1578.491 | 1578.491 | 0 |  |  |  | 2007 | 8445.5302 | 8073.951 | 371.5792 | 371.5792 | 0 | 18.4 | 0 | 12.4 | 0 | 3.4 | 0
Minnesota | High | SO_CVaR | 4 | 37.893 | 14.853 | 242.345 | 0 | 9347.836 | 7653.305 | 1694.53 | 439.271 | 0 | 439.271 | 1834.004 | 1649.477 |  | 8265.7596 | 7653.325 | 612.4346 | 612.4346 | 0 | 29 | 0 | 18.4 | 0 | 4.2 | 0
Minnesota | Low | LP_Avg | 4 | 14.343 | 5.6531 | 128.659 | 0 | 5035.3197 | 3717.2521 | 1318.0675 | 1318.0363 | 0.03125 |  |  |  |  | 5258.6294 | 3717.261 | 1541.3684 | 1541.3684 | 0 | 684.8 | 0 | 329 | 0 | 22.8 | 0
Minnesota | Low | LP_Worst | 4 | 13.963 | 6.083 | 129.397 | 0 | 5623.483 | 3695.422 | 1928.061 | 1928.061 | 0 |  |  |  | 2010 | 5261.5538 | 3695.39 | 1566.1638 | 1566.1638 | 0 | 684.4 | 0 | 332 | 0 | 22.6 | 0
Minnesota | Low | SO_CVaR | 4 | 14.485 | 6.078 | 136.387 | 0 | 5483.196 | 3808.125 | 1675.071 | 1252.529 | 0 | 1252.529 | 1722.02 | 1624.73 |  | 5252.4166 | 3808.118 | 1444.2986 | 1444.2986 | 0 | 639 | 0 | 312.4 | 0 | 19.2 | 0
Minnesota | Med | LP_Avg | 4 | 22.5175 | 9.3353 | 193.165 | 0 | 6287.3787 | 5290.3514 | 997.0271 | 997.0271 | 0 |  |  |  |  | 6759.187 | 5290.354 | 1468.833 | 1468.833 | 0 | 213.2 | 0 | 113.2 | 0 | 11 | 0
Minnesota | Med | LP_Worst | 4 | 26.357 | 10.383 | 209.798 | 0 | 7515.467 | 5900.385 | 1615.082 | 1615.082 | 0 |  |  |  | 2010 | 6801.4174 | 5900.339 | 901.0784 | 901.0784 | 0 | 132 | 0 | 75.2 | 0 | 8.8 | 0
Minnesota | Med | SO_CVaR | 4 | 24.138 | 9.795 | 206.606 | 0 | 7326.624 | 5596.703 | 1729.921 | 806.287 | 0 | 806.287 | 1832.547 | 1709.886 |  | 6754.719 | 5596.669 | 1158.05 | 1158.05 | 0 | 166.8 | 0 | 90.6 | 0 | 9 | 0

## Fold_5
Location | VoLL Level | Method | Fold | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta | Worst Training Year | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours
Alaska | High | LP_Avg | 5 | 129.2997 | 112.676 | 261.1607 | 0 | 26939.0272 | 22158.3301 | 4780.6971 | 4780.6971 | 0 |  |  |  |  | 23492.2482 | 22158.322 | 1333.9262 | 1333.9262 | 0 | 65 | 0 | 7 | 0 | 18.6 | 0
Alaska | High | LP_Worst | 5 | 163.209 | 136.395 | 504.118 | 0 | 32978.286 | 28824.996 | 4153.29 | 4153.29 | 0 |  |  |  | 1999 | 29023.4018 | 28824.979 | 198.4228 | 198.4228 | 0 | 3.6 | 0 | 0.4 | 0 | 2 | 0
Alaska | High | SO_CVaR | 5 | 151.937 | 137.723 | 341.425 | 0 | 32692.021 | 26349.609 | 6342.412 | 2440.37 | 0 | 2440.37 | 6775.972 | 6599.217 |  | 26715.346 | 26349.66 | 365.686 | 365.686 | 0 | 14.2 | 0 | 1.6 | 0 | 5 | 0
Alaska | Low | LP_Avg | 5 | 17.59 | 13.8948 | 58.7318 | 0 | 9635.9871 | 3886.7188 | 5749.2683 | 5726.5754 | 22.6929 |  |  |  |  | 8392.6028 | 3886.722 | 4505.8808 | 4503.6724 | 2.2082 | 2166 | 0.6 | 533 | 0.4 | 49.8 | 0.4
Alaska | Low | LP_Worst | 5 | 19.591 | 11.008 | 68.971 | 0 | 11791.115 | 4083.909 | 7707.206 | 7707.206 | 0 |  |  |  | 1999 | 8364.9494 | 4083.886 | 4281.0634 | 4272.3678 | 8.6956 | 2012.6 | 0.4 | 526.8 | 0.4 | 44.8 | 0.4
Alaska | Low | SO_CVaR | 5 | 20.329 | 10.768 | 84.821 | 0 | 11117.44 | 4279.042 | 6838.398 | 5381.072 | 90.591 | 5471.664 | 6990.257 | 6461.003 |  | 8376.2886 | 4279.054 | 4097.2346 | 4088.362 | 8.8726 | 2021.8 | 0.4 | 472.2 | 0.4 | 60 | 0.4
Alaska | Med | LP_Avg | 5 | 50.8019 | 30.7199 | 135.0714 | 0 | 18064.0897 | 8955.9696 | 9108.1202 | 9108.1202 | 0 |  |  |  |  | 14275.0492 | 8955.975 | 5319.0742 | 5319.0742 | 0 | 924 | 0 | 192.4 | 0 | 31.2 | 0
Alaska | Med | LP_Worst | 5 | 72.254 | 56.092 | 110.52 | 0 | 23035.658 | 12235.907 | 10799.752 | 10799.752 | 0 |  |  |  | 1999 | 15392.8378 | 12235.928 | 3156.9098 | 3156.9098 | 0 | 553.2 | 0 | 105 | 0 | 25.2 | 0
Alaska | Med | SO_CVaR | 5 | 58.969 | 34.234 | 122.225 | 0 | 21371.914 | 9941.137 | 11430.777 | 8393.795 | 0 | 8393.795 | 11768.219 | 10262.158 |  | 14481.8938 | 9941.169 | 4540.7248 | 4540.7248 | 0 | 801.6 | 0 | 155.8 | 0 | 28.2 | 0
Arizona | High | LP_Avg | 5 | 6.7855 | 18.3455 | 47.0956 | 3.6745 | 2935.5452 | 2747.3824 | 188.163 | 188.163 | 0 |  |  |  |  | 3092.2054 | 2747.393 | 344.8124 | 344.8124 | 0 | 31 | 0 | 16.4 | 0 | 5.8 | 0
Arizona | High | LP_Worst | 5 | 7.553 | 20.575 | 51.539 | 3.048 | 3243.239 | 2951.01 | 292.228 | 292.228 | 0 |  |  |  | 2007 | 3125.3468 | 2951.01 | 174.3368 | 174.3368 | 0 | 11.4 | 0 | 6.6 | 0 | 3.8 | 0
Arizona | High | SO_CVaR | 5 | 7.45 | 18.851 | 54.5 | 5.516 | 3218.558 | 2913.234 | 305.325 | 124.299 | 0 | 124.299 | 325.439 | 306.449 |  | 3117.2544 | 2913.265 | 203.9894 | 203.9894 | 0 | 16 | 0 | 7.8 | 0 | 4.8 | 0
Arizona | Low | LP_Avg | 5 | 4.8847 | 12.7393 | 27.8941 | 7.0917 | 2449.0253 | 2192.3277 | 256.6977 | 256.6977 | 0 |  |  |  |  | 2460.0992 | 2192.327 | 267.7722 | 267.7722 | 0 | 311 | 0 | 137.6 | 0 | 12.8 | 0
Arizona | Low | LP_Worst | 5 | 5.236 | 15.37 | 27.995 | 5.556 | 2602.556 | 2323.886 | 278.67 | 278.67 | 0 |  |  |  | 2007 | 2477.1584 | 2323.816 | 153.3424 | 153.3424 | 0 | 170.4 | 0 | 80.2 | 0 | 11.6 | 0
Arizona | Low | SO_CVaR | 5 | 5.155 | 13.281 | 33.622 | 9.629 | 2571.643 | 2306.573 | 265.07 | 170.466 | 0 | 170.466 | 275.582 | 253.245 |  | 2474.742 | 2306.582 | 168.16 | 168.16 | 0 | 182 | 0 | 96 | 0 | 10.2 | 0
Arizona | Med | LP_Avg | 5 | 5.839 | 15.9062 | 37.7015 | 6.7079 | 2706.9302 | 2495.8518 | 211.0784 | 211.0784 | 0 |  |  |  |  | 2736.462 | 2495.851 | 240.611 | 240.611 | 0 | 83.4 | 0 | 40.2 | 0 | 8.2 | 0
Arizona | Med | LP_Worst | 5 | 6.158 | 17.154 | 38.034 | 7.722 | 2919.376 | 2591.126 | 328.25 | 328.25 | 0 |  |  |  | 2007 | 2749.1434 | 2591.081 | 158.0624 | 158.0624 | 0 | 50 | 0 | 24.2 | 0 | 6.4 | 0
Arizona | Med | SO_CVaR | 5 | 5.984 | 16.671 | 40.439 | 8.535 | 2880.663 | 2576.457 | 304.205 | 161.228 | 0 | 161.228 | 320.091 | 292.608 |  | 2746.1232 | 2576.432 | 169.6912 | 169.6912 | 0 | 54.8 | 0 | 29 | 0 | 6.6 | 0
California | High | LP_Avg | 5 | 6.8879 | 5.2564 | 63.3144 | 0.7278 | 2512.9105 | 2353.5181 | 159.3924 | 159.3924 | 0 |  |  |  |  | 2640.5182 | 2353.525 | 286.9932 | 118.3832 | 168.6098 | 16.2 | 1.8 | 9.8 | 1 | 3.6 | 0.8
California | High | LP_Worst | 5 | 10.166 | 5.276 | 59.586 | 0.842 | 2841.859 | 2706.801 | 135.059 | 135.059 | 0 |  |  |  | 1998 | 2841.031 | 2706.833 | 134.198 | 39.8102 | 94.3878 | 3.4 | 1.2 | 2.2 | 0.6 | 1 | 0.6
California | High | SO_CVaR | 5 | 8.278 | 5.876 | 64.812 | 0 | 2838.091 | 2544.173 | 293.919 | 107.804 | 13.098 | 120.902 | 313.143 | 298.041 |  | 2696.305 | 2544.225 | 152.08 | 47.7056 | 104.3744 | 8.8 | 1.2 | 3.6 | 0.6 | 2.6 | 0.6
California | Low | LP_Avg | 5 | 4.0371 | 7.1857 | 19.7616 | 0 | 2010.3583 | 1765.4895 | 244.8689 | 239.0966 | 5.7724 |  |  |  |  | 1973.3886 | 1765.486 | 207.9026 | 182.7094 | 25.1934 | 394.4 | 2.8 | 120 | 1.4 | 39.4 | 1.2
California | Low | LP_Worst | 5 | 4.382 | 9.089 | 20.02 | 0 | 2188.238 | 1880.885 | 307.353 | 307.353 | 0 |  |  |  | 1998 | 2023.7866 | 1880.855 | 142.9316 | 135.0102 | 7.9212 | 291.8 | 1.4 | 96.2 | 0.8 | 37.4 | 0.6
California | Low | SO_CVaR | 5 | 4.171 | 9.37 | 16.64 | 0 | 2172.432 | 1841.873 | 330.559 | 215.621 | 11.406 | 227.027 | 342.062 | 336.031 |  | 2009.764 | 1841.898 | 167.866 | 159.357 | 8.509 | 355.4 | 1.6 | 105.6 | 0.8 | 37.4 | 0.6
California | Med | LP_Avg | 5 | 5.6566 | 5.9348 | 39.7788 | 0.17005 | 2266.7656 | 2056.2607 | 210.5051 | 210.5051 | 0 |  |  |  |  | 2270.0524 | 2056.269 | 213.7834 | 152.2896 | 61.494 | 68.8 | 1.8 | 42.8 | 1 | 6.6 | 1
California | Med | LP_Worst | 5 | 6.877 | 5.77 | 53.93 | 0 | 2542.345 | 2296.167 | 246.178 | 246.178 | 0 |  |  |  | 1998 | 2395.2186 | 2296.193 | 99.0256 | 50.7206 | 48.305 | 40.6 | 1.6 | 13.2 | 0.8 | 14.2 | 0.8
California | Med | SO_CVaR | 5 | 6.837 | 7.453 | 40.89 | 0 | 2523.508 | 2258.711 | 264.797 | 121.778 | 4.965 | 126.743 | 280.136 | 241.518 |  | 2356.379 | 2258.671 | 97.708 | 75.2206 | 22.4874 | 59.2 | 1 | 18.4 | 0.8 | 21.2 | 0.4
Florida | High | LP_Avg | 5 | 5.1698 | 5.7531 | 0 | 54.2617 | 2166.0489 | 2100.2939 | 65.7551 | 65.7551 | 0 |  |  |  |  | 2590.035 | 2100.302 | 489.733 | 486.426 | 3.307 | 77.4 | 0.2 | 39.6 | 0.2 | 13.8 | 0.2
Florida | High | LP_Worst | 5 | 5.158 | 11.234 | 0 | 53.678 | 2415.727 | 2306.187 | 109.54 | 109.54 | 0 |  |  |  | 2010 | 2499.6306 | 2306.154 | 193.4766 | 193.4766 | 0 | 34.2 | 0 | 15 | 0 | 11.4 | 0
Florida | High | SO_CVaR | 5 | 5.723 | 10.493 | 0 | 42.678 | 2379.317 | 2260.38 | 118.937 | 30.456 | 0 | 30.456 | 128.769 | 84.503 |  | 2444.5436 | 2260.43 | 184.1136 | 184.1136 | 0 | 35 | 0 | 19 | 0 | 8.2 | 0
Florida | Low | LP_Avg | 5 | 4.2927 | 4.5953 | 0 | 38.4328 | 1963.3495 | 1835.1995 | 128.1499 | 124.5871 | 3.5628 |  |  |  |  | 2232.334 | 1835.204 | 397.13 | 387.2788 | 9.8512 | 555.8 | 1.8 | 304.2 | 1 | 24.2 | 1.4
Florida | Low | LP_Worst | 5 | 4.466 | 5.814 | 0 | 35.815 | 2086.129 | 1882.654 | 203.475 | 203.475 | 0 |  |  |  | 2010 | 2208.7968 | 1882.686 | 326.1108 | 323.5982 | 2.5126 | 470.2 | 0.8 | 267.4 | 0.4 | 23.4 | 0.6
Florida | Low | SO_CVaR | 5 | 4.702 | 5.332 | 0 | 39.723 | 2086.238 | 1920.77 | 165.468 | 76.358 | 6.239 | 82.597 | 174.676 | 174.676 |  | 2161.6552 | 1920.742 | 240.9132 | 236.9914 | 3.9218 | 355.2 | 0.8 | 212.6 | 0.4 | 21 | 0.6
Florida | Med | LP_Avg | 5 | 4.8466 | 5.0341 | 0 | 48.9149 | 2079.5498 | 1994.9621 | 84.5879 | 84.5879 | 0 |  |  |  |  | 2388.1134 | 1994.977 | 393.1364 | 376.0294 | 17.107 | 202.4 | 1 | 120 | 0.6 | 16.4 | 0.8
Florida | Med | LP_Worst | 5 | 5.346 | 8.914 | 0 | 41.529 | 2267.891 | 2147.108 | 120.783 | 120.783 | 0 |  |  |  | 2010 | 2294.522 | 2147.18 | 147.342 | 147.342 | 0 | 78.6 | 0 | 45.8 | 0 | 11.4 | 0
Florida | Med | SO_CVaR | 5 | 5.333 | 7.421 | 0 | 46.37 | 2235.553 | 2124.301 | 111.252 | 32.881 | 0 | 32.881 | 119.96 | 80.965 |  | 2267.0734 | 2124.364 | 142.7094 | 142.7094 | 0 | 79.8 | 0 | 45.2 | 0 | 12.2 | 0
Minnesota | High | LP_Avg | 5 | 29.4213 | 13.3908 | 252.6479 | 0 | 7496.6223 | 6692.9496 | 803.6727 | 803.6727 | 0 |  |  |  |  | 7761.713 | 6692.969 | 1068.744 | 1068.744 | 0 | 51.8 | 0 | 23.6 | 0 | 7.6 | 0
Minnesota | High | LP_Worst | 5 | 41.77 | 14.853 | 238.558 | 0 | 9652.4 | 8073.909 | 1578.491 | 1578.491 | 0 |  |  |  | 2007 | 8440.5708 | 8073.951 | 366.6198 | 366.6198 | 0 | 17.4 | 0 | 11.4 | 0 | 2.8 | 0
Minnesota | High | SO_CVaR | 5 | 39.986 | 14.853 | 241.513 | 0 | 9333.582 | 7889.469 | 1444.113 | 388.918 | 0 | 388.918 | 1561.357 | 1356.508 |  | 8298.9242 | 7889.5 | 409.4242 | 409.4242 | 0 | 19.6 | 0 | 12.2 | 0 | 3.8 | 0
Minnesota | Low | LP_Avg | 5 | 14.1907 | 5.3835 | 127.8842 | 0 | 5049.0732 | 3683.3994 | 1365.6737 | 1365.3219 | 0.35185 |  |  |  |  | 5164.5702 | 3683.403 | 1481.1672 | 1480.885 | 0.2822 | 693 | 0.2 | 340.4 | 0.2 | 14.6 | 0.2
Minnesota | Low | LP_Worst | 5 | 13.963 | 6.083 | 129.397 | 0 | 5623.483 | 3695.422 | 1928.061 | 1928.061 | 0 |  |  |  | 2010 | 5164.3862 | 3695.39 | 1468.9962 | 1468.9962 | 0 | 669.6 | 0 | 330.4 | 0 | 15 | 0
Minnesota | Low | SO_CVaR | 5 | 15.376 | 5.576 | 154.664 | 0 | 5510.696 | 4029.045 | 1481.651 | 1084.407 | 0 | 1084.407 | 1525.789 | 1426.975 |  | 5177.5272 | 4029.106 | 1148.4212 | 1148.4212 | 0 | 542 | 0 | 265.4 | 0 | 13 | 0
Minnesota | Med | LP_Avg | 5 | 22.5831 | 9.0884 | 196.031 | 0 | 6380.2007 | 5309.9238 | 1070.2768 | 1070.2768 | 0 |  |  |  |  | 6377.3732 | 5309.926 | 1067.4472 | 1067.4472 | 0 | 163 | 0 | 86.2 | 0 | 11 | 0
Minnesota | Med | LP_Worst | 5 | 26.357 | 10.383 | 209.798 | 0 | 7515.467 | 5900.385 | 1615.082 | 1615.082 | 0 |  |  |  | 2010 | 6514.8488 | 5900.339 | 614.5098 | 614.5098 | 0 | 97.4 | 0 | 51 | 0 | 9.8 | 0
Minnesota | Med | SO_CVaR | 5 | 24.138 | 9.795 | 206.606 | 0 | 7335.206 | 5596.703 | 1738.503 | 892.103 | 0 | 892.103 | 1832.547 | 1709.886 |  | 6411.4434 | 5596.669 | 814.7744 | 814.7744 | 0 | 125 | 0 | 65.6 | 0 | 10 | 0