## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.1519 | 4.9539 | 0 | 46.7193 | 2110.6597 | 2010.7481 | 99.9115 | 99.9115 | 0 | 2124.6566 | 2010.759 | 113.8976 | 104.7592 | 9.1384
SO | 5.352 | 5.977 | 0 | 44.735 | 2177.194 | 2058.553 | 118.641 | 107.167 | 11.474 | 2136.5602 | 2058.545 | 78.0152 | 78.0152 | 0
RO | 5.823 | 7.972 | 0 | 41.598 | 2295.47 | 2166.577 | 128.893 | 128.893 | 0 | 2205.2952 | 2166.577 | 38.7182 | 38.7182 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.2725 | 4.8972 | 0 | 46.8949 | 2131.247 | 2023.8543 | 107.3928 | 107.3928 | 0 | 2085.2156 | 2023.862 | 61.3536 | 37.6288 | 23.7246
SO | 5.436 | 6.048 | 0 | 44.66 | 2189.847 | 2070.491 | 119.356 | 109.771 | 9.585 | 2094.0708 | 2070.452 | 23.6188 | 23.6188 | 0
RO | 5.823 | 7.972 | 0 | 41.598 | 2295.47 | 2166.577 | 128.893 | 128.893 | 0 | 2176.8234 | 2166.577 | 10.2464 | 10.2464 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.184 | 4.7883 | 0 | 47.2097 | 2108.8326 | 2011.7616 | 97.0709 | 97.0709 | 0 | 2160.372 | 2011.764 | 148.608 | 133.4426 | 15.1656
SO | 5.357 | 5.973 | 0 | 44.76 | 2172.164 | 2059.178 | 112.985 | 101.526 | 11.459 | 2156.95 | 2059.157 | 97.793 | 97.793 | 0
RO | 5.892 | 5.976 | 0 | 47.244 | 2262.465 | 2139.881 | 122.584 | 122.584 | 0 | 2203.3756 | 2139.881 | 63.4946 | 63.4946 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.0804 | 4.7188 | 0 | 46.443 | 2100.1471 | 1991.3147 | 108.8326 | 108.8326 | 0 | 2478.9382 | 1991.322 | 487.6162 | 145.1938 | 342.4224
SO | 5.291 | 5.844 | 0 | 44.543 | 2161.987 | 2044.935 | 117.051 | 115.573 | 1.478 | 2211.638 | 2044.903 | 166.735 | 99.044 | 67.691
RO | 5.823 | 7.972 | 0 | 41.598 | 2295.47 | 2166.577 | 128.893 | 128.893 | 0 | 2206.9896 | 2166.577 | 40.4126 | 40.4126 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.008 | 4.966 | 0 | 44.8832 | 2080.1141 | 1980.7656 | 99.3484 | 99.3484 | 0 | 2415.6338 | 1980.781 | 434.8528 | 375.7062 | 59.1464
SO | 5.157 | 6.141 | 0 | 41.308 | 2133.955 | 2016.525 | 117.43 | 105.406 | 12.024 | 2343.2596 | 2016.571 | 326.6886 | 326.6886 | 0
RO | 5.596 | 8.39 | 0 | 37.543 | 2278.237 | 2125.99 | 152.247 | 152.247 | 0 | 2299.8326 | 2125.99 | 173.8426 | 173.8426 | 0