## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.1681 | 5.0405 | 35.3989 | 0.169 | 1773.6057 | 1646.2776 | 127.3281 | 127.3281 | 0 | 2111.6078 | 1646.284 | 465.3238 | 245.1684 | 220.1554
SO | 8.043 | 6.677 | 31.065 | 0 | 1849.072 | 1713.789 | 135.283 | 117.216 | 18.067 | 1909.6012 | 1713.826 | 195.7752 | 195.7752 | 0
RO | 8.975 | 7.215 | 33.235 | 0 | 2628.05 | 2439.661 | 188.389 | 188.389 | 0 | 1926.2996 | 1791.525 | 134.7746 | 134.7746 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.3932 | 5.2613 | 35.0626 | 0.15485 | 1794.9705 | 1661.9911 | 132.9795 | 132.9795 | 0 | 1812.2646 | 1661.994 | 150.2706 | 150.2706 | 0
SO | 8.121 | 6.607 | 31.233 | 0 | 1866.606 | 1715.788 | 150.819 | 132.386 | 18.433 | 1838.4828 | 1715.785 | 122.6978 | 122.6978 | 0
RO | 9.571 | 6.909 | 36.505 | 0 | 2706.049 | 2521.42 | 184.629 | 44.667 | 139.962 | 1882.9108 | 1830.243 | 52.6678 | 52.6678 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.2859 | 5.1081 | 34.7931 | 0.169 | 1773.5618 | 1649.487 | 124.0747 | 124.0747 | 0 | 2107.2454 | 1649.488 | 457.7574 | 251.015 | 206.7426
SO | 7.813 | 6.32 | 31.36 | 0 | 1843.319 | 1692.235 | 151.084 | 127.546 | 23.538 | 1943.1248 | 1692.227 | 250.8978 | 224.961 | 25.937
RO | 9.571 | 6.909 | 36.505 | 0 | 2706.049 | 2521.42 | 184.629 | 44.667 | 139.962 | 1934.41 | 1830.243 | 104.167 | 104.167 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.8156 | 4.9983 | 36.6016 | 0.05955 | 1819.2937 | 1681.0928 | 138.2008 | 138.2008 | 0 | 1786.138 | 1681.098 | 105.04 | 57.7018 | 47.338
SO | 8.496 | 6.274 | 32.443 | 0 | 1883.492 | 1728.378 | 155.113 | 134.878 | 20.236 | 1772.272 | 1728.363 | 43.909 | 43.909 | 0
RO | 9.571 | 6.909 | 36.505 | 0 | 2706.049 | 2521.42 | 184.629 | 44.667 | 139.962 | 1845.5708 | 1830.243 | 15.3278 | 15.3278 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.5141 | 4.9585 | 37.5017 | 0.1236 | 1805.0943 | 1673.6461 | 131.4481 | 131.4481 | 0 | 1931.501 | 1673.651 | 257.85 | 93.2314 | 164.6186
SO | 8.37 | 6.148 | 33.351 | 0 | 1854.712 | 1724.812 | 129.899 | 127.141 | 2.759 | 1888.3986 | 1724.818 | 163.5806 | 73.9522 | 89.6284
RO | 9.222 | 5.632 | 41.292 | 0 | 2656.859 | 2467.622 | 189.237 | 93.246 | 95.991 | 1937.1534 | 1801.649 | 135.5044 | 40.4918 | 95.0126