## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 48.9651 | 30.0051 | 137.7096 | 0 | 16586.7706 | 8735.4109 | 7851.36 | 7851.36 | 0 | 20164.9614 | 8735.418 | 11429.5434 | 11429.5434 | 0
SO | 48.588 | 29.028 | 140.309 | 0 | 16775.671 | 8673.565 | 8102.106 | 8102.106 | 0 | 20167.2914 | 8673.534 | 11493.7574 | 11493.7574 | 0
RO | 48.569 | 32.889 | 150.07 | 0 | 19518.021 | 8893.656 | 10624.365 | 10624.365 | 0 | 20208.5346 | 8893.656 | 11314.8786 | 11314.8786 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 50.5818 | 29.9228 | 132.9859 | 0 | 17090.4665 | 8884.0395 | 8206.4271 | 8206.4271 | 0 | 18111.3708 | 8884.047 | 9227.3238 | 9227.3238 | 0
SO | 49.789 | 29.487 | 138.234 | 0 | 17290.443 | 8814.786 | 8475.657 | 8475.657 | 0 | 18104.8884 | 8814.786 | 9290.1024 | 9290.1024 | 0
RO | 72.254 | 56.092 | 110.52 | 0 | 23035.614 | 12235.928 | 10799.686 | 10799.686 | 0 | 18786.8192 | 12235.928 | 6550.8912 | 6550.8912 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 48.2004 | 25.777 | 135.9868 | 0 | 16943.7848 | 8470.6924 | 8473.0926 | 8473.0926 | 0 | 18951.6922 | 8470.696 | 10480.9962 | 10480.9962 | 0
SO | 46.28 | 23.285 | 140.05 | 0 | 17082.168 | 8182.513 | 8899.656 | 8899.656 | 0 | 19030.3254 | 8182.545 | 10847.7804 | 10847.7804 | 0
RO | 72.254 | 56.092 | 110.52 | 0 | 23035.614 | 12235.928 | 10799.686 | 10799.686 | 0 | 18910.7948 | 12235.928 | 6674.8668 | 6674.8668 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 51.0245 | 30.3712 | 131.5272 | 0 | 17623.465 | 8941.6745 | 8681.7907 | 8681.7907 | 0 | 15922.102 | 8941.688 | 6980.414 | 6980.414 | 0
SO | 50.886 | 30.639 | 134.776 | 0 | 17840.827 | 8960.402 | 8880.425 | 8880.425 | 0 | 15918.5592 | 8960.368 | 6958.1912 | 6958.1912 | 0
RO | 72.254 | 56.092 | 110.52 | 0 | 23035.614 | 12235.928 | 10799.686 | 10799.686 | 0 | 16892.7294 | 12235.928 | 4656.8014 | 4656.8014 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 50.802 | 30.72 | 135.0704 | 0 | 18064.0136 | 8955.9693 | 9108.0444 | 9108.0444 | 0 | 14274.993 | 8955.974 | 5319.019 | 5319.019 | 0
SO | 50.636 | 31.229 | 138.603 | 0 | 18250.686 | 8982.877 | 9267.81 | 9267.81 | 0 | 14282.1184 | 8982.913 | 5299.2054 | 5299.2054 | 0
RO | 72.254 | 56.092 | 110.52 | 0 | 23035.614 | 12235.928 | 10799.686 | 10799.686 | 0 | 15392.7782 | 12235.928 | 3156.8502 | 3156.8502 | 0