## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.7948 | 16.3329 | 34.7531 | 6.4706 | 2702.4833 | 2483.293 | 219.1905 | 219.1905 | 0 | 2745.781 | 2483.296 | 262.485 | 262.485 | 0
SO | 5.831 | 16.482 | 34.876 | 5.974 | 2719.272 | 2490.45 | 228.822 | 228.822 | 0 | 2744.4092 | 2490.442 | 253.9672 | 253.9672 | 0
RO | 6.158 | 17.154 | 38.034 | 7.722 | 2919.128 | 2591.081 | 328.047 | 328.047 | 0 | 2763.7398 | 2591.081 | 172.6588 | 172.6588 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.7819 | 16.1637 | 35.1861 | 6.3483 | 2690.3983 | 2477.589 | 212.8093 | 212.8093 | 0 | 2793.0096 | 2477.597 | 315.4126 | 315.4126 | 0
SO | 5.81 | 16.468 | 34.432 | 5.715 | 2707.623 | 2482.172 | 225.451 | 225.451 | 0 | 2792.2678 | 2482.193 | 310.0748 | 310.0748 | 0
RO | 5.983 | 15.185 | 41.485 | 7.372 | 2864.22 | 2518.066 | 346.154 | 346.154 | 0 | 2791.2062 | 2518.066 | 273.1402 | 273.1402 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.7931 | 16.0961 | 36.1616 | 6.8435 | 2709.4046 | 2487.3154 | 222.0892 | 222.0892 | 0 | 2707.3304 | 2487.323 | 220.0074 | 220.0074 | 0
SO | 5.8 | 16.249 | 36.172 | 6.657 | 2728.415 | 2492.653 | 235.762 | 235.762 | 0 | 2707.8842 | 2492.709 | 215.1752 | 215.1752 | 0
RO | 6.158 | 17.154 | 38.034 | 7.722 | 2919.128 | 2591.081 | 328.047 | 328.047 | 0 | 2731.4192 | 2591.081 | 140.3382 | 140.3382 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.8473 | 16.3438 | 35.7499 | 6.2636 | 2724.6953 | 2495.7254 | 228.9699 | 228.9699 | 0 | 2650.173 | 2495.733 | 154.44 | 154.44 | 0
SO | 5.85 | 16.638 | 35.668 | 5.511 | 2742.579 | 2501.19 | 241.389 | 241.389 | 0 | 2651.336 | 2501.135 | 150.201 | 150.201 | 0
RO | 6.158 | 17.154 | 38.034 | 7.722 | 2919.128 | 2591.081 | 328.047 | 328.047 | 0 | 2683.991 | 2591.081 | 92.91 | 92.91 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.8389 | 15.9065 | 37.7001 | 6.7068 | 2706.9008 | 2495.8362 | 211.0647 | 211.0647 | 0 | 2736.444 | 2495.841 | 240.603 | 240.603 | 0
SO | 5.877 | 16.197 | 36.961 | 5.974 | 2721.703 | 2500.363 | 221.34 | 221.34 | 0 | 2736.6242 | 2500.415 | 236.2092 | 236.2092 | 0
RO | 6.158 | 17.154 | 38.034 | 7.722 | 2919.128 | 2591.081 | 328.047 | 328.047 | 0 | 2749.1316 | 2591.081 | 158.0506 | 158.0506 | 0