## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.0679 | 5.0151 | 0 | 50.9548 | 2117.8459 | 2035.1656 | 82.6803 | 82.6803 | 0 | 2101.2992 | 2035.182 | 66.1172 | 57.8792 | 8.238
SO | 5.241 | 5.946 | 0 | 49.194 | 2172.421 | 2077.989 | 94.432 | 85.553 | 8.879 | 2117.4876 | 2077.957 | 39.5306 | 39.5306 | 0
RO | 5.48 | 7.324 | 0 | 49.127 | 2296.347 | 2158.337 | 138.01 | 138.01 | 0 | 2177.6002 | 2158.337 | 19.2632 | 19.2632 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.0701 | 4.9646 | 0 | 51.4416 | 2125.5396 | 2037.1241 | 88.4156 | 88.4156 | 0 | 2087.335 | 2037.137 | 50.198 | 31.9102 | 18.2876
SO | 5.252 | 6.061 | 0 | 49.002 | 2177.215 | 2082.258 | 94.957 | 87.568 | 7.389 | 2101.3194 | 2082.23 | 19.0894 | 19.0894 | 0
RO | 5.48 | 7.324 | 0 | 49.127 | 2296.347 | 2158.337 | 138.01 | 138.01 | 0 | 2164.3772 | 2158.337 | 6.0402 | 6.0402 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 4.9764 | 4.7931 | 0 | 51.7139 | 2104.6646 | 2021.7015 | 82.9632 | 82.9632 | 0 | 2164.9428 | 2021.712 | 143.2308 | 124.689 | 18.5418
SO | 5.228 | 5.924 | 0 | 49.299 | 2162.333 | 2076.388 | 85.945 | 76.634 | 9.312 | 2156.8338 | 2076.389 | 80.4448 | 80.4448 | 0
RO | 5.682 | 5.883 | 0 | 54.247 | 2268.189 | 2164.526 | 103.663 | 103.663 | 0 | 2215.8962 | 2164.526 | 51.3702 | 51.3702 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 4.9512 | 4.8065 | 0 | 50.6166 | 2102.5042 | 2011.0593 | 91.4449 | 91.4449 | 0 | 2424.2808 | 2011.082 | 413.1988 | 117.7162 | 295.4828
SO | 5.14 | 5.847 | 0 | 49.076 | 2155.127 | 2061.601 | 93.526 | 93.526 | 0 | 2189.0754 | 2061.551 | 127.5244 | 74.5596 | 52.965
RO | 5.48 | 7.324 | 0 | 49.127 | 2296.347 | 2158.337 | 138.01 | 138.01 | 0 | 2180.2458 | 2158.337 | 21.9088 | 21.9088 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 4.8466 | 5.0341 | 0 | 48.9149 | 2079.5498 | 1994.9621 | 84.5879 | 84.5879 | 0 | 2422.3272 | 1994.977 | 427.3502 | 376.0292 | 51.321
SO | 4.952 | 6.19 | 0 | 45.626 | 2125.92 | 2027.059 | 98.862 | 88.94 | 9.922 | 2354.338 | 2027.126 | 327.212 | 327.212 | 0
RO | 5.346 | 8.914 | 0 | 41.529 | 2267.963 | 2147.18 | 120.783 | 120.783 | 0 | 2294.5218 | 2147.18 | 147.3418 | 147.3418 | 0