## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 2360.3239 | 6151.9215 | 0.8878 | 4474.1516 | 630074.3825 | 553200.786 | 76873.5965 | 33156.8241 | 43716.7724 | 799697.4858 | 553200.799 | 246496.6868 | 74864.5508 | 171632.1358
SO | 2475.847 | 6526.769 | 0 | 2776.521 | 670863.079 | 568305.581 | 102557.498 | 49350.841 | 53206.657 | 786076.3018 | 568305.598 | 217770.7038 | 80335.2854 | 137435.4182
RO | 4453.662 | 5543.459 | 0 | 4738.919 | 909377.991 | 766298.265 | 143079.726 | 57813.58 | 85266.146 | 811179.3924 | 774147.678 | 37031.7144 | 20358.9328 | 16672.7818

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 2359.0599 | 6231.03 | 0.8878 | 4491.6212 | 635986.0139 | 556239.7016 | 79746.3124 | 31680.0505 | 48066.2619 | 746784.1984 | 556239.717 | 190544.4814 | 58208.5764 | 132335.905
SO | 2596.697 | 6412.722 | 0 | 3142.458 | 681037.809 | 580646.203 | 100391.606 | 46157.504 | 54234.102 | 738858.0728 | 580646.159 | 158211.9138 | 58572.5092 | 99639.4048
RO | 3680.941 | 5624.402 | 0 | 3221.5 | 791841.416 | 668535.621 | 123305.795 | 31231.031 | 92074.764 | 755955.955 | 676385.035 | 79570.92 | 33297.649 | 46273.271

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 2503.9123 | 6187.1415 | 0 | 4098.7468 | 653832.2797 | 568367.3553 | 85464.9245 | 35922.6337 | 49542.2908 | 659707.4276 | 568367.368 | 91340.0596 | 42926.9698 | 48413.09
SO | 2664.22 | 6388.932 | 0 | 3142.458 | 700933.33 | 587548.369 | 113384.961 | 47515.456 | 65869.505 | 659128.7048 | 587548.432 | 71580.2728 | 41828.311 | 29751.9618
RO | 4453.662 | 5543.459 | 0 | 4738.919 | 909377.991 | 766298.265 | 143079.726 | 57813.58 | 85266.146 | 781604.743 | 774147.678 | 7457.065 | 6426.1798 | 1030.8852

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 2616.641 | 6369.8743 | 0.8878 | 3824.308 | 673255.261 | 586425.8947 | 86829.3665 | 39486.6764 | 47342.6901 | 625794.1324 | 586425.901 | 39368.2314 | 16678.635 | 22689.5964
SO | 2691.734 | 6595.794 | 0 | 3056.044 | 708209.27 | 598073.144 | 110136.125 | 49926.072 | 60210.053 | 633550.0596 | 598073.154 | 35476.9056 | 16256.2612 | 19220.6444
RO | 4453.662 | 5543.459 | 0 | 4738.919 | 909377.991 | 766298.265 | 143079.726 | 57813.58 | 85266.146 | 785329.444 | 774147.678 | 11181.766 | 4579.1516 | 6602.6144

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 2545.495 | 6380.503 | 0.8878 | 3506.0863 | 666123.518 | 576207.5757 | 89915.9425 | 41518.3299 | 48397.6125 | 666133.5338 | 576207.582 | 89925.9518 | 50248.1024 | 39677.8492
SO | 2659.375 | 6435.508 | 0 | 3343.039 | 699250.143 | 590290.827 | 108959.316 | 44081.989 | 64877.326 | 665959.287 | 590290.847 | 75668.44 | 46122.6364 | 29545.8038
RO | 4453.662 | 5543.459 | 0 | 4738.919 | 909377.991 | 766298.265 | 143079.726 | 57813.58 | 85266.146 | 782969.88 | 774147.678 | 8822.202 | 5056.351 | 3765.851