## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.2126 | 0.4971 | 71.4488 | 0.00525 | 28.9944 | 28.9944 | 0 | 0 | 0 | 70.1538 | 28.994 | 41.1598 | 0.1968 | 40.963
SO | 12.405 | 1.907 | 113.624 | 0 | 33.403 | 31.658 | 1.745 | 1.745 | 0 | 31.658 | 31.658 | 0 | 0 | 0
RO | 20.579 | 1.705 | 114.039 | 0 | 34.239 | 34.2392 | 0 | 0 | 0 | 34.2534 | 34.239 | 0.0144 | 0 | 0.0144

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.9287 | 0.4989 | 71.7692 | 0 | 28.9111 | 28.9111 | 0 | 0 | 0 | 101.3146 | 28.911 | 72.4036 | 2.98 | 69.4236
SO | 12.405 | 1.907 | 113.624 | 0 | 33.403 | 31.658 | 1.745 | 1.745 | 0 | 31.658 | 31.658 | 0 | 0 | 0
RO | 20.579 | 1.705 | 114.038 | 0 | 34.239 | 34.2392 | 0 | 0 | 0 | 34.2442 | 34.239 | 0.0052 | 0 | 0.0052

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.9248 | 0.59335 | 65.0562 | 0.00525 | 28.7818 | 28.7818 | 0 | 0 | 0 | 39.2548 | 28.782 | 10.4728 | 10.4728 | 0
SO | 12.405 | 1.907 | 84.35 | 0 | 32.801 | 31.056 | 1.745 | 1.745 | 0 | 34.2968 | 31.056 | 3.2408 | 3.2408 | 0
RO | 20.579 | 1.705 | 84.764 | 0 | 33.637 | 33.6373 | 0 | 0 | 0 | 36.878 | 33.637 | 3.241 | 3.241 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.1051 | 0.59725 | 69.0411 | 0.00525 | 28.6041 | 28.6041 | 0 | 0 | 0 | 65.5238 | 28.604 | 36.9198 | 18.1206 | 18.7992
SO | 12.405 | 1.907 | 113.624 | 0 | 31.658 | 31.658 | 0 | 0 | 0 | 38.6368 | 31.658 | 6.9788 | 6.9788 | 0
RO | 12.405 | 1.907 | 113.624 | 0 | 31.658 | 31.6582 | 0 | 0 | 0 | 38.6368 | 31.658 | 6.9788 | 6.9788 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.6118 | 0.5112 | 68.1369 | 0.00525 | 28.7371 | 28.7371 | 0 | 0 | 0 | 136.732 | 28.737 | 107.995 | 10.5676 | 97.4276
SO | 10.066 | 1.705 | 114.038 | 0 | 33.151 | 30.903 | 2.248 | 2.248 | 0 | 54.582 | 30.903 | 23.679 | 3.4208 | 20.2582
RO | 20.579 | 1.705 | 114.038 | 0 | 34.239 | 34.2392 | 0 | 0 | 0 | 34.239 | 34.239 | 0 | 0 | 0