## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.8757 | 1.2232 | 35.0451 | 0.0359 | 25.5669 | 25.5669 | 0 | 0 | 0 | 65.9374 | 25.567 | 40.3704 | 7.786 | 32.5844
SO | 16.949 | 3.07 | 53.744 | 0 | 28.401 | 27.349 | 1.052 | 1.052 | 0 | 28.334 | 27.349 | 0.985 | 0.985 | 0
RO | 33.529 | 2.449 | 53.46 | 0 | 35.893 | 35.8926 | 0 | 0 | 0 | 29.259 | 29.259 | 0 | 0 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.1988 | 1.2046 | 34.6382 | 0.0359 | 25.4758 | 25.4758 | 0 | 0 | 0 | 228.6622 | 25.476 | 203.1862 | 8.9472 | 194.2392
SO | 14.045 | 3.349 | 53.613 | 0 | 27.519 | 27.029 | 0.489 | 0.489 | 0 | 32.8484 | 27.029 | 5.8194 | 5.8194 | 0
RO | 19.899 | 2.786 | 53.876 | 0 | 31.612 | 31.6116 | 0 | 0 | 0 | 31.134 | 27.675 | 3.459 | 3.459 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.7234 | 1.3063 | 32.7205 | 0 | 25.6285 | 25.6285 | 0 | 0 | 0 | 75.7448 | 25.628 | 50.1168 | 5.8988 | 44.218
SO | 19.899 | 2.786 | 53.876 | 0 | 28.539 | 27.675 | 0.865 | 0.865 | 0 | 27.675 | 27.675 | 0 | 0 | 0
RO | 33.529 | 2.449 | 53.46 | 0 | 35.893 | 35.8926 | 0 | 0 | 0 | 29.259 | 29.259 | 0 | 0 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 8.299 | 1.2959 | 32.8389 | 0.0359 | 25.6993 | 25.6993 | 0 | 0 | 0 | 45.387 | 25.699 | 19.688 | 2.7378 | 16.9502
SO | 19.899 | 2.786 | 53.876 | 0 | 28.539 | 27.675 | 0.865 | 0.865 | 0 | 27.675 | 27.675 | 0 | 0 | 0
RO | 33.529 | 2.449 | 53.46 | 0 | 35.893 | 35.8926 | 0 | 0 | 0 | 29.259 | 29.259 | 0 | 0 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 8.0367 | 1.0576 | 33.6822 | 0.0359 | 25.6602 | 25.6602 | 0 | 0 | 0 | 144.3206 | 25.66 | 118.6606 | 3.2118 | 115.4488
SO | 19.917 | 2.49 | 52.862 | 0 | 28.489 | 27.625 | 0.865 | 0.865 | 0 | 30.8814 | 27.625 | 3.2564 | 0.1934 | 3.0628
RO | 33.529 | 2.449 | 52.947 | 0 | 35.882 | 35.882 | 0 | 0 | 0 | 29.292 | 29.248 | 0.044 | 0.044 | 0