## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.2299 | 0.7153 | 71.0196 | 0.0363 | 27.7257 | 27.7257 | 0 | 0 | 0 | 60.9236 | 27.726 | 33.1976 | 0.191 | 33.0068
SO | 12.495 | 2.449 | 112.513 | 0 | 32.18 | 30.432 | 1.748 | 1.748 | 0 | 30.432 | 30.432 | 0 | 0 | 0
RO | 20.702 | 2.449 | 112.513 | 0 | 33.036 | 33.0365 | 0 | 0 | 0 | 33.036 | 33.036 | 0 | 0 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.9461 | 0.70175 | 71.3761 | 0.08335 | 27.6425 | 27.6425 | 0 | 0 | 0 | 94.3614 | 27.642 | 66.7194 | 2.934 | 63.7852
SO | 12.495 | 2.449 | 112.513 | 0 | 32.18 | 30.432 | 1.748 | 1.748 | 0 | 30.432 | 30.432 | 0 | 0 | 0
RO | 20.702 | 2.449 | 112.513 | 0 | 33.036 | 33.0365 | 0 | 0 | 0 | 33.036 | 33.036 | 0 | 0 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.9447 | 0.8144 | 64.6213 | 0.06795 | 27.5147 | 27.5147 | 0 | 0 | 0 | 41.2306 | 27.515 | 13.7156 | 10.4554 | 3.2602
SO | 12.495 | 2.449 | 83.238 | 0 | 31.578 | 29.83 | 1.748 | 1.748 | 0 | 33.0708 | 29.83 | 3.2408 | 3.2408 | 0
RO | 20.702 | 2.449 | 83.238 | 0 | 32.435 | 32.4345 | 0 | 0 | 0 | 35.6758 | 32.435 | 3.2408 | 3.2408 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.124 | 0.8122 | 68.597 | 0.0938 | 27.3364 | 27.3364 | 0 | 0 | 0 | 81.5976 | 27.336 | 54.2616 | 18.0342 | 36.2274
SO | 12.495 | 2.449 | 112.513 | 0 | 30.432 | 30.432 | 0 | 0 | 0 | 37.4218 | 30.432 | 6.9898 | 6.9898 | 0
RO | 12.495 | 2.449 | 112.513 | 0 | 30.432 | 30.4322 | 0 | 0 | 0 | 37.4218 | 30.432 | 6.9898 | 6.9898 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.6274 | 0.69495 | 67.7771 | 0.0938 | 27.4669 | 27.4669 | 0 | 0 | 0 | 135.4388 | 27.467 | 107.9718 | 10.5994 | 97.3724
SO | 10.141 | 2.449 | 112.513 | 0 | 31.934 | 29.685 | 2.249 | 2.249 | 0 | 34.1216 | 29.685 | 4.4366 | 3.618 | 0.8186
RO | 20.702 | 2.449 | 112.513 | 0 | 33.036 | 33.0365 | 0 | 0 | 0 | 33.036 | 33.036 | 0 | 0 | 0