## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.1241 | 21.804 | 0 | 0 | 2035.1345 | 1832.0381 | 203.0962 | 203.0962 | 0 | 2180.4748 | 1832.041 | 348.4338 | 348.4338 | 0
SO | 5.138 | 21.881 | 0 | 0 | 2060.294 | 1834.905 | 225.389 | 225.389 | 0 | 2179.5908 | 1834.945 | 344.6458 | 344.6458 | 0
RO | 5.911 | 29.315 | 0 | 0 | 2257.806 | 2049.397 | 208.409 | 208.409 | 0 | 2212.8646 | 2049.397 | 163.4676 | 163.4676 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.151 | 22.1146 | 0 | 0 | 2054.9738 | 1840.3716 | 214.602 | 214.602 | 0 | 2088.428 | 1840.376 | 248.052 | 248.052 | 0
SO | 5.259 | 21.771 | 0 | 0 | 2082.455 | 1847.149 | 235.305 | 235.305 | 0 | 2089.224 | 1847.111 | 242.113 | 242.113 | 0
RO | 5.449 | 26.348 | 0 | 0 | 2323.389 | 1946.03 | 377.359 | 377.359 | 0 | 2102.4638 | 1946.03 | 156.4338 | 156.4338 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.0567 | 21.8227 | 0 | 0 | 2032.659 | 1824.5455 | 208.1134 | 208.1134 | 0 | 2197.0652 | 1824.549 | 372.5162 | 372.5162 | 0
SO | 5.145 | 21.772 | 0 | 0 | 2056.831 | 1833.964 | 222.867 | 222.867 | 0 | 2193.6706 | 1833.924 | 359.7466 | 359.7466 | 0
RO | 5.449 | 26.348 | 0 | 0 | 2323.389 | 1946.03 | 377.359 | 377.359 | 0 | 2186.239 | 1946.03 | 240.209 | 240.209 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.2129 | 22.9933 | 0 | 0 | 2099.3465 | 1862.307 | 237.0393 | 237.0393 | 0 | 1945.4626 | 1862.311 | 83.1516 | 83.1516 | 0
SO | 5.336 | 22.678 | 0 | 0 | 2118.127 | 1871.255 | 246.872 | 246.872 | 0 | 1949.3042 | 1871.271 | 78.0332 | 78.0332 | 0
RO | 5.449 | 26.348 | 0 | 0 | 2323.389 | 1946.03 | 377.359 | 377.359 | 0 | 1991.9494 | 1946.03 | 45.9194 | 45.9194 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 5.1563 | 22.6083 | 0 | 0 | 2074.0684 | 1849.281 | 224.7873 | 224.7873 | 0 | 2024.9946 | 1849.285 | 175.7096 | 175.7096 | 0
SO | 5.233 | 22.501 | 0 | 0 | 2098.47 | 1856.43 | 242.04 | 242.04 | 0 | 2024.8878 | 1856.367 | 168.5208 | 168.5208 | 0
RO | 5.449 | 26.348 | 0 | 0 | 2323.389 | 1946.03 | 377.359 | 377.359 | 0 | 2053.421 | 1946.03 | 107.391 | 107.391 | 0