## Fold_1
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.8277 | 19.451 | 0 | 0 | 1612.7973 | 1496.7534 | 116.044 | 116.044 | 0 | 1738.7558 | 1496.755 | 242.0008 | 242.0008 | 0
SO | 6.947 | 19.733 | 0 | 0 | 1637 | 1506.705 | 130.295 | 130.295 | 0 | 1734.839 | 1506.693 | 228.146 | 228.146 | 0
RO | 7.776 | 21.656 | 0 | 0 | 1769.773 | 1575.158 | 194.615 | 194.615 | 0 | 1724.3966 | 1575.158 | 149.2386 | 149.2386 | 0

## Fold_2
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.9955 | 19.5889 | 0 | 0 | 1630.1095 | 1506.3876 | 123.722 | 123.722 | 0 | 1648.048 | 1506.386 | 141.662 | 141.662 | 0
SO | 7.227 | 19.787 | 0 | 0 | 1658.245 | 1519.79 | 138.455 | 138.455 | 0 | 1645.6618 | 1519.81 | 125.8518 | 125.8518 | 0
RO | 8.891 | 25.435 | 0 | 0 | 1799.52 | 1687.282 | 112.238 | 112.238 | 0 | 1720.4744 | 1687.282 | 33.1924 | 33.1924 | 0

## Fold_3
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 6.8373 | 19.3417 | 0 | 0 | 1611.7383 | 1495.3338 | 116.4046 | 116.4046 | 0 | 1737.7858 | 1495.331 | 242.4548 | 242.4548 | 0
SO | 7.025 | 19.222 | 0 | 0 | 1637.46 | 1501.526 | 135.934 | 135.934 | 0 | 1734.8224 | 1501.507 | 233.3154 | 233.3154 | 0
RO | 8.891 | 25.435 | 0 | 0 | 1799.52 | 1687.282 | 112.238 | 112.238 | 0 | 1754.3936 | 1687.282 | 67.1116 | 67.1116 | 0

## Fold_4
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.3207 | 20.0125 | 0 | 0 | 1658.887 | 1527.6889 | 131.1982 | 131.1982 | 0 | 1568.5336 | 1527.688 | 40.8456 | 40.8456 | 0
SO | 7.426 | 19.849 | 0 | 0 | 1677.469 | 1529.54 | 147.929 | 147.929 | 0 | 1570.311 | 1529.53 | 40.781 | 40.781 | 0
RO | 8.891 | 25.435 | 0 | 0 | 1799.52 | 1687.282 | 112.238 | 112.238 | 0 | 1688.8828 | 1687.282 | 1.6008 | 1.6008 | 0

## Fold_5
Algorithm | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost
LP | 7.0731 | 20.0921 | 0 | 0 | 1643.9532 | 1518.2285 | 125.7247 | 125.7247 | 0 | 1612.2036 | 1518.228 | 93.9756 | 93.9756 | 0
SO | 7.365 | 19.913 | 0 | 0 | 1666.179 | 1527.938 | 138.24 | 138.24 | 0 | 1614.5842 | 1527.946 | 86.6382 | 86.6382 | 0
RO | 8.891 | 25.435 | 0 | 0 | 1799.52 | 1687.282 | 112.238 | 112.238 | 0 | 1709.5182 | 1687.282 | 22.2362 | 22.2362 | 0