## Config
Parameter | Value
Scenario | FOB
Sizing | PV and battery sized; PCM hot/cold fixed at 0 kWh; HP fixed at 10 kW (Input_Parameters.HPSize)
Locations | California, Arizona, Alaska, Minnesota, Florida
CVaR lambda | 0.9
CVaR alpha | 0.9
Folds | 5
Weather years | 1998-2022
Total sensitivity runs | 15
Methods | LP_Avg, LP_Worst, SO_CVaR
Rows per fold sheet | 45

## VoLL_Scenarios
VoLL Level | HVAC VoLL ($/kWh) | Critical VoLL ($/kWh)
Low | 1 | 30
Med | 3 | 100
High | 10 | 300

## Summary
Location | VoLL Level | Method | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours | Folds Averaged | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta
Alaska | High | LP_Avg | 125.777 | 159.728 | 0 | 0 | 26895.57 | 21606.91 | 5288.66 | 5288.66 | 0 | 27930.203 | 21606.902 | 6323.301 | 6323.301 | 0 | 349.28 | 0 | 27.72 | 0 | 45.92 | 0 | 5
Alaska | High | LP_Worst | 155.742 | 230.856 | 0 | 0 | 34438.689 | 27823.593 | 6615.096 | 6615.096 | 0 | 30272.26 | 27823.543 | 2448.717 | 2448.717 | 0 | 134.36 | 0 | 11.08 | 0 | 30.8 | 0 | 5
Alaska | High | SO_CVaR | 142.961 | 206.711 | 0 | 0 | 33502.825 | 25411.103 | 8091.723 | 3195.757 | 0 | 28941.226 | 25411.085 | 3530.141 | 3530.141 | 0 | 192.84 | 0 | 14.6 | 0 | 38.4 | 0 | 5 | 3195.757 | 8635.718 | 7777.217
Alaska | Low | LP_Avg | 14.129 | 22.222 | 0 | 0 | 9603.498 | 3366.535 | 6236.964 | 6228.382 | 8.582 | 9664.615 | 3366.55 | 6298.065 | 6247.534 | 50.531 | 3830.56 | 4.2 | 151.44 | 1.24 | 332.72 | 1.24 | 5
Alaska | Low | LP_Worst | 14.994 | 22.148 | 0 | 0 | 11870.418 | 3463.909 | 8406.51 | 8406.51 | 0 | 9666.629 | 3463.948 | 6202.681 | 6183.56 | 19.121 | 3779.76 | 1.64 | 154.88 | 0.4 | 319 | 0.84 | 5
Alaska | Low | SO_CVaR | 15.647 | 23.894 | 0 | 0 | 11254.632 | 3606.901 | 7647.731 | 6033.632 | 27.946 | 9664.624 | 3606.921 | 6057.703 | 6029.696 | 28.007 | 3673.48 | 2.28 | 150.6 | 0.64 | 306.72 | 0.92 | 5 | 6061.578 | 7823.97 | 7360.974
Alaska | Med | LP_Avg | 51.258 | 72.396 | 0 | 0 | 18036.506 | 9604.078 | 8432.429 | 8432.429 | 0 | 18246.646 | 9604.082 | 8642.565 | 8642.565 | 0 | 1644.64 | 0 | 102.76 | 0 | 100.6 | 0 | 5
Alaska | Med | LP_Worst | 73.775 | 95.464 | 0 | 0 | 23038.851 | 13102.711 | 9936.141 | 9936.141 | 0 | 18981.663 | 13102.693 | 5878.971 | 5878.971 | 0 | 1100.48 | 0 | 76.8 | 0 | 73.04 | 0 | 5
Alaska | Med | SO_CVaR | 58.774 | 73.169 | 0 | 0 | 21624.396 | 10504.449 | 11119.947 | 7814.146 | 0 | 18352.729 | 10504.454 | 7848.275 | 7848.275 | 0 | 1488.44 | 0 | 99.96 | 0 | 84.48 | 0 | 5 | 7814.146 | 11487.257 | 10281.392
Arizona | High | LP_Avg | 6.972 | 32.484 | 0 | 0 | 3176.844 | 2933.784 | 243.06 | 243.06 | 0 | 3231.594 | 2933.79 | 297.803 | 297.803 | 0 | 30.56 | 0 | 6.8 | 0 | 10.08 | 0 | 5
Arizona | High | LP_Worst | 8.126 | 35.284 | 0 | 0 | 3544.553 | 3175.676 | 368.877 | 368.877 | 0 | 3339.485 | 3175.618 | 163.867 | 163.867 | 0 | 16.44 | 0 | 3.64 | 0 | 7.36 | 0 | 5
Arizona | High | SO_CVaR | 8.396 | 33.838 | 0 | 0 | 3531.577 | 3151.022 | 380.555 | 159.799 | 0 | 3324.31 | 3151.032 | 173.278 | 173.278 | 0 | 17.4 | 0 | 4.2 | 0 | 7.4 | 0 | 5 | 159.799 | 405.084 | 382.356
Arizona | Low | LP_Avg | 4.828 | 19.88 | 0 | 0 | 2511.327 | 2198.832 | 312.495 | 312.495 | 0 | 2523.311 | 2198.82 | 324.491 | 324.491 | 0 | 358.44 | 0 | 70.6 | 0 | 22.64 | 0 | 5
Arizona | Low | LP_Worst | 5.049 | 21.679 | 0 | 0 | 2664.414 | 2293.907 | 370.507 | 370.507 | 0 | 2541.288 | 2293.914 | 247.374 | 247.374 | 0 | 270.88 | 0 | 53.96 | 0 | 20.96 | 0 | 5
Arizona | Low | SO_CVaR | 5.053 | 22.307 | 0 | 0 | 2651.358 | 2318.693 | 332.665 | 221.131 | 0 | 2543.663 | 2318.677 | 224.985 | 224.985 | 0 | 245.48 | 0 | 49.2 | 0 | 20.08 | 0 | 5 | 221.131 | 345.058 | 341.789
Arizona | Med | LP_Avg | 5.69 | 26.22 | 0 | 0 | 2847.711 | 2543.521 | 304.19 | 304.19 | 0 | 2864.328 | 2543.513 | 320.815 | 320.815 | 0 | 113.96 | 0 | 24.4 | 0 | 15.56 | 0 | 5
Arizona | Med | LP_Worst | 5.929 | 28.372 | 0 | 0 | 3072.319 | 2654.245 | 418.074 | 418.074 | 0 | 2883.178 | 2654.218 | 228.959 | 228.959 | 0 | 80.48 | 0 | 17.72 | 0 | 13.84 | 0 | 5
Arizona | Med | SO_CVaR | 5.859 | 28.66 | 0 | 0 | 3037.54 | 2657.254 | 380.286 | 221.653 | 0 | 2880.975 | 2657.253 | 223.723 | 223.723 | 0 | 79.96 | 0 | 17.28 | 0 | 14.12 | 0 | 5 | 221.653 | 397.912 | 379.037
California | High | LP_Avg | 7.246 | 21.806 | 0 | 0 | 2835.279 | 2553.287 | 281.992 | 281.992 | 0 | 2925.423 | 2553.281 | 372.143 | 372.143 | 0 | 87.44 | 0 | 9.76 | 0 | 24.64 | 0 | 5
California | High | LP_Worst | 9.77 | 25.804 | 0 | 0 | 3237.704 | 2999.952 | 237.752 | 237.752 | 0 | 3114.583 | 2999.952 | 114.632 | 114.632 | 0 | 25.48 | 0 | 3.48 | 0 | 9.28 | 0 | 5
California | High | SO_CVaR | 8.697 | 26.234 | 0 | 0 | 3209.833 | 2892.274 | 317.558 | 126.127 | 0 | 3028.2 | 2892.282 | 135.918 | 135.918 | 0 | 31.4 | 0 | 4.08 | 0 | 11.92 | 0 | 5 | 126.127 | 338.829 | 322.083
California | Low | LP_Avg | 3.66 | 11.519 | 0 | 0 | 2086.857 | 1740.755 | 346.102 | 344.461 | 1.641 | 2107.806 | 1740.76 | 367.046 | 359.049 | 7.997 | 826.68 | 0.64 | 84 | 0.28 | 80.28 | 0.44 | 5
California | Low | LP_Worst | 3.831 | 11.864 | 0 | 0 | 2249.434 | 1773.953 | 475.481 | 475.481 | 0 | 2104.395 | 1773.905 | 330.491 | 324.993 | 5.498 | 746.48 | 0.52 | 75.84 | 0.2 | 75.08 | 0.4 | 5
California | Low | SO_CVaR | 3.879 | 12.318 | 0 | 0 | 2220.443 | 1796.973 | 423.47 | 305.531 | 4.66 | 2106.581 | 1796.993 | 309.588 | 305.156 | 4.433 | 704.12 | 0.36 | 70.72 | 0.12 | 73.36 | 0.28 | 5 | 310.191 | 436.057 | 415.427
California | Med | LP_Avg | 5.394 | 16.453 | 0 | 0 | 2465.535 | 2132.176 | 333.359 | 333.359 | 0 | 2497.168 | 2132.18 | 364.988 | 364.988 | 0 | 281.96 | 0 | 29.96 | 0 | 46.28 | 0 | 5
California | Med | LP_Worst | 6.035 | 18.626 | 0 | 0 | 2787.944 | 2290.221 | 497.723 | 497.723 | 0 | 2520.667 | 2290.223 | 230.444 | 230.444 | 0 | 181.6 | 0 | 19.56 | 0 | 37.12 | 0 | 5
California | Med | SO_CVaR | 5.818 | 17.93 | 0 | 0 | 2711.872 | 2238.161 | 473.71 | 265.673 | 0 | 2506.714 | 2238.195 | 268.519 | 268.519 | 0 | 209.52 | 0 | 22.32 | 0 | 39.8 | 0 | 5 | 265.673 | 496.826 | 441.969
Florida | High | LP_Avg | 5.53 | 24.23 | 0 | 0 | 2515.905 | 2448.06 | 67.845 | 67.845 | 0 | 2613.165 | 2448.071 | 165.094 | 165.094 | 0 | 26.04 | 0 | 8.44 | 0 | 6.12 | 0 | 5
Florida | High | LP_Worst | 6.879 | 25.583 | 0 | 0 | 2714.129 | 2656.518 | 57.611 | 57.611 | 0 | 2707.293 | 2656.558 | 50.736 | 50.736 | 0 | 10.04 | 0 | 3.96 | 0 | 3.04 | 0 | 5
Florida | High | SO_CVaR | 6.497 | 25.52 | 0 | 0 | 2697.346 | 2609.891 | 87.454 | 28.719 | 0 | 2671.737 | 2609.912 | 61.825 | 61.825 | 0 | 11.36 | 0 | 3.6 | 0 | 4 | 0 | 5 | 28.719 | 93.981 | 79.858
Florida | Low | LP_Avg | 4.335 | 16.631 | 0 | 0 | 2219.598 | 2016.371 | 203.227 | 203.227 | 0 | 2262.097 | 2016.372 | 245.725 | 245.725 | 0 | 320.96 | 0 | 69.32 | 0 | 17.52 | 0 | 5
Florida | Low | LP_Worst | 5.072 | 21.001 | 0 | 0 | 2425.401 | 2270.333 | 155.067 | 155.067 | 0 | 2350.106 | 2270.379 | 79.727 | 79.727 | 0 | 105.6 | 0 | 29.44 | 0 | 10 | 0 | 5
Florida | Low | SO_CVaR | 5.012 | 20.091 | 0 | 0 | 2408.365 | 2228.369 | 179.996 | 78.003 | 0 | 2327.908 | 2228.343 | 99.565 | 99.565 | 0 | 130.76 | 0 | 34.92 | 0 | 10.6 | 0 | 5 | 78.003 | 191.329 | 181.527
Florida | Med | LP_Avg | 4.977 | 21.326 | 0 | 0 | 2401.648 | 2271.944 | 129.704 | 129.704 | 0 | 2467.448 | 2271.94 | 195.507 | 195.507 | 0 | 89.92 | 0 | 25.76 | 0 | 10.44 | 0 | 5
Florida | Med | LP_Worst | 5.588 | 24.438 | 0 | 0 | 2591.451 | 2462.971 | 128.48 | 128.48 | 0 | 2508.373 | 2462.924 | 45.449 | 45.449 | 0 | 24 | 0 | 7.64 | 0 | 5.92 | 0 | 5
Florida | Med | SO_CVaR | 5.594 | 23.888 | 0 | 0 | 2576.925 | 2442.306 | 134.618 | 43.834 | 0 | 2504.21 | 2442.308 | 61.902 | 61.902 | 0 | 32.8 | 0 | 10.84 | 0 | 6.68 | 0 | 5 | 43.834 | 144.706 | 137.126
Minnesota | High | LP_Avg | 33.029 | 80.686 | 0 | 0 | 8851.717 | 7812.844 | 1038.873 | 1038.873 | 0 | 9119.8 | 7812.851 | 1306.949 | 1306.949 | 0 | 67.24 | 0 | 9.36 | 0 | 13.56 | 0 | 5
Minnesota | High | LP_Worst | 32.291 | 87.402 | 0 | 0 | 10780.657 | 7986.634 | 2794.022 | 2794.022 | 0 | 9355.379 | 7986.651 | 1368.728 | 1368.728 | 0 | 69.6 | 0 | 9.68 | 0 | 14.16 | 0 | 5
Minnesota | High | SO_CVaR | 41.647 | 80.529 | 0 | 0 | 10659.079 | 8804.891 | 1854.189 | 644.353 | 0 | 9458.721 | 8804.905 | 653.816 | 653.816 | 0 | 33.72 | 0 | 5.6 | 0 | 9.68 | 0 | 5 | 644.353 | 1988.615 | 1929.128
Minnesota | Low | LP_Avg | 12.64 | 38.077 | 0 | 0 | 5736.376 | 3806.246 | 1930.13 | 1930.13 | 0 | 5766.833 | 3806.235 | 1960.597 | 1960.597 | 0 | 1022.56 | 0 | 112.44 | 0 | 40.4 | 0 | 5
Minnesota | Low | LP_Worst | 12.837 | 41.172 | 0 | 0 | 6356.953 | 3948.559 | 2408.395 | 2408.395 | 0 | 5780.691 | 3948.523 | 1832.167 | 1832.167 | 0 | 958.48 | 0 | 103.52 | 0 | 42.52 | 0 | 5
Minnesota | Low | SO_CVaR | 12.961 | 40.79 | 0 | 0 | 6247.578 | 3948.15 | 2299.428 | 1822.891 | 0 | 5770.343 | 3948.192 | 1822.152 | 1822.152 | 0 | 949.44 | 0 | 105 | 0 | 39.32 | 0 | 5 | 1822.891 | 2352.376 | 2286.256
Minnesota | Med | LP_Avg | 23.717 | 64.904 | 0 | 0 | 7439.525 | 6124.962 | 1314.563 | 1314.563 | 0 | 7528.603 | 6124.958 | 1403.645 | 1403.645 | 0 | 239.4 | 0 | 34.56 | 0 | 21.52 | 0 | 5
Minnesota | Med | LP_Worst | 27.901 | 72.701 | 0 | 0 | 8608.55 | 6910.531 | 1698.019 | 1698.019 | 0 | 7756.599 | 6910.556 | 846.042 | 846.042 | 0 | 143.72 | 0 | 20.76 | 0 | 18.64 | 0 | 5
Minnesota | Med | SO_CVaR | 24.902 | 66.643 | 0 | 0 | 8378.836 | 6329.353 | 2049.483 | 1207.996 | 0 | 7544.457 | 6329.354 | 1215.103 | 1215.103 | 0 | 205.6 | 0 | 30.16 | 0 | 20.68 | 0 | 5 | 1207.996 | 2142.981 | 1958.184

## Fold_1
Location | VoLL Level | Method | Fold | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta | Worst Training Year | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours
Alaska | High | LP_Avg | 1 | 119.3115 | 152.3849 | 0 | 0 | 25564.5061 | 20574.4977 | 4990.0084 | 4990.0084 | 0 |  |  |  |  | 33597.0962 | 20574.492 | 13022.6042 | 13022.6042 | 0 | 698 | 0 | 50.8 | 0 | 64 | 0
Alaska | High | LP_Worst | 1 | 167.08 | 138.386 | 0 | 0 | 32513.729 | 25566.73 | 6946.999 | 6946.999 | 0 |  |  |  | 2005 | 33113.9308 | 25566.744 | 7547.1868 | 7547.1868 | 0 | 405.8 | 0 | 35.8 | 0 | 39.6 | 0
Alaska | High | SO_CVaR | 1 | 135.35 | 155.217 | 0 | 0 | 30773.605 | 22541.429 | 8232.176 | 3911.378 | 0 | 3911.378 | 8712.264 | 7050.854 |  | 32946.4164 | 22541.471 | 10404.9454 | 10404.9454 | 0 | 562.6 | 0 | 43.4 | 0 | 55.8 | 0
Alaska | Low | LP_Avg | 1 | 13.7716 | 22.0575 | 0 | 0 | 9427.8925 | 3318.8181 | 6109.0744 | 6108.2471 | 0.82735 |  |  |  |  | 10407.8706 | 3318.831 | 7089.0396 | 6883.1322 | 205.9074 | 4221.6 | 16.8 | 134 | 4.8 | 479.2 | 4.4
Alaska | Low | LP_Worst | 1 | 17.536 | 28.688 | 0 | 0 | 11127.388 | 4010.803 | 7116.585 | 7116.585 | 0 |  |  |  | 2012 | 10405.3388 | 4010.821 | 6394.5178 | 6360.5722 | 33.9456 | 3831 | 3 | 132 | 0.6 | 415.8 | 1.8
Alaska | Low | SO_CVaR | 1 | 15.408 | 24.716 | 0 | 0 | 10832.29 | 3610.981 | 7221.309 | 5872.291 | 5.255 | 5877.546 | 7370.616 | 7207.36 |  | 10368.9368 | 3610.998 | 6757.9388 | 6648.9884 | 108.9504 | 4046.2 | 8.6 | 132.8 | 2.2 | 472.2 | 3.8
Alaska | Med | LP_Avg | 1 | 50.0949 | 73.7352 | 0 | 0 | 17377.467 | 9521.0864 | 7856.3806 | 7856.3806 | 0 |  |  |  |  | 20882.1096 | 9521.09 | 11361.0196 | 11361.0196 | 0 | 2125.8 | 0 | 120.8 | 0 | 121.8 | 0
Alaska | Med | LP_Worst | 1 | 60.179 | 99.067 | 0 | 0 | 20284.845 | 11667.026 | 8617.819 | 8617.819 | 0 |  |  |  | 2006 | 21178.7936 | 11667.067 | 9511.7266 | 9511.7266 | 0 | 1748.4 | 0 | 106.2 | 0 | 110.8 | 0
Alaska | Med | SO_CVaR | 1 | 50.26 | 73.837 | 0 | 0 | 20027.181 | 9544.143 | 10483.038 | 8004.317 | 0 | 8004.317 | 10758.451 | 10691.667 |  | 20880.7634 | 9544.137 | 11336.6264 | 11336.6264 | 0 | 2121.6 | 0 | 120.8 | 0 | 121.8 | 0
Arizona | High | LP_Avg | 1 | 7.0068 | 32.246 | 0 | 0 | 3162.4324 | 2928.6543 | 233.7781 | 233.7781 | 0 |  |  |  |  | 3277.6032 | 2928.66 | 348.9432 | 348.9432 | 0 | 35.4 | 0 | 7.4 | 0 | 9.6 | 0
Arizona | High | LP_Worst | 1 | 7.664 | 36.341 | 0 | 0 | 3559.652 | 3162.933 | 396.719 | 396.719 | 0 |  |  |  | 2007 | 3340.1226 | 3162.877 | 177.2456 | 177.2456 | 0 | 18 | 0 | 2.8 | 0 | 7.4 | 0
Arizona | High | SO_CVaR | 1 | 8.664 | 33.175 | 0 | 0 | 3547.436 | 3156.417 | 391.019 | 156.605 | 0 | 156.605 | 417.064 | 403.262 |  | 3345.334 | 3156.468 | 188.866 | 188.866 | 0 | 19 | 0 | 3.8 | 0 | 7.8 | 0
Arizona | Low | LP_Avg | 1 | 4.8545 | 19.6675 | 0 | 0 | 2499.8654 | 2193.7546 | 306.1108 | 306.1108 | 0 |  |  |  |  | 2566.2074 | 2193.744 | 372.4634 | 372.4634 | 0 | 393 | 0 | 78.4 | 0 | 20 | 0
Arizona | Low | LP_Worst | 1 | 5.167 | 21.837 | 0 | 0 | 2679.235 | 2313.686 | 365.548 | 365.548 | 0 |  |  |  | 2007 | 2575.0746 | 2313.697 | 261.3776 | 261.3776 | 0 | 274.6 | 0 | 57.2 | 0 | 18.4 | 0
Arizona | Low | SO_CVaR | 1 | 5.116 | 22.575 | 0 | 0 | 2665.996 | 2336.286 | 329.71 | 199.306 | 0 | 199.306 | 344.199 | 343.315 |  | 2577.9006 | 2336.283 | 241.6176 | 241.6176 | 0 | 254.6 | 0 | 52.6 | 0 | 18.4 | 0
Arizona | Med | LP_Avg | 1 | 5.6753 | 25.8359 | 0 | 0 | 2835.106 | 2526.964 | 308.142 | 308.142 | 0 |  |  |  |  | 2924.27 | 2526.957 | 397.313 | 397.313 | 0 | 139.8 | 0 | 32 | 0 | 16 | 0
Arizona | Med | LP_Worst | 1 | 5.918 | 28.882 | 0 | 0 | 3090.897 | 2672.715 | 418.182 | 418.182 | 0 |  |  |  | 2007 | 2915.9616 | 2672.673 | 243.2886 | 243.2886 | 0 | 87.2 | 0 | 19.4 | 0 | 13.8 | 0
Arizona | Med | SO_CVaR | 1 | 5.881 | 28.882 | 0 | 0 | 3049.996 | 2668.386 | 381.611 | 205.267 | 0 | 205.267 | 401.204 | 379.887 |  | 2915.73 | 2668.387 | 247.343 | 247.343 | 0 | 88.6 | 0 | 19.6 | 0 | 13.8 | 0
California | High | LP_Avg | 1 | 6.997 | 21.6434 | 0 | 0 | 2781.7641 | 2518.1885 | 263.5756 | 263.5756 | 0 |  |  |  |  | 3155.251 | 2518.184 | 637.067 | 637.067 | 0 | 157.8 | 0 | 15.2 | 0 | 36.6 | 0
California | High | LP_Worst | 1 | 7.733 | 26.898 | 0 | 0 | 3218.551 | 2806.314 | 412.237 | 412.237 | 0 |  |  |  | 2009 | 3126.7684 | 2806.295 | 320.4734 | 320.4734 | 0 | 78.6 | 0 | 9.2 | 0 | 23 | 0
California | High | SO_CVaR | 1 | 7.93 | 27.335 | 0 | 0 | 3149.924 | 2846.026 | 303.898 | 116.619 | 0 | 116.619 | 324.707 | 272.391 |  | 3129.7652 | 2845.984 | 283.7812 | 283.7812 | 0 | 69.8 | 0 | 8.2 | 0 | 21.8 | 0
California | Low | LP_Avg | 1 | 3.5779 | 11.2875 | 0 | 0 | 2060.4077 | 1722.334 | 338.0736 | 338.0736 | 0 |  |  |  |  | 2210.8488 | 1722.343 | 488.5058 | 473.8226 | 14.6832 | 1111 | 0.8 | 107.4 | 0.2 | 110.4 | 0.8
California | Low | LP_Worst | 1 | 3.787 | 12.93 | 0 | 0 | 2211.163 | 1810.007 | 401.156 | 401.156 | 0 |  |  |  | 2009 | 2201.0992 | 1809.98 | 391.1192 | 380.479 | 10.6402 | 895.8 | 0.8 | 81.8 | 0.2 | 100 | 0.8
California | Low | SO_CVaR | 1 | 3.94 | 12.003 | 0 | 0 | 2200.462 | 1791.893 | 408.569 | 288.544 | 3.18 | 291.724 | 421.552 | 417.021 |  | 2199.2448 | 1791.912 | 407.3328 | 396.0158 | 11.317 | 923.2 | 0.8 | 89.8 | 0.2 | 95.2 | 0.8
California | Med | LP_Avg | 1 | 5.3061 | 16.2206 | 0 | 0 | 2432.5233 | 2112.9648 | 319.5583 | 319.5583 | 0 |  |  |  |  | 2617.6014 | 2112.967 | 504.6344 | 504.6344 | 0 | 404 | 0 | 39.4 | 0 | 57.8 | 0
California | Med | LP_Worst | 1 | 5.862 | 18.04 | 0 | 0 | 2708.71 | 2247.541 | 461.168 | 461.168 | 0 |  |  |  | 2008 | 2607.6382 | 2247.6 | 360.0382 | 360.0382 | 0 | 293.4 | 0 | 26.6 | 0 | 49.4 | 0
California | Med | SO_CVaR | 1 | 5.808 | 18.041 | 0 | 0 | 2667.579 | 2241.382 | 426.197 | 238.214 | 0 | 238.214 | 447.084 | 426.46 |  | 2606.9046 | 2241.385 | 365.5196 | 365.5196 | 0 | 297.2 | 0 | 27 | 0 | 49.8 | 0
Florida | High | LP_Avg | 1 | 5.5896 | 24.4105 | 0 | 0 | 2526.0284 | 2461.9913 | 64.0373 | 64.0373 | 0 |  |  |  |  | 2531.388 | 2462.001 | 69.387 | 69.387 | 0 | 9.6 | 0 | 3.2 | 0 | 3.6 | 0
Florida | High | LP_Worst | 1 | 7.053 | 25.907 | 0 | 0 | 2741.746 | 2689.23 | 52.516 | 52.516 | 0 |  |  |  | 2019 | 2697.7506 | 2689.274 | 8.4766 | 8.4766 | 0 | 1 | 0 | 0.4 | 0 | 1 | 0
Florida | High | SO_CVaR | 1 | 6.697 | 25.673 | 0 | 0 | 2720.873 | 2638.981 | 81.892 | 23.742 | 0 | 23.742 | 88.354 | 70.914 |  | 2651.3144 | 2639.007 | 12.3074 | 12.3074 | 0 | 2 | 0 | 0.8 | 0 | 1.8 | 0
Florida | Low | LP_Avg | 1 | 4.4367 | 16.9753 | 0 | 0 | 2241.4181 | 2041.4099 | 200.0082 | 200.0082 | 0 |  |  |  |  | 2166.0604 | 2041.411 | 124.6494 | 124.6494 | 0 | 158.8 | 0 | 40.8 | 0 | 12 | 0
Florida | Low | LP_Worst | 1 | 5.146 | 21.604 | 0 | 0 | 2445.865 | 2302.215 | 143.65 | 143.65 | 0 |  |  |  | 2022 | 2330.1034 | 2302.269 | 27.8344 | 27.8344 | 0 | 41 | 0 | 14 | 0 | 7 | 0
Florida | Low | SO_CVaR | 1 | 5.087 | 20.652 | 0 | 0 | 2435.812 | 2258.728 | 177.084 | 70.775 | 0 | 70.775 | 188.896 | 186.001 |  | 2298.0878 | 2258.681 | 39.4068 | 39.4068 | 0 | 52.6 | 0 | 17.6 | 0 | 7.4 | 0
Florida | Med | LP_Avg | 1 | 5.0531 | 21.5938 | 0 | 0 | 2415.7569 | 2291.1232 | 124.6336 | 124.6336 | 0 |  |  |  |  | 2380.2952 | 2291.117 | 89.1782 | 89.1782 | 0 | 42.4 | 0 | 14 | 0 | 7 | 0
Florida | Med | LP_Worst | 1 | 5.66 | 24.537 | 0 | 0 | 2613.608 | 2475.085 | 138.523 | 138.523 | 0 |  |  |  | 2019 | 2494.1278 | 2475.039 | 19.0888 | 19.0888 | 0 | 9 | 0 | 3 | 0 | 3.6 | 0
Florida | Med | SO_CVaR | 1 | 5.664 | 24.195 | 0 | 0 | 2600.305 | 2462.297 | 138.008 | 41.15 | 0 | 41.15 | 148.77 | 144.65 |  | 2483.4604 | 2462.299 | 21.1614 | 21.1614 | 0 | 10.4 | 0 | 3.6 | 0 | 3.8 | 0
Minnesota | High | LP_Avg | 1 | 33.782 | 81.8553 | 0 | 0 | 9112.5117 | 7945.1502 | 1167.3612 | 1167.3612 | 0 |  |  |  |  | 8235.2942 | 7945.16 | 290.1342 | 290.1342 | 0 | 14.8 | 0 | 3.4 | 0 | 4.8 | 0
Minnesota | High | LP_Worst | 1 | 28.853 | 88.4 | 0 | 0 | 10797.826 | 7626.935 | 3170.89 | 3170.89 | 0 |  |  |  | 2022 | 8135.2448 | 7626.949 | 508.2958 | 508.2958 | 0 | 25.2 | 0 | 5.2 | 0 | 6.8 | 0
Minnesota | High | SO_CVaR | 1 | 42.327 | 78.404 | 0 | 0 | 10693.932 | 8801.618 | 1892.315 | 792.063 | 0 | 792.063 | 2014.565 | 1966.618 |  | 8921.7134 | 8801.631 | 120.0824 | 120.0824 | 0 | 6 | 0 | 1.8 | 0 | 2 | 0
Minnesota | Low | LP_Avg | 1 | 12.8052 | 38.7353 | 0 | 0 | 5831.3662 | 3850.8045 | 1980.5615 | 1980.5615 | 0 |  |  |  |  | 5382.8808 | 3850.794 | 1532.0868 | 1532.0868 | 0 | 796.6 | 0 | 99.4 | 0 | 26.6 | 0
Minnesota | Low | LP_Worst | 1 | 13.385 | 42.979 | 0 | 0 | 6378.223 | 4081.821 | 2296.402 | 2296.402 | 0 |  |  |  | 2014 | 5418.1788 | 4081.782 | 1336.3968 | 1336.3968 | 0 | 694.2 | 0 | 86 | 0 | 26.2 | 0
Minnesota | Low | SO_CVaR | 1 | 12.793 | 40.45 | 0 | 0 | 6293.324 | 3915.532 | 2377.792 | 1947.846 | 0 | 1947.846 | 2425.564 | 2379.955 |  | 5392.9372 | 3915.576 | 1477.3612 | 1477.3612 | 0 | 768.6 | 0 | 94.4 | 0 | 26.6 | 0
Minnesota | Med | LP_Avg | 1 | 24.0927 | 65.9279 | 0 | 0 | 7586.4996 | 6208.0112 | 1378.4884 | 1378.4884 | 0 |  |  |  |  | 6994.7508 | 6208 | 786.7508 | 786.7508 | 0 | 126.8 | 0 | 21 | 0 | 12.8 | 0
Minnesota | Med | LP_Worst | 1 | 28.929 | 75.402 | 0 | 0 | 8681.199 | 7133.897 | 1547.302 | 1547.302 | 0 |  |  |  | 2010 | 7419.3 | 7133.926 | 285.374 | 285.374 | 0 | 44.6 | 0 | 8.6 | 0 | 9 | 0
Minnesota | Med | SO_CVaR | 1 | 25.284 | 65.367 | 0 | 0 | 8457.71 | 6324.323 | 2133.387 | 1334.189 | 0 | 1334.189 | 2222.187 | 2026.94 |  | 7025.8568 | 6324.32 | 701.5368 | 701.5368 | 0 | 112.2 | 0 | 20 | 0 | 12.2 | 0

## Fold_2
Location | VoLL Level | Method | Fold | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta | Worst Training Year | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours
Alaska | High | LP_Avg | 2 | 121.9262 | 160.9526 | 0 | 0 | 26457.1695 | 21208.124 | 5249.0456 | 5249.0456 | 0 |  |  |  |  | 29128.5082 | 21208.118 | 7920.3902 | 7920.3902 | 0 | 444.8 | 0 | 35.2 | 0 | 50.6 | 0
Alaska | High | LP_Worst | 2 | 152.907 | 253.973 | 0 | 0 | 34919.929 | 28387.809 | 6532.12 | 6532.12 | 0 |  |  |  | 1999 | 30903.957 | 28387.743 | 2516.214 | 2516.214 | 0 | 145.2 | 0 | 11.4 | 0 | 48.2 | 0
Alaska | High | SO_CVaR | 2 | 144.864 | 219.584 | 0 | 0 | 34138.782 | 26128.522 | 8010.261 | 2553.37 | 0 | 2553.37 | 8616.582 | 7958.808 |  | 29793.865 | 26128.488 | 3665.377 | 3665.377 | 0 | 205.2 | 0 | 15.8 | 0 | 48.8 | 0
Alaska | Low | LP_Avg | 2 | 14.3077 | 22.3842 | 0 | 0 | 9579.3789 | 3393.515 | 6185.864 | 6175.7174 | 10.1465 |  |  |  |  | 9771.948 | 3393.526 | 6378.422 | 6339.6886 | 38.7334 | 3819.2 | 3.4 | 149.8 | 1 | 329 | 1
Alaska | Low | LP_Worst | 2 | 14.359 | 20.513 | 0 | 0 | 12056.176 | 3327.186 | 8728.991 | 8728.991 | 0 |  |  |  | 1999 | 9779.8386 | 3327.23 | 6452.6086 | 6402.8468 | 49.7618 | 3863 | 4.2 | 153.2 | 1 | 329 | 1.4
Alaska | Low | SO_CVaR | 2 | 15.253 | 22.774 | 0 | 0 | 11414.377 | 3518.008 | 7896.369 | 6080.094 | 34.377 | 6114.471 | 8094.357 | 7636.967 |  | 9776.5004 | 3518.069 | 6258.4314 | 6227.3478 | 31.0836 | 3740.4 | 2.8 | 152 | 1 | 278.4 | 0.8
Alaska | Med | LP_Avg | 2 | 51.4463 | 72.144 | 0 | 0 | 17860.6967 | 9616.1737 | 8244.5231 | 8244.5231 | 0 |  |  |  |  | 18877.243 | 9616.176 | 9261.067 | 9261.067 | 0 | 1747.2 | 0 | 106.2 | 0 | 100.2 | 0
Alaska | Med | LP_Worst | 2 | 77.174 | 94.563 | 0 | 0 | 23727.352 | 13461.632 | 10265.721 | 10265.721 | 0 |  |  |  | 1999 | 19697.4698 | 13461.599 | 6235.8708 | 6235.8708 | 0 | 1159.4 | 0 | 81.4 | 0 | 59.6 | 0
Alaska | Med | SO_CVaR | 2 | 60.827 | 73.316 | 0 | 0 | 21990.992 | 10747.933 | 11243.059 | 7433.37 | 0 | 7433.37 | 11666.357 | 10178.276 |  | 19024.3822 | 10747.93 | 8276.4522 | 8276.4522 | 0 | 1552 | 0 | 106.2 | 0 | 77.8 | 0
Arizona | High | LP_Avg | 2 | 6.9602 | 32.2141 | 0 | 0 | 3145.6681 | 2922.0312 | 223.6369 | 223.6369 | 0 |  |  |  |  | 3360.058 | 2922.037 | 438.021 | 438.021 | 0 | 42.2 | 0 | 10 | 0 | 11 | 0
Arizona | High | LP_Worst | 2 | 9.976 | 31.055 | 0 | 0 | 3484.159 | 3226.648 | 257.51 | 257.51 | 0 |  |  |  | 2019 | 3522.8302 | 3226.58 | 296.2502 | 296.2502 | 0 | 27.8 | 0 | 8 | 0 | 8 | 0
Arizona | High | SO_CVaR | 2 | 8.042 | 32.688 | 0 | 0 | 3507.801 | 3065.594 | 442.208 | 177.481 | 0 | 177.481 | 471.622 | 428.369 |  | 3370.1436 | 3065.624 | 304.5196 | 304.5196 | 0 | 30.2 | 0 | 8.2 | 0 | 9.6 | 0
Arizona | Low | LP_Avg | 2 | 4.7835 | 19.717 | 0 | 0 | 2497.0623 | 2187.4479 | 309.6146 | 309.6146 | 0 |  |  |  |  | 2589.5438 | 2187.434 | 402.1098 | 402.1098 | 0 | 427.8 | 0 | 80.8 | 0 | 23 | 0
Arizona | Low | LP_Worst | 2 | 4.577 | 21.045 | 0 | 0 | 2605.132 | 2214.789 | 390.343 | 390.343 | 0 |  |  |  | 2002 | 2605.6028 | 2214.784 | 390.8188 | 390.8188 | 0 | 424.4 | 0 | 75.2 | 0 | 25.2 | 0
Arizona | Low | SO_CVaR | 2 | 4.801 | 21.218 | 0 | 0 | 2588.231 | 2247.426 | 340.805 | 263.293 | 0 | 263.293 | 349.418 | 336.682 |  | 2589.3498 | 2247.407 | 341.9428 | 341.9428 | 0 | 364.2 | 0 | 69 | 0 | 21 | 0
Arizona | Med | LP_Avg | 2 | 5.6789 | 26.0397 | 0 | 0 | 2828.155 | 2535.2434 | 292.9114 | 292.9114 | 0 |  |  |  |  | 2948.9578 | 2535.237 | 413.7208 | 413.7208 | 0 | 140 | 0 | 31.2 | 0 | 14.8 | 0
Arizona | Med | LP_Worst | 2 | 5.971 | 26.333 | 0 | 0 | 2998.005 | 2580.363 | 417.642 | 417.642 | 0 |  |  |  | 2019 | 2947.9928 | 2580.4 | 367.5928 | 367.5928 | 0 | 118.8 | 0 | 27.2 | 0 | 13.2 | 0
Arizona | Med | SO_CVaR | 2 | 5.771 | 27.77 | 0 | 0 | 2982.766 | 2612.724 | 370.042 | 237.735 | 0 | 237.735 | 384.743 | 375.639 |  | 2939.8148 | 2612.715 | 327.0998 | 327.0998 | 0 | 111.4 | 0 | 24.8 | 0 | 14.4 | 0
California | High | LP_Avg | 2 | 7.2076 | 21.9435 | 0 | 0 | 2832.2174 | 2554.1763 | 278.0408 | 278.0408 | 0 |  |  |  |  | 2871.673 | 2554.166 | 317.507 | 317.507 | 0 | 72.2 | 0 | 10 | 0 | 24.6 | 0
California | High | LP_Worst | 2 | 10.279 | 25.53 | 0 | 0 | 3242.492 | 3048.361 | 194.131 | 194.131 | 0 |  |  |  | 1998 | 3121.6656 | 3048.366 | 73.2996 | 73.2996 | 0 | 11.6 | 0 | 1.8 | 0 | 5.6 | 0
California | High | SO_CVaR | 2 | 8.868 | 26.157 | 0 | 0 | 3226.737 | 2909.113 | 317.624 | 124.501 | 0 | 124.501 | 339.082 | 334.011 |  | 3012.2206 | 2909.146 | 103.0746 | 103.0746 | 0 | 21.2 | 0 | 2.8 | 0 | 11.2 | 0
California | Low | LP_Avg | 2 | 3.6669 | 11.5303 | 0 | 0 | 2083.3812 | 1742.0238 | 341.3574 | 339.3064 | 2.051 |  |  |  |  | 2107.4164 | 1742.031 | 365.3854 | 365.3854 | 0 | 839.2 | 0 | 84.8 | 0 | 75.8 | 0
California | Low | LP_Worst | 2 | 3.842 | 11.597 | 0 | 0 | 2259.002 | 1764.94 | 494.062 | 494.062 | 0 |  |  |  | 1998 | 2109.2036 | 1764.886 | 344.3176 | 344.3176 | 0 | 782.6 | 0 | 79.8 | 0 | 65.6 | 0
California | Low | SO_CVaR | 2 | 3.866 | 12.326 | 0 | 0 | 2224.807 | 1795.795 | 429.012 | 303.742 | 5.808 | 309.55 | 442.286 | 418.38 |  | 2112.17 | 1795.811 | 316.359 | 316.359 | 0 | 727.2 | 0 | 73.8 | 0 | 65 | 0
California | Med | LP_Avg | 2 | 5.3635 | 16.3983 | 0 | 0 | 2460.2034 | 2126.4626 | 333.7407 | 333.7407 | 0 |  |  |  |  | 2501.6178 | 2126.478 | 375.1398 | 375.1398 | 0 | 287.2 | 0 | 34.2 | 0 | 41.6 | 0
California | Med | LP_Worst | 2 | 6.078 | 18.772 | 0 | 0 | 2807.753 | 2300.891 | 506.862 | 506.862 | 0 |  |  |  | 1998 | 2524.6638 | 2300.879 | 223.7848 | 223.7848 | 0 | 168.4 | 0 | 22.6 | 0 | 31.6 | 0
California | Med | SO_CVaR | 2 | 5.862 | 18.04 | 0 | 0 | 2733.668 | 2247.541 | 486.127 | 257.883 | 0 | 257.883 | 511.488 | 461.168 |  | 2510.6706 | 2247.6 | 263.0706 | 263.0706 | 0 | 201.2 | 0 | 26.2 | 0 | 33.6 | 0
Florida | High | LP_Avg | 2 | 5.6496 | 24.5021 | 0 | 0 | 2539.6654 | 2472.4715 | 67.1941 | 67.1941 | 0 |  |  |  |  | 2498.121 | 2472.487 | 25.634 | 25.634 | 0 | 4 | 0 | 2 | 0 | 1.8 | 0
Florida | High | LP_Worst | 2 | 7.053 | 25.907 | 0 | 0 | 2741.746 | 2689.23 | 52.516 | 52.516 | 0 |  |  |  | 2019 | 2693.4672 | 2689.274 | 4.1932 | 4.1932 | 0 | 1.2 | 0 | 0.6 | 0 | 1 | 0
Florida | High | SO_CVaR | 2 | 6.697 | 25.673 | 0 | 0 | 2721.025 | 2638.981 | 82.044 | 25.262 | 0 | 25.262 | 88.354 | 70.914 |  | 2645.2398 | 2639.007 | 6.2328 | 6.2328 | 0 | 1.6 | 0 | 0.8 | 0 | 1.4 | 0
Florida | Low | LP_Avg | 2 | 4.404 | 17.1092 | 0 | 0 | 2244.2873 | 2042.7843 | 201.5031 | 201.5031 | 0 |  |  |  |  | 2149.3586 | 2042.79 | 106.5686 | 106.5686 | 0 | 148.6 | 0 | 38.4 | 0 | 11 | 0
Florida | Low | LP_Worst | 2 | 5.146 | 21.604 | 0 | 0 | 2445.865 | 2302.215 | 143.65 | 143.65 | 0 |  |  |  | 2022 | 2319.164 | 2302.269 | 16.895 | 16.895 | 0 | 27 | 0 | 9.8 | 0 | 4.6 | 0
Florida | Low | SO_CVaR | 2 | 5.087 | 20.652 | 0 | 0 | 2436.151 | 2258.728 | 177.423 | 74.167 | 0 | 74.167 | 188.896 | 186.001 |  | 2284.518 | 2258.681 | 25.837 | 25.837 | 0 | 37 | 0 | 13.6 | 0 | 4.8 | 0
Florida | Med | LP_Avg | 2 | 5.0502 | 21.7542 | 0 | 0 | 2426.938 | 2296.9711 | 129.9668 | 129.9668 | 0 |  |  |  |  | 2348.1838 | 2296.966 | 51.2178 | 51.2178 | 0 | 26.2 | 0 | 9.6 | 0 | 4.6 | 0
Florida | Med | LP_Worst | 2 | 5.66 | 24.537 | 0 | 0 | 2613.608 | 2475.085 | 138.523 | 138.523 | 0 |  |  |  | 2019 | 2482.4998 | 2475.039 | 7.4608 | 7.4608 | 0 | 4 | 0 | 2 | 0 | 1.8 | 0
Florida | Med | SO_CVaR | 2 | 5.664 | 24.195 | 0 | 0 | 2600.606 | 2462.297 | 138.309 | 44.158 | 0 | 44.158 | 148.77 | 144.65 |  | 2471.4278 | 2462.299 | 9.1288 | 9.1288 | 0 | 5 | 0 | 2.6 | 0 | 2 | 0
Minnesota | High | LP_Avg | 2 | 32.5903 | 81.5011 | 0 | 0 | 8800.5154 | 7793.4542 | 1007.061 | 1007.061 | 0 |  |  |  |  | 9303.9028 | 7793.462 | 1510.4408 | 1510.4408 | 0 | 80 | 0 | 9.4 | 0 | 18 | 0
Minnesota | High | LP_Worst | 2 | 28.853 | 88.4 | 0 | 0 | 10797.826 | 7626.935 | 3170.89 | 3170.89 | 0 |  |  |  | 2022 | 9461.6548 | 7626.949 | 1834.7058 | 1834.7058 | 0 | 98.6 | 0 | 11.4 | 0 | 21.4 | 0
Minnesota | High | SO_CVaR | 2 | 40.247 | 85.857 | 0 | 0 | 10633.401 | 8848.453 | 1784.948 | 577.995 | 0 | 577.995 | 1919.054 | 1821.4 |  | 9563.1808 | 8848.462 | 714.7188 | 714.7188 | 0 | 38 | 0 | 6.2 | 0 | 10.4 | 0
Minnesota | Low | LP_Avg | 2 | 12.6143 | 37.9299 | 0 | 0 | 5734.9725 | 3797.5828 | 1937.3896 | 1937.3896 | 0 |  |  |  |  | 5758.7852 | 3797.575 | 1961.2102 | 1961.2102 | 0 | 1081.4 | 0 | 115.4 | 0 | 46.8 | 0
Minnesota | Low | LP_Worst | 2 | 13.385 | 42.979 | 0 | 0 | 6378.223 | 4081.821 | 2296.402 | 2296.402 | 0 |  |  |  | 2014 | 5770.6414 | 4081.782 | 1688.8594 | 1688.8594 | 0 | 929.6 | 0 | 101.8 | 0 | 45.4 | 0
Minnesota | Low | SO_CVaR | 2 | 12.793 | 40.45 | 0 | 0 | 6284.132 | 3915.532 | 2368.601 | 1855.929 | 0 | 1855.929 | 2425.564 | 2379.955 |  | 5760.6044 | 3915.576 | 1845.0284 | 1845.0284 | 0 | 1017.8 | 0 | 109.2 | 0 | 46.6 | 0
Minnesota | Med | LP_Avg | 2 | 23.8325 | 65.6025 | 0 | 0 | 7441.0549 | 6165.3047 | 1275.7504 | 1275.7504 | 0 |  |  |  |  | 7518.9452 | 6165.296 | 1353.6492 | 1353.6492 | 0 | 246.4 | 0 | 31.6 | 0 | 24.4 | 0
Minnesota | Med | LP_Worst | 2 | 28.929 | 75.402 | 0 | 0 | 8681.199 | 7133.897 | 1547.302 | 1547.302 | 0 |  |  |  | 2010 | 7825.6524 | 7133.926 | 691.7264 | 691.7264 | 0 | 125.8 | 0 | 15.6 | 0 | 21.2 | 0
Minnesota | Med | SO_CVaR | 2 | 25.719 | 70.286 | 0 | 0 | 8365.917 | 6564.62 | 1801.297 | 1001.14 | 0 | 1001.14 | 1890.203 | 1634.377 |  | 7595.3902 | 6564.615 | 1030.7752 | 1030.7752 | 0 | 184.4 | 0 | 23 | 0 | 22.4 | 0

## Fold_3
Location | VoLL Level | Method | Fold | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta | Worst Training Year | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours
Alaska | High | LP_Avg | 3 | 125.8892 | 154.506 | 0 | 0 | 26947.938 | 21418.2539 | 5529.6841 | 5529.6841 | 0 |  |  |  |  | 26900.747 | 21418.24 | 5482.507 | 5482.507 | 0 | 282.6 | 0 | 25.2 | 0 | 39.2 | 0
Alaska | High | LP_Worst | 3 | 152.907 | 253.973 | 0 | 0 | 34919.929 | 28387.809 | 6532.12 | 6532.12 | 0 |  |  |  | 1999 | 29516.1736 | 28387.743 | 1128.4306 | 1128.4306 | 0 | 57 | 0 | 5.2 | 0 | 15.6 | 0
Alaska | High | SO_CVaR | 3 | 144.864 | 219.584 | 0 | 0 | 34184.298 | 26128.522 | 8055.777 | 3008.527 | 0 | 3008.527 | 8616.582 | 7958.808 |  | 27973.2256 | 26128.488 | 1844.7376 | 1844.7376 | 0 | 93.6 | 0 | 8 | 0 | 22.2 | 0
Alaska | Low | LP_Avg | 3 | 13.9078 | 22.0692 | 0 | 0 | 9368.1588 | 3335.0347 | 6033.1241 | 6022.3967 | 10.7273 |  |  |  |  | 10587.4756 | 3335.052 | 7252.4236 | 7244.4106 | 8.0128 | 4013.8 | 0.8 | 168.2 | 0.4 | 309.2 | 0.8
Alaska | Low | LP_Worst | 3 | 14.359 | 20.513 | 0 | 0 | 12056.176 | 3327.186 | 8728.991 | 8728.991 | 0 |  |  |  | 1999 | 10590.8976 | 3327.23 | 7263.6676 | 7251.7688 | 11.8988 | 4018.8 | 1 | 172.4 | 0.4 | 303.6 | 1
Alaska | Low | SO_CVaR | 3 | 16.872 | 26.227 | 0 | 0 | 11148.457 | 3838.857 | 7309.6 | 5604.794 | 18.913 | 5623.707 | 7496.922 | 6719.939 |  | 10594.1912 | 3838.9 | 6755.2912 | 6755.2912 | 0 | 3678 | 0 | 163.2 | 0 | 255.4 | 0
Alaska | Med | LP_Avg | 3 | 49.6188 | 68.7044 | 0 | 0 | 17719.3973 | 9271.7097 | 8447.6875 | 8447.6875 | 0 |  |  |  |  | 19680.9946 | 9271.715 | 10409.2796 | 10409.2796 | 0 | 1783.6 | 0 | 117 | 0 | 117.2 | 0
Alaska | Med | LP_Worst | 3 | 77.174 | 94.563 | 0 | 0 | 23727.352 | 13461.632 | 10265.721 | 10265.721 | 0 |  |  |  | 1999 | 19766.1798 | 13461.599 | 6304.5808 | 6304.5808 | 0 | 1070.6 | 0 | 84.8 | 0 | 72 | 0
Alaska | Med | SO_CVaR | 3 | 61.07 | 72.303 | 0 | 0 | 21976.684 | 10736.963 | 11239.721 | 7310.095 | 0 | 7310.095 | 11676.346 | 10180.04 |  | 19612.2492 | 10736.966 | 8875.2832 | 8875.2832 | 0 | 1514.8 | 0 | 110.4 | 0 | 84.8 | 0
Arizona | High | LP_Avg | 3 | 6.8863 | 32.5637 | 0 | 0 | 3181.2883 | 2926.9556 | 254.3325 | 254.3325 | 0 |  |  |  |  | 3190.5324 | 2926.962 | 263.5704 | 263.5704 | 0 | 27 | 0 | 7 | 0 | 9.2 | 0
Arizona | High | LP_Worst | 3 | 7.664 | 36.341 | 0 | 0 | 3559.652 | 3162.933 | 396.719 | 396.719 | 0 |  |  |  | 2007 | 3265.4062 | 3162.877 | 102.5292 | 102.5292 | 0 | 12.2 | 0 | 3.2 | 0 | 6.6 | 0
Arizona | High | SO_CVaR | 3 | 8.779 | 33.548 | 0 | 0 | 3549.215 | 3184.233 | 364.982 | 161.991 | 0 | 161.991 | 387.537 | 376.073 |  | 3289.4406 | 3184.188 | 105.2526 | 105.2526 | 0 | 10.6 | 0 | 3.8 | 0 | 4 | 0
Arizona | Low | LP_Avg | 3 | 4.8179 | 19.8941 | 0 | 0 | 2513.7971 | 2198.252 | 315.5453 | 315.5453 | 0 |  |  |  |  | 2504.9404 | 2198.244 | 306.6964 | 306.6964 | 0 | 341.8 | 0 | 67.6 | 0 | 23.2 | 0
Arizona | Low | LP_Worst | 3 | 5.167 | 21.837 | 0 | 0 | 2679.235 | 2313.686 | 365.548 | 365.548 | 0 |  |  |  | 2007 | 2524.5762 | 2313.697 | 210.8792 | 210.8792 | 0 | 228.6 | 0 | 47.2 | 0 | 19.2 | 0
Arizona | Low | SO_CVaR | 3 | 5.117 | 22.583 | 0 | 0 | 2667.147 | 2336.733 | 330.415 | 210.518 | 0 | 210.518 | 343.736 | 342.817 |  | 2532.0134 | 2336.707 | 195.3064 | 195.3064 | 0 | 211.2 | 0 | 43.4 | 0 | 19 | 0
Arizona | Med | LP_Avg | 3 | 5.6912 | 26.335 | 0 | 0 | 2850.4581 | 2548.0765 | 302.3816 | 302.3816 | 0 |  |  |  |  | 2846.0246 | 2548.066 | 297.9586 | 297.9586 | 0 | 108 | 0 | 23.2 | 0 | 15 | 0
Arizona | Med | LP_Worst | 3 | 5.918 | 28.882 | 0 | 0 | 3090.897 | 2672.715 | 418.182 | 418.182 | 0 |  |  |  | 2007 | 2870.6478 | 2672.673 | 197.9748 | 197.9748 | 0 | 70.8 | 0 | 16.4 | 0 | 13.4 | 0
Arizona | Med | SO_CVaR | 3 | 5.881 | 28.882 | 0 | 0 | 3051.136 | 2668.386 | 382.75 | 216.658 | 0 | 216.658 | 401.204 | 379.887 |  | 2870.1662 | 2668.387 | 201.7792 | 201.7792 | 0 | 72.2 | 0 | 16.4 | 0 | 13.4 | 0
California | High | LP_Avg | 3 | 7.0443 | 21.0362 | 0 | 0 | 2783.4365 | 2500.2142 | 283.2221 | 283.2221 | 0 |  |  |  |  | 3140.4182 | 2500.216 | 640.2022 | 640.2022 | 0 | 138.2 | 0 | 14.8 | 0 | 30 | 0
California | High | LP_Worst | 3 | 10.279 | 25.53 | 0 | 0 | 3242.492 | 3048.361 | 194.131 | 194.131 | 0 |  |  |  | 1998 | 3176.8828 | 3048.366 | 128.5168 | 128.5168 | 0 | 25 | 0 | 4.6 | 0 | 9.4 | 0
California | High | SO_CVaR | 3 | 8.895 | 25.434 | 0 | 0 | 3215.64 | 2884.311 | 331.329 | 107.986 | 0 | 107.986 | 356.145 | 338.508 |  | 3107.7738 | 2884.36 | 223.4138 | 223.4138 | 0 | 47.2 | 0 | 6.8 | 0 | 15.2 | 0
California | Low | LP_Avg | 3 | 3.5924 | 11.2465 | 0 | 0 | 2062.7337 | 1722.4432 | 340.2903 | 338.2394 | 2.051 |  |  |  |  | 2212.121 | 1722.447 | 489.674 | 466.892 | 22.782 | 994.8 | 2 | 102.8 | 0.8 | 81.8 | 1.2
California | Low | LP_Worst | 3 | 3.842 | 11.597 | 0 | 0 | 2259.002 | 1764.94 | 494.062 | 494.062 | 0 |  |  |  | 1998 | 2201.3038 | 1764.886 | 436.4178 | 420.8328 | 15.585 | 898.6 | 1.6 | 93.6 | 0.6 | 80.2 | 1
California | Low | SO_CVaR | 3 | 3.857 | 12.607 | 0 | 0 | 2222.381 | 1805.587 | 416.794 | 278.386 | 2.695 | 281.08 | 431.873 | 404.974 |  | 2195.1344 | 1805.618 | 389.5164 | 378.6694 | 10.847 | 813.4 | 1 | 80.8 | 0.4 | 79.4 | 0.6
California | Med | LP_Avg | 3 | 5.3197 | 16.0991 | 0 | 0 | 2429.9895 | 2109.8515 | 320.138 | 320.138 | 0 |  |  |  |  | 2636.9352 | 2109.85 | 527.0852 | 527.0852 | 0 | 379.2 | 0 | 38 | 0 | 63 | 0
California | Med | LP_Worst | 3 | 6.078 | 18.772 | 0 | 0 | 2807.753 | 2300.891 | 506.862 | 506.862 | 0 |  |  |  | 1998 | 2622.3696 | 2300.879 | 321.4906 | 321.4906 | 0 | 239 | 0 | 26.2 | 0 | 48.4 | 0
California | Med | SO_CVaR | 3 | 5.694 | 17.487 | 0 | 0 | 2685.137 | 2206.801 | 478.336 | 260.138 | 0 | 260.138 | 502.58 | 399.881 |  | 2620.0884 | 2206.792 | 413.2964 | 413.2964 | 0 | 301.6 | 0 | 31.6 | 0 | 55.2 | 0
Florida | High | LP_Avg | 3 | 5.5498 | 24.3302 | 0 | 0 | 2521.7813 | 2454.2813 | 67.5001 | 67.5001 | 0 |  |  |  |  | 2534.4662 | 2454.291 | 80.1752 | 80.1752 | 0 | 11 | 0 | 4 | 0 | 2.8 | 0
Florida | High | LP_Worst | 3 | 7.053 | 25.907 | 0 | 0 | 2741.746 | 2689.23 | 52.516 | 52.516 | 0 |  |  |  | 2019 | 2703.4022 | 2689.274 | 14.1282 | 14.1282 | 0 | 2.2 | 0 | 1.2 | 0 | 1.2 | 0
Florida | High | SO_CVaR | 3 | 6.697 | 25.673 | 0 | 0 | 2720.746 | 2638.981 | 81.765 | 22.463 | 0 | 22.463 | 88.354 | 70.914 |  | 2656.4368 | 2639.007 | 17.4298 | 17.4298 | 0 | 2.4 | 0 | 1.2 | 0 | 1.2 | 0
Florida | Low | LP_Avg | 3 | 4.3568 | 16.8077 | 0 | 0 | 2227.3007 | 2025.69 | 201.6105 | 201.6105 | 0 |  |  |  |  | 2195.0842 | 2025.688 | 169.3962 | 169.3962 | 0 | 238.2 | 0 | 56.2 | 0 | 16.2 | 0
Florida | Low | LP_Worst | 3 | 5.146 | 21.604 | 0 | 0 | 2445.865 | 2302.215 | 143.65 | 143.65 | 0 |  |  |  | 2022 | 2333.1026 | 2302.269 | 30.8336 | 30.8336 | 0 | 42.2 | 0 | 14.6 | 0 | 6.4 | 0
Florida | Low | SO_CVaR | 3 | 5.087 | 20.652 | 0 | 0 | 2435.714 | 2258.728 | 176.986 | 69.791 | 0 | 69.791 | 188.896 | 186.001 |  | 2302.0258 | 2258.681 | 43.3448 | 43.3448 | 0 | 59.4 | 0 | 19.4 | 0 | 7 | 0
Florida | Med | LP_Avg | 3 | 4.982 | 21.4448 | 0 | 0 | 2408.1597 | 2277.1269 | 131.0327 | 131.0327 | 0 |  |  |  |  | 2389.8778 | 2277.128 | 112.7498 | 112.7498 | 0 | 53.4 | 0 | 16.8 | 0 | 7.2 | 0
Florida | Med | LP_Worst | 3 | 5.66 | 24.537 | 0 | 0 | 2613.608 | 2475.085 | 138.523 | 138.523 | 0 |  |  |  | 2019 | 2495.058 | 2475.039 | 20.019 | 20.019 | 0 | 10.2 | 0 | 3.6 | 0 | 2.4 | 0
Florida | Med | SO_CVaR | 3 | 5.664 | 24.195 | 0 | 0 | 2600.269 | 2462.297 | 137.971 | 40.783 | 0 | 40.783 | 148.77 | 144.65 |  | 2484.927 | 2462.299 | 22.628 | 22.628 | 0 | 11 | 0 | 4 | 0 | 3 | 0
Minnesota | High | LP_Avg | 3 | 32.7298 | 79.0097 | 0 | 0 | 8783.9899 | 7713.4285 | 1070.5611 | 1070.5611 | 0 |  |  |  |  | 9466.4818 | 7713.44 | 1753.0418 | 1753.0418 | 0 | 85.2 | 0 | 11.8 | 0 | 15.8 | 0
Minnesota | High | LP_Worst | 3 | 28.853 | 88.4 | 0 | 0 | 10797.826 | 7626.935 | 3170.89 | 3170.89 | 0 |  |  |  | 2022 | 9483.1568 | 7626.949 | 1856.2078 | 1856.2078 | 0 | 92 | 0 | 12.6 | 0 | 17.8 | 0
Minnesota | High | SO_CVaR | 3 | 42.472 | 78.717 | 0 | 0 | 10673.944 | 8830.514 | 1843.43 | 578.386 | 0 | 578.386 | 1983.991 | 1933.996 |  | 9730.7186 | 8830.51 | 900.2086 | 900.2086 | 0 | 44.4 | 0 | 6.8 | 0 | 12.6 | 0
Minnesota | Low | LP_Avg | 3 | 12.6726 | 37.91 | 0 | 0 | 5700.2109 | 3803.5799 | 1896.6309 | 1896.6309 | 0 |  |  |  |  | 5897.7206 | 3803.566 | 2094.1546 | 2094.1546 | 0 | 1073.2 | 0 | 114.4 | 0 | 52.6 | 0
Minnesota | Low | LP_Worst | 3 | 13.385 | 42.979 | 0 | 0 | 6378.223 | 4081.821 | 2296.402 | 2296.402 | 0 |  |  |  | 2014 | 5906.998 | 4081.782 | 1825.216 | 1825.216 | 0 | 936.6 | 0 | 101 | 0 | 49.4 | 0
Minnesota | Low | SO_CVaR | 3 | 13.61 | 42.587 | 0 | 0 | 6207.093 | 4092.664 | 2114.428 | 1654.737 | 0 | 1654.737 | 2165.505 | 2045.091 |  | 5906.2558 | 4092.708 | 1813.5478 | 1813.5478 | 0 | 925.4 | 0 | 101.6 | 0 | 49.2 | 0
Minnesota | Med | LP_Avg | 3 | 23.5442 | 63.8975 | 0 | 0 | 7376.9073 | 6066.079 | 1310.8284 | 1310.8284 | 0 |  |  |  |  | 7781.8988 | 6066.077 | 1715.8218 | 1715.8218 | 0 | 280.8 | 0 | 40 | 0 | 24.4 | 0
Minnesota | Med | LP_Worst | 3 | 23.788 | 61.897 | 0 | 0 | 8317.952 | 6017.067 | 2300.885 | 2300.885 | 0 |  |  |  | 2007 | 7806.449 | 6017.078 | 1789.371 | 1789.371 | 0 | 294 | 0 | 43 | 0 | 24.4 | 0
Minnesota | Med | SO_CVaR | 3 | 22.964 | 66.971 | 0 | 0 | 8187.167 | 6117.572 | 2069.594 | 1348.593 | 0 | 1348.593 | 2149.705 | 2069.097 |  | 7769.2612 | 6117.536 | 1651.7252 | 1651.7252 | 0 | 268 | 0 | 36 | 0 | 24.4 | 0

## Fold_4
Location | VoLL Level | Method | Fold | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta | Worst Training Year | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours
Alaska | High | LP_Avg | 4 | 128.3178 | 160.3943 | 0 | 0 | 27371.4146 | 21926.8745 | 5444.54 | 5444.54 | 0 |  |  |  |  | 25660.3502 | 21926.861 | 3733.4892 | 3733.4892 | 0 | 234.8 | 0 | 19 | 0 | 52 | 0
Alaska | High | LP_Worst | 4 | 152.907 | 253.973 | 0 | 0 | 34919.929 | 28387.809 | 6532.12 | 6532.12 | 0 |  |  |  | 1999 | 29101.1138 | 28387.743 | 713.3708 | 713.3708 | 0 | 44 | 0 | 1.6 | 0 | 40.6 | 0
Alaska | High | SO_CVaR | 4 | 144.864 | 219.584 | 0 | 0 | 34200.552 | 26128.522 | 8072.03 | 3171.064 | 0 | 3171.064 | 8616.582 | 7958.808 |  | 27323.076 | 26128.488 | 1194.588 | 1194.588 | 0 | 73 | 0 | 3.8 | 0 | 50.8 | 0
Alaska | Low | LP_Avg | 4 | 14.5316 | 22.5045 | 0 | 0 | 9783.3701 | 3424.0935 | 6359.2766 | 6348.7958 | 10.4808 |  |  |  |  | 8929.9766 | 3424.111 | 5505.8656 | 5505.8656 | 0 | 3784 | 0 | 149.2 | 0 | 327.4 | 0
Alaska | Low | LP_Worst | 4 | 14.359 | 20.513 | 0 | 0 | 12056.176 | 3327.186 | 8728.991 | 8728.991 | 0 |  |  |  | 1999 | 8926.4014 | 3327.23 | 5599.1714 | 5599.1714 | 0 | 3845.8 | 0 | 153.6 | 0 | 328.2 | 0
Alaska | Low | SO_CVaR | 4 | 15.379 | 22.876 | 0 | 0 | 11435.157 | 3536.605 | 7898.551 | 6264.07 | 40.275 | 6304.345 | 8075.685 | 7616.845 |  | 8946.601 | 3536.601 | 5410 | 5410 | 0 | 3701.6 | 0 | 148.4 | 0 | 309.6 | 0
Alaska | Med | LP_Avg | 4 | 52.8266 | 73.4694 | 0 | 0 | 18389.79 | 9827.2148 | 8562.5754 | 8562.5754 | 0 |  |  |  |  | 16731.1604 | 9827.222 | 6903.9384 | 6903.9384 | 0 | 1522 | 0 | 94.6 | 0 | 100 | 0
Alaska | Med | LP_Worst | 4 | 77.174 | 94.563 | 0 | 0 | 23727.352 | 13461.632 | 10265.721 | 10265.721 | 0 |  |  |  | 1999 | 17879.7364 | 13461.599 | 4418.1374 | 4418.1374 | 0 | 949.8 | 0 | 67.6 | 0 | 78.2 | 0
Alaska | Med | SO_CVaR | 4 | 60.886 | 73.071 | 0 | 0 | 22042.777 | 10745.274 | 11297.504 | 7956.05 | 0 | 7956.05 | 11668.776 | 10178.703 |  | 16955.9766 | 10745.305 | 6210.6716 | 6210.6716 | 0 | 1358.2 | 0 | 93.6 | 0 | 83.8 | 0
Arizona | High | LP_Avg | 4 | 7.0845 | 32.5718 | 0 | 0 | 3216.2565 | 2950.2377 | 266.0188 | 266.0188 | 0 |  |  |  |  | 3098.2492 | 2950.24 | 148.0092 | 148.0092 | 0 | 15.2 | 0 | 4 | 0 | 7.4 | 0
Arizona | High | LP_Worst | 4 | 7.664 | 36.341 | 0 | 0 | 3559.652 | 3162.933 | 396.719 | 396.719 | 0 |  |  |  | 2007 | 3238.8102 | 3162.877 | 75.9332 | 75.9332 | 0 | 7 | 0 | 1.8 | 0 | 5 | 0
Arizona | High | SO_CVaR | 4 | 8.831 | 33.713 | 0 | 0 | 3549.304 | 3196.548 | 352.756 | 157.349 | 0 | 157.349 | 374.468 | 364.038 |  | 3294.1032 | 3196.582 | 97.5212 | 97.5212 | 0 | 9.2 | 0 | 2.6 | 0 | 5.6 | 0
Arizona | Low | LP_Avg | 4 | 4.8751 | 20.2362 | 0 | 0 | 2529.4389 | 2218.1098 | 311.329 | 311.329 | 0 |  |  |  |  | 2460.5704 | 2218.092 | 242.4784 | 242.4784 | 0 | 268.6 | 0 | 55.6 | 0 | 16.6 | 0
Arizona | Low | LP_Worst | 4 | 5.167 | 21.837 | 0 | 0 | 2679.235 | 2313.686 | 365.548 | 365.548 | 0 |  |  |  | 2007 | 2491.2048 | 2313.697 | 177.5078 | 177.5078 | 0 | 192.6 | 0 | 42.8 | 0 | 16 | 0
Arizona | Low | SO_CVaR | 4 | 5.117 | 22.583 | 0 | 0 | 2667.926 | 2336.733 | 331.194 | 218.31 | 0 | 218.31 | 343.736 | 342.817 |  | 2500.8428 | 2336.707 | 164.1358 | 164.1358 | 0 | 177.8 | 0 | 37.8 | 0 | 16 | 0
Arizona | Med | LP_Avg | 4 | 5.7077 | 26.4257 | 0 | 0 | 2865.2746 | 2553.4818 | 311.7926 | 311.7926 | 0 |  |  |  |  | 2787.7524 | 2553.475 | 234.2774 | 234.2774 | 0 | 80.2 | 0 | 18.4 | 0 | 11.8 | 0
Arizona | Med | LP_Worst | 4 | 5.918 | 28.882 | 0 | 0 | 3090.897 | 2672.715 | 418.182 | 418.182 | 0 |  |  |  | 2007 | 2821.6626 | 2672.673 | 148.9896 | 148.9896 | 0 | 51.6 | 0 | 13.4 | 0 | 10.2 | 0
Arizona | Med | SO_CVaR | 4 | 5.881 | 28.882 | 0 | 0 | 3052.366 | 2668.386 | 383.98 | 228.964 | 0 | 228.964 | 401.204 | 379.887 |  | 2820.9414 | 2668.387 | 152.5544 | 152.5544 | 0 | 52.8 | 0 | 13.4 | 0 | 10.2 | 0
California | High | LP_Avg | 4 | 7.5588 | 22.3145 | 0 | 0 | 2911.0071 | 2609.1682 | 301.8388 | 301.8388 | 0 |  |  |  |  | 2662.1194 | 2609.159 | 52.9604 | 52.9604 | 0 | 12.4 | 0 | 3.4 | 0 | 5 | 0
California | High | LP_Worst | 4 | 10.279 | 25.53 | 0 | 0 | 3242.492 | 3048.361 | 194.131 | 194.131 | 0 |  |  |  | 1998 | 3049.5736 | 3048.366 | 1.2076 | 1.2076 | 0 | 0.2 | 0 | 0.2 | 0 | 0.2 | 0
California | High | SO_CVaR | 4 | 8.895 | 26.123 | 0 | 0 | 3229.217 | 2910.961 | 318.256 | 148.621 | 0 | 148.621 | 337.105 | 332.752 |  | 2914.192 | 2910.961 | 3.231 | 3.231 | 0 | 0.6 | 0 | 0.4 | 0 | 0.6 | 0
California | Low | LP_Avg | 4 | 3.7578 | 11.94 | 0 | 0 | 2124.6621 | 1768.3727 | 356.2894 | 354.2385 | 2.051 |  |  |  |  | 1978.0174 | 1768.377 | 209.6404 | 209.6404 | 0 | 521.2 | 0 | 54.4 | 0 | 60.4 | 0
California | Low | LP_Worst | 4 | 3.842 | 11.597 | 0 | 0 | 2259.002 | 1764.94 | 494.062 | 494.062 | 0 |  |  |  | 1998 | 1977.0888 | 1764.886 | 212.2028 | 212.2028 | 0 | 521.2 | 0 | 55.8 | 0 | 59.8 | 0
California | Low | SO_CVaR | 4 | 3.866 | 12.326 | 0 | 0 | 2227.915 | 1795.795 | 432.12 | 334.82 | 5.808 | 340.628 | 442.286 | 418.38 |  | 1987.8628 | 1795.811 | 192.0518 | 192.0518 | 0 | 474.2 | 0 | 49.2 | 0 | 58.4 | 0
California | Med | LP_Avg | 4 | 5.5716 | 16.7463 | 0 | 0 | 2515.3738 | 2164.0197 | 351.3539 | 351.3539 | 0 |  |  |  |  | 2329.7164 | 2164.024 | 165.6924 | 165.6924 | 0 | 131.4 | 0 | 17.8 | 0 | 25.6 | 0
California | Med | LP_Worst | 4 | 6.078 | 18.772 | 0 | 0 | 2807.753 | 2300.891 | 506.862 | 506.862 | 0 |  |  |  | 1998 | 2394.5338 | 2300.879 | 93.6548 | 93.6548 | 0 | 76.6 | 0 | 10.6 | 0 | 17.8 | 0
California | Med | SO_CVaR | 4 | 5.862 | 18.04 | 0 | 0 | 2737.308 | 2247.541 | 489.766 | 294.275 | 0 | 294.275 | 511.488 | 461.168 |  | 2365.1228 | 2247.6 | 117.5228 | 117.5228 | 0 | 94.8 | 0 | 13 | 0 | 20.2 | 0
Florida | High | LP_Avg | 4 | 5.5161 | 24.1158 | 0 | 0 | 2513.998 | 2442.1084 | 71.8896 | 71.8896 | 0 |  |  |  |  | 2552.4712 | 2442.118 | 110.3532 | 110.3532 | 0 | 18.2 | 0 | 8.6 | 0 | 3.2 | 0
Florida | High | LP_Worst | 4 | 7.053 | 25.907 | 0 | 0 | 2741.746 | 2689.23 | 52.516 | 52.516 | 0 |  |  |  | 2019 | 2692.2034 | 2689.274 | 2.9294 | 2.9294 | 0 | 2 | 0 | 1.4 | 0 | 1 | 0
Florida | High | SO_CVaR | 4 | 6.697 | 25.673 | 0 | 0 | 2721.024 | 2638.981 | 82.043 | 25.246 | 0 | 25.246 | 88.354 | 70.914 |  | 2645.3028 | 2639.007 | 6.2958 | 6.2958 | 0 | 2.2 | 0 | 1.6 | 0 | 1 | 0
Florida | Low | LP_Avg | 4 | 4.2962 | 16.5263 | 0 | 0 | 2211.0779 | 2007.7994 | 203.2784 | 203.2784 | 0 |  |  |  |  | 2267.66 | 2007.801 | 259.859 | 259.859 | 0 | 354.6 | 0 | 75.8 | 0 | 19 | 0
Florida | Low | LP_Worst | 4 | 5.146 | 21.604 | 0 | 0 | 2445.865 | 2302.215 | 143.65 | 143.65 | 0 |  |  |  | 2022 | 2347.5204 | 2302.269 | 45.2514 | 45.2514 | 0 | 61 | 0 | 21.6 | 0 | 6 | 0
Florida | Low | SO_CVaR | 4 | 5.087 | 20.652 | 0 | 0 | 2435.228 | 2258.728 | 176.5 | 64.938 | 0 | 64.938 | 188.896 | 186.001 |  | 2321.448 | 2258.681 | 62.767 | 62.767 | 0 | 83.2 | 0 | 27.2 | 0 | 7.6 | 0
Florida | Med | LP_Avg | 4 | 4.9549 | 21.171 | 0 | 0 | 2395.3409 | 2263.4204 | 131.9204 | 131.9204 | 0 |  |  |  |  | 2447.2214 | 2263.416 | 183.8054 | 183.8054 | 0 | 84.2 | 0 | 26.6 | 0 | 9 | 0
Florida | Med | LP_Worst | 4 | 5.66 | 24.537 | 0 | 0 | 2613.608 | 2475.085 | 138.523 | 138.523 | 0 |  |  |  | 2019 | 2497.3056 | 2475.039 | 22.2666 | 22.2666 | 0 | 12.4 | 0 | 6.8 | 0 | 2.8 | 0
Florida | Med | SO_CVaR | 4 | 5.664 | 24.195 | 0 | 0 | 2600.148 | 2462.297 | 137.85 | 39.575 | 0 | 39.575 | 148.77 | 144.65 |  | 2489.7626 | 2462.299 | 27.4636 | 27.4636 | 0 | 16.4 | 0 | 8.2 | 0 | 3.2 | 0
Minnesota | High | LP_Avg | 4 | 32.2997 | 81.0468 | 0 | 0 | 8699.669 | 7742.2596 | 957.4092 | 957.4092 | 0 |  |  |  |  | 9571.8594 | 7742.266 | 1829.5934 | 1829.5934 | 0 | 92.2 | 0 | 13.2 | 0 | 14.2 | 0
Minnesota | High | LP_Worst | 4 | 28.853 | 88.4 | 0 | 0 | 10797.826 | 7626.935 | 3170.89 | 3170.89 | 0 |  |  |  | 2022 | 9778.5516 | 7626.949 | 2151.6026 | 2151.6026 | 0 | 107.6 | 0 | 15 | 0 | 15.4 | 0
Minnesota | High | SO_CVaR | 4 | 42.123 | 77.966 | 0 | 0 | 10676.996 | 8761.045 | 1915.951 | 641.891 | 0 | 641.891 | 2057.513 | 2012.425 |  | 9587.4208 | 8761.093 | 826.3278 | 826.3278 | 0 | 41.6 | 0 | 7.2 | 0 | 11 | 0
Minnesota | Low | LP_Avg | 4 | 12.7504 | 38.4016 | 0 | 0 | 5701.7197 | 3831.5718 | 1870.1479 | 1870.1479 | 0 |  |  |  |  | 5936.5044 | 3831.557 | 2104.9474 | 2104.9474 | 0 | 1071.4 | 0 | 112.8 | 0 | 38.6 | 0
Minnesota | Low | LP_Worst | 4 | 10.644 | 33.944 | 0 | 0 | 6271.875 | 3415.509 | 2856.366 | 2856.366 | 0 |  |  |  | 2010 | 5956.1978 | 3415.488 | 2540.7098 | 2540.7098 | 0 | 1330 | 0 | 128 | 0 | 56.8 | 0
Minnesota | Low | SO_CVaR | 4 | 12.817 | 40.014 | 0 | 0 | 6171.443 | 3901.49 | 2269.953 | 1822.374 | 0 | 1822.374 | 2319.684 | 2246.326 |  | 5941.8836 | 3901.522 | 2040.3616 | 2040.3616 | 0 | 1042.6 | 0 | 110.4 | 0 | 38.6 | 0
Minnesota | Med | LP_Avg | 4 | 23.4144 | 64.5205 | 0 | 0 | 7352.0111 | 6075.0936 | 1276.9176 | 1276.9176 | 0 |  |  |  |  | 7862.8016 | 6075.094 | 1787.7076 | 1787.7076 | 0 | 304.6 | 0 | 44 | 0 | 18 | 0
Minnesota | Med | LP_Worst | 4 | 28.929 | 75.402 | 0 | 0 | 8681.199 | 7133.897 | 1547.302 | 1547.302 | 0 |  |  |  | 2010 | 7987.6498 | 7133.926 | 853.7238 | 853.7238 | 0 | 144.2 | 0 | 20.2 | 0 | 15.6 | 0
Minnesota | Med | SO_CVaR | 4 | 25.272 | 65.295 | 0 | 0 | 8437.316 | 6320.125 | 2117.191 | 1134.258 | 0 | 1134.258 | 2226.406 | 2030.254 |  | 7840.9704 | 6320.15 | 1520.8204 | 1520.8204 | 0 | 259.6 | 0 | 39.4 | 0 | 17.2 | 0

## Fold_5
Location | VoLL Level | Method | Fold | PV_Size | Battery_Size | PCM_Heating_Size | PCM_Cooling_Size | Training Total Cost | Training Capital Cost | Training Operation Cost | Training HVAC Cost | Training Critical Load Cost | Training Expected Outage Cost | Training CVaR Outage Cost | Training CVaR_eta | Worst Training Year | Testing Total Cost | Testing Capital Cost | Testing Operation Cost | Testing HVAC Cost | Testing Critical Load Cost | Testing HVAC LoL Hours | Testing Critical LoL Hours | Testing HVAC LoL Events | Testing Critical LoL Events | Testing HVAC Max LoL Event Hours | Testing Critical Max LoL Event Hours
Alaska | High | LP_Avg | 5 | 133.4419 | 170.4038 | 0 | 0 | 28136.822 | 22906.7984 | 5230.0237 | 5230.0237 | 0 |  |  |  |  | 24364.313 | 22906.798 | 1457.515 | 1457.515 | 0 | 86.2 | 0 | 8.4 | 0 | 23.8 | 0
Alaska | High | LP_Worst | 5 | 152.907 | 253.973 | 0 | 0 | 34919.929 | 28387.809 | 6532.12 | 6532.12 | 0 |  |  |  | 1999 | 28726.1264 | 28387.743 | 338.3834 | 338.3834 | 0 | 19.8 | 0 | 1.4 | 0 | 10 | 0
Alaska | High | SO_CVaR | 5 | 144.864 | 219.584 | 0 | 0 | 34216.89 | 26128.522 | 8088.369 | 3334.446 | 0 | 3334.446 | 8616.582 | 7958.808 |  | 26669.5446 | 26128.488 | 541.0566 | 541.0566 | 0 | 29.8 | 0 | 2 | 0 | 14.4 | 0
Alaska | Low | LP_Avg | 5 | 14.1261 | 22.0923 | 0 | 0 | 9858.6917 | 3361.2126 | 6497.479 | 6486.7517 | 10.7273 |  |  |  |  | 8625.806 | 3361.231 | 5264.575 | 5264.575 | 0 | 3314.2 | 0 | 156 | 0 | 218.8 | 0
Alaska | Low | LP_Worst | 5 | 14.359 | 20.513 | 0 | 0 | 12056.176 | 3327.186 | 8728.991 | 8728.991 | 0 |  |  |  | 1999 | 8630.6692 | 3327.23 | 5303.4392 | 5303.4392 | 0 | 3340.2 | 0 | 163.2 | 0 | 218.4 | 0
Alaska | Low | SO_CVaR | 5 | 15.322 | 22.877 | 0 | 0 | 11442.879 | 3530.054 | 7912.825 | 6346.911 | 40.911 | 6387.822 | 8082.27 | 7623.757 |  | 8636.8912 | 3530.038 | 5106.8532 | 5106.8532 | 0 | 3201.2 | 0 | 156.6 | 0 | 218 | 0
Alaska | Med | LP_Avg | 5 | 52.3029 | 73.9264 | 0 | 0 | 18835.1803 | 9784.2043 | 9050.9762 | 9050.9762 | 0 |  |  |  |  | 15061.7232 | 9784.205 | 5277.5182 | 5277.5182 | 0 | 1044.6 | 0 | 75.2 | 0 | 63.8 | 0
Alaska | Med | LP_Worst | 5 | 77.174 | 94.563 | 0 | 0 | 23727.352 | 13461.632 | 10265.721 | 10265.721 | 0 |  |  |  | 1999 | 16386.1368 | 13461.599 | 2924.5378 | 2924.5378 | 0 | 574.2 | 0 | 44 | 0 | 44.6 | 0
Alaska | Med | SO_CVaR | 5 | 60.827 | 73.316 | 0 | 0 | 22084.345 | 10747.933 | 11336.411 | 8366.897 | 0 | 8366.897 | 11666.357 | 10178.276 |  | 15290.2724 | 10747.93 | 4542.3424 | 4542.3424 | 0 | 895.6 | 0 | 68.8 | 0 | 54.2 | 0
Arizona | High | LP_Avg | 5 | 6.9206 | 32.8258 | 0 | 0 | 3178.5756 | 2941.0408 | 237.5348 | 237.5348 | 0 |  |  |  |  | 3231.5254 | 2941.052 | 290.4734 | 290.4734 | 0 | 33 | 0 | 5.6 | 0 | 13.2 | 0
Arizona | High | LP_Worst | 5 | 7.664 | 36.341 | 0 | 0 | 3559.652 | 3162.933 | 396.719 | 396.719 | 0 |  |  |  | 2007 | 3330.2552 | 3162.877 | 167.3782 | 167.3782 | 0 | 17.2 | 0 | 2.4 | 0 | 9.8 | 0
Arizona | High | SO_CVaR | 5 | 7.664 | 36.067 | 0 | 0 | 3504.129 | 3152.318 | 351.811 | 145.569 | 0 | 145.569 | 374.727 | 340.037 |  | 3322.5284 | 3152.298 | 170.2304 | 170.2304 | 0 | 18 | 0 | 2.6 | 0 | 10 | 0
Arizona | Low | LP_Avg | 5 | 4.807 | 19.8838 | 0 | 0 | 2516.4695 | 2196.5933 | 319.8763 | 319.8763 | 0 |  |  |  |  | 2495.295 | 2196.586 | 298.709 | 298.709 | 0 | 361 | 0 | 70.6 | 0 | 30.4 | 0
Arizona | Low | LP_Worst | 5 | 5.167 | 21.837 | 0 | 0 | 2679.235 | 2313.686 | 365.548 | 365.548 | 0 |  |  |  | 2007 | 2509.9818 | 2313.697 | 196.2848 | 196.2848 | 0 | 234.2 | 0 | 47.4 | 0 | 26 | 0
Arizona | Low | SO_CVaR | 5 | 5.116 | 22.575 | 0 | 0 | 2667.488 | 2336.286 | 331.202 | 214.23 | 0 | 214.23 | 344.199 | 343.315 |  | 2518.2078 | 2336.283 | 181.9248 | 181.9248 | 0 | 219.6 | 0 | 43.2 | 0 | 26 | 0
Arizona | Med | LP_Avg | 5 | 5.6975 | 26.4654 | 0 | 0 | 2859.5606 | 2553.8386 | 305.7219 | 305.7219 | 0 |  |  |  |  | 2814.6338 | 2553.828 | 260.8058 | 260.8058 | 0 | 101.8 | 0 | 17.2 | 0 | 20.2 | 0
Arizona | Med | LP_Worst | 5 | 5.918 | 28.882 | 0 | 0 | 3090.897 | 2672.715 | 418.182 | 418.182 | 0 |  |  |  | 2007 | 2859.623 | 2672.673 | 186.95 | 186.95 | 0 | 74 | 0 | 12.2 | 0 | 18.6 | 0
Arizona | Med | SO_CVaR | 5 | 5.881 | 28.882 | 0 | 0 | 3051.434 | 2668.386 | 383.048 | 219.643 | 0 | 219.643 | 401.204 | 379.887 |  | 2858.2248 | 2668.387 | 189.8378 | 189.8378 | 0 | 74.8 | 0 | 12.2 | 0 | 18.8 | 0
California | High | LP_Avg | 5 | 7.421 | 22.0938 | 0 | 0 | 2867.9675 | 2584.6862 | 283.2812 | 283.2812 | 0 |  |  |  |  | 2797.6542 | 2584.678 | 212.9762 | 212.9762 | 0 | 56.6 | 0 | 5.4 | 0 | 27 | 0
California | High | LP_Worst | 5 | 10.279 | 25.53 | 0 | 0 | 3242.492 | 3048.361 | 194.131 | 194.131 | 0 |  |  |  | 1998 | 3098.027 | 3048.366 | 49.661 | 49.661 | 0 | 12 | 0 | 1.6 | 0 | 8.2 | 0
California | High | SO_CVaR | 5 | 8.895 | 26.123 | 0 | 0 | 3227.646 | 2910.961 | 316.685 | 132.906 | 0 | 132.906 | 337.105 | 332.752 |  | 2977.0484 | 2910.961 | 66.0874 | 66.0874 | 0 | 18.2 | 0 | 2.2 | 0 | 10.8 | 0
California | Low | LP_Avg | 5 | 3.7041 | 11.5891 | 0 | 0 | 2103.1004 | 1748.6025 | 354.4979 | 352.4469 | 2.051 |  |  |  |  | 2030.6286 | 1748.602 | 282.0266 | 279.5058 | 2.5208 | 667.2 | 0.4 | 70.6 | 0.4 | 73 | 0.2
California | Low | LP_Worst | 5 | 3.842 | 11.597 | 0 | 0 | 2259.002 | 1764.94 | 494.062 | 494.062 | 0 |  |  |  | 1998 | 2033.2812 | 1764.886 | 268.3952 | 267.1326 | 1.2626 | 634.2 | 0.2 | 68.2 | 0.2 | 69.8 | 0.2
California | Low | SO_CVaR | 5 | 3.866 | 12.326 | 0 | 0 | 2226.649 | 1795.795 | 430.854 | 322.162 | 5.808 | 327.971 | 442.286 | 418.38 |  | 2038.4926 | 1795.811 | 242.6816 | 242.6816 | 0 | 582.6 | 0 | 60 | 0 | 68.8 | 0
California | Med | LP_Avg | 5 | 5.4116 | 16.8007 | 0 | 0 | 2489.5871 | 2147.5804 | 342.0065 | 342.0065 | 0 |  |  |  |  | 2399.9674 | 2147.581 | 252.3864 | 252.3864 | 0 | 208 | 0 | 20.4 | 0 | 43.4 | 0
California | Med | LP_Worst | 5 | 6.078 | 18.772 | 0 | 0 | 2807.753 | 2300.891 | 506.862 | 506.862 | 0 |  |  |  | 1998 | 2454.1302 | 2300.879 | 153.2512 | 153.2512 | 0 | 130.6 | 0 | 11.8 | 0 | 38.4 | 0
California | Med | SO_CVaR | 5 | 5.862 | 18.04 | 0 | 0 | 2735.666 | 2247.541 | 488.125 | 277.857 | 0 | 277.857 | 511.488 | 461.168 |  | 2430.7832 | 2247.6 | 183.1832 | 183.1832 | 0 | 152.8 | 0 | 13.8 | 0 | 40.2 | 0
Florida | High | LP_Avg | 5 | 5.343 | 23.7891 | 0 | 0 | 2478.0532 | 2409.4484 | 68.6049 | 68.6049 | 0 |  |  |  |  | 2949.3772 | 2409.456 | 539.9212 | 539.9212 | 0 | 87.4 | 0 | 24.4 | 0 | 19.2 | 0
Florida | High | LP_Worst | 5 | 6.181 | 24.286 | 0 | 0 | 2603.66 | 2525.671 | 77.989 | 77.989 | 0 |  |  |  | 2010 | 2749.6436 | 2525.693 | 223.9506 | 223.9506 | 0 | 43.8 | 0 | 16.2 | 0 | 11 | 0
Florida | High | SO_CVaR | 5 | 5.696 | 24.908 | 0 | 0 | 2603.06 | 2493.533 | 109.527 | 46.882 | 0 | 46.882 | 116.487 | 115.633 |  | 2760.3898 | 2493.533 | 266.8568 | 266.8568 | 0 | 48.6 | 0 | 13.6 | 0 | 14.6 | 0
Florida | Low | LP_Avg | 5 | 4.1829 | 15.7358 | 0 | 0 | 2173.9054 | 1964.1709 | 209.7344 | 209.7344 | 0 |  |  |  |  | 2532.32 | 1964.169 | 568.151 | 568.151 | 0 | 704.6 | 0 | 135.4 | 0 | 29.4 | 0
Florida | Low | LP_Worst | 5 | 4.775 | 18.587 | 0 | 0 | 2343.543 | 2142.807 | 200.736 | 200.736 | 0 |  |  |  | 2015 | 2420.6374 | 2142.819 | 277.8184 | 277.8184 | 0 | 356.8 | 0 | 87.2 | 0 | 26 | 0
Florida | Low | SO_CVaR | 5 | 4.713 | 17.845 | 0 | 0 | 2298.919 | 2106.931 | 191.989 | 110.343 | 0 | 110.343 | 201.06 | 163.632 |  | 2433.461 | 2106.991 | 326.47 | 326.47 | 0 | 421.6 | 0 | 96.8 | 0 | 26.2 | 0
Florida | Med | LP_Avg | 5 | 4.8439 | 20.6664 | 0 | 0 | 2362.0464 | 2231.0797 | 130.9666 | 130.9666 | 0 |  |  |  |  | 2771.6602 | 2231.074 | 540.5862 | 540.5862 | 0 | 243.4 | 0 | 61.8 | 0 | 24.4 | 0
Florida | Med | LP_Worst | 5 | 5.302 | 24.042 | 0 | 0 | 2502.823 | 2414.513 | 88.31 | 88.31 | 0 |  |  |  | 2015 | 2572.8762 | 2414.464 | 158.4122 | 158.4122 | 0 | 84.4 | 0 | 22.8 | 0 | 19 | 0
Florida | Med | SO_CVaR | 5 | 5.313 | 22.659 | 0 | 0 | 2483.296 | 2362.342 | 120.954 | 53.504 | 0 | 53.504 | 128.448 | 107.028 |  | 2591.4722 | 2362.343 | 229.1292 | 229.1292 | 0 | 121.2 | 0 | 35.8 | 0 | 21.4 | 0
Minnesota | High | LP_Avg | 5 | 33.7444 | 80.0194 | 0 | 0 | 8861.9007 | 7869.926 | 991.9746 | 991.9746 | 0 |  |  |  |  | 9021.4626 | 7869.929 | 1151.5336 | 1151.5336 | 0 | 64 | 0 | 9 | 0 | 15 | 0
Minnesota | High | LP_Worst | 5 | 46.044 | 83.411 | 0 | 0 | 10711.981 | 9425.429 | 1286.552 | 1286.552 | 0 |  |  |  | 2007 | 9918.2864 | 9425.457 | 492.8294 | 492.8294 | 0 | 24.6 | 0 | 4.2 | 0 | 9.4 | 0
Minnesota | High | SO_CVaR | 5 | 41.066 | 81.7 | 0 | 0 | 10617.122 | 8782.823 | 1834.299 | 631.428 | 0 | 631.428 | 1967.951 | 1911.199 |  | 9490.5724 | 8782.829 | 707.7434 | 707.7434 | 0 | 38.6 | 0 | 6 | 0 | 12.4 | 0
Minnesota | Low | LP_Avg | 5 | 12.3575 | 37.4079 | 0 | 0 | 5713.6102 | 3747.6923 | 1965.918 | 1965.918 | 0 |  |  |  |  | 5858.2724 | 3747.684 | 2110.5884 | 2110.5884 | 0 | 1090.2 | 0 | 120.2 | 0 | 37.4 | 0
Minnesota | Low | LP_Worst | 5 | 13.385 | 42.979 | 0 | 0 | 6378.223 | 4081.821 | 2296.402 | 2296.402 | 0 |  |  |  | 2014 | 5851.437 | 4081.782 | 1769.655 | 1769.655 | 0 | 902 | 0 | 100.8 | 0 | 34.8 | 0
Minnesota | Low | SO_CVaR | 5 | 12.793 | 40.45 | 0 | 0 | 6281.897 | 3915.532 | 2366.365 | 1833.571 | 0 | 1833.571 | 2425.564 | 2379.955 |  | 5850.0346 | 3915.576 | 1934.4586 | 1934.4586 | 0 | 992.8 | 0 | 109.4 | 0 | 35.6 | 0
Minnesota | Med | LP_Avg | 5 | 23.7023 | 64.5691 | 0 | 0 | 7441.1535 | 6110.323 | 1330.8305 | 1330.8305 | 0 |  |  |  |  | 7484.6192 | 6110.322 | 1374.2972 | 1374.2972 | 0 | 238.4 | 0 | 36.2 | 0 | 28 | 0
Minnesota | Med | LP_Worst | 5 | 28.929 | 75.402 | 0 | 0 | 8681.199 | 7133.897 | 1547.302 | 1547.302 | 0 |  |  |  | 2010 | 7743.942 | 7133.926 | 610.016 | 610.016 | 0 | 110 | 0 | 16.4 | 0 | 23 | 0
Minnesota | Med | SO_CVaR | 5 | 25.272 | 65.295 | 0 | 0 | 8446.07 | 6320.125 | 2125.946 | 1221.8 | 0 | 1221.8 | 2226.406 | 2030.254 |  | 7490.8058 | 6320.15 | 1170.6558 | 1170.6558 | 0 | 203.8 | 0 | 32.4 | 0 | 27.2 | 0